## Slide 1: A Whole System Approach tool: a guide for advisers engaging in the energy sector
Produced For: DFID
Version: 5.7
Date: July 2019

## Slide 2: A Whole System Approach: a guide for advisers engaging in the energy sector in developing countries
The Whole System Approach tool (WSAT) has been prepared by the Infrastructure and Cities for Economic Development (ICED) facility for the Growth and Resilience Department (GRD) of the UK’s Department for International Development (DFID).
The WSA tool builds on UK Government internal and published documentation, including the UK Industrial strategy, DFID Economic Development Strategy, DFID’s Energy Policy Framework and Whole Systems Approach narrative. The WSA tool is a live document and should be considered alongside examples of analysis performed by advisers using the WSA.
The views and opinions expressed in this document are those of the authors and do not necessarily reflect the official policy or position of any department of the UK Government.

## Slide 3: Outline
1. Introduction to the energy sector and to the Whole System Approach
Definition of the Whole System Approach
Key stakeholders in the energy sector
2. High-level assessment of the energy sector
How to prepare to apply the Whole System Approach by looking at a few starting points
3. Detailed assessment of the energy sector
Applying the Whole System Approach to identify gaps and opportunities to provide support in the energy sector
Introduction
High-level assessment
Detailed assessment
Glossary
2.1. Energy access policy
2.2. Emissions reduction policy
2.4. Industrial strategy
2.3. Energy efficiency policy
2.5. Role of regulation
2.7. Planning and forecasting
2.6. Regulatory incentives
3.1. Procurement
3.3. System operation
3.2. Market arrangements
1.1. Demand-side participation
2.8. Market design
2.9. Incentives and subsidies
3.4. Metering and revenue collection
4.10. Extraction of fossil fuels
4.8. Renewable energy
4.7. Non-renewable energy
4.6. System flexibility
4.5. Network infrastructure
4.2. Decentralised mini-grids
4.3. Stand-alone systems
4.1. Heating and cooking
4.4. Liquid and solid fuel distribution
4.9. Centralised heating and cooling
4.11. Fuel processing

## Slide 4
1. Introduction to the energy sector and to the “Whole System Approach”

## Slide 5: Definition of the Whole System Approach (WSA)
To achieve economic development, universal energy access and climate sustainability it is essential that the complex interdependencies within the energy sector, and in the pivotal role it plays across all industries, are considered in full rather than in isolation. This is the Whole System Approach (WSA). The WSA encourages holistic policies to assist national governments to reach Sustainable Development Goal 7 (SDG7), to catalyse inclusive economic development, and to meet commitments such as the Paris Agreement.
Through applying the WSA, advisers can better identify the entry points where Official Development Assistance (ODA) can be transformative. The WSA supports advisers to better understand, communicate and manage trade-offs across the energy sector for electricity, heating, cooking, cooling, transport, and industrial demand. The WSA enables integration of resilience, low carbon transition, and sustainable impact from the national level through to firms and the most vulnerable households.
The WSA helps to maximise impact and manage risks in its energy technical assistance, investments and international influencing. Dissemination and use of the WSA methodology, analysis and tools will promote more coherent and effective action to meet the global energy goals and global poverty alleviation.
Affordable energy access
that leaves no one behind
Clean and sustainable energy generation and use
Reliable
energy
to drive economic development
The Whole Systems Approach Tool (WSAT) is a tool to help advisers to analyse and understand the range of issues within the energy (and associated) sectors, to allow them to take a holistic view on the energy sector and achieve the aims of the WSA.
Scope of the WSAT
The WSAT aims to provide guidance that covers a wide range of activities across the energy sector. However, the wide-ranging nature of the energy sector, and its interactions with a large number of other sectors, means that it is impossible to be exhaustive. Bear this in mind when using the WSAT: are there considerations that are relevant in your context that are not covered in the WSAT? If there are, and if you think those issues might be relevant elsewhere as well, do contact the WSAT team with your suggestions.
Introduction

## Slide 6: How to use WSA tool
The guidance presented in this WSA tool provides a framework for advisers to perform comprehensive analysis across the energy sector. The intention is not for advisers to perform analysis across all parts of the energy sector. Rather, advisers should perform targeted analysis, and the WSA tool provides guidance to encourage advisers to consider the most relevant issues.
Step 1: High level assessment of the energy sector
Step 2: Detailed assessment of the energy sector
Advisers will often start with hypotheses on where energy sector issues exist and where the opportunities might be for interventions.
These hypotheses, informed by initial engagement with a wide range of stakeholders, form the starting point for an application of the WSA tool.
It is important to note that these hypotheses don’t need to be perfect. The WSA tool provides a framework for building a stronger evidence base and challenging initial hypotheses so that they can be refined.
The WSA tool provides guidance to direct analysis that the adviser can perform across each part of the energy sector.
Detailed analysis should start by focusing on areas directly relevant to the hypotheses informed by Step 1. The WSA tool will suggest adjacent areas that might warrant further analysis, depending on what the adviser finds.
This analysis allows the adviser to refine their conclusions on the key issues in the country’s energy sector, and to propose areas to provide support.
Exactly how energy sector advisers use the material in this pack when applying the WSAT will depend on their background. Some advisers may be familiar with much of the detailed guidance presented in the pack, but the structure of the WSA tool will still provide a useful completeness check that all interdependencies in the sector have been properly considered.
The WSA tool provides a structure that can be used to analyse and identify opportunities for intervention in the energy sector. However, advisers should not feel constrained by this structure in how they present their findings. Some interventions might cut across the various components of the WSA tool and its structure might not provide the best headings against which analysis should be presented for a given assignment.
Introduction

## Slide 7: Navigating the energy sector: who are the key stakeholders?
Engaging with a wide range of stakeholders across the energy sector is critical to generating a robust evidence base when applying the WSA. The regulatory framework and the degree of liberalisation of the market will impact which stakeholders exist and how responsibilities are allocated between the different stakeholders.
Directly engaged in the energy sector
Influencers and interested stakeholder groups
Government and policy-makers
Government ministry (or ministries) responsible for the energy sector
Energy regulator
Rural electrification agency (if separate from the ministry)
Other ministries (Finance, central bank, climate, water)
Regional governmental actors, such as any regional regulator
In some countries with a centralised and state-controlled energy sector there might not yet be an independent regulator. In other countries there might be multiple ministries engaged in the energy sector (e.g. separate ministries for power and for upstream exploration and production of fossil fuel resources). The Ministry of Finance will often be a key stakeholder, especially if fiscal support is required where tariffs are not cost reflective, or if private sector investments are dependent on government guarantees. There are other ministries including the ministry where climate sits, who would be concerned with the Nationally Determined Contributions (NDCs) and links to the energy sector, and Ministry of Water who would be concerned about hydro-power and implications on water.
Industry
Power generators
Transmission and distribution companies
System and market operator (including power pool operators and interconnectors)
Off-grid energy companies, including mini-grid operators
Cookstove and cooking fuel companies
The degree to which these are separate companies will depend on how liberalised the energy sector is. In many countries at an early stage of development power generation, transmission and distribution will all be within the remit of a single vertically integrated utility. The extent to which the private sector is engaged in each of these areas will also vary between countries.
Donors
Overseas development institutions
International Financial Institutions (IFIs) / development banks
Other foreign governments influencing policy and/or investing in the sector
Donors engaged in the sector should be engaged where possible to reduce the risk of overlap and seek opportunities for cooperation / synergies between programmes. This might include regional programmes without an in-country presence.
Civil society
Civil society groups and Non-governmental organisations (NGOs), including groups representing minorities, should be engaged to identify sector priorities that help promote inclusive economic growth. This might include groups representing the interests of women, or groups representing rural communities or tribal areas.
Other stakeholder groups
Other international bodies, such as IRENA, International Energy Agency (IEA), World Resources Institute (WRI), International Monetary Fund (IMF) e.g. through Article IV consultations
Chambers of commerce and other business groups
Research institutions
Industry bodies and trade associations
Regional bodies
Philanthropists
Investors/ Banks – both international and local at varying risk levels
Introduction

## Slide 8
2. High-level assessment of the energy sector
How to prepare to apply the Whole System Approach Tool

## Slide 9: Objectives of the high-level assessment
  The overall objective of the high-level assessment of the energy sector is to define a set of reasonable hypotheses on where the key issues are in the energy sector.
  While these hypotheses should be informed by some initial evidence gathering, it is important to bear in mind that these hypotheses do not need to be perfect. The detailed WSA assessment provides a framework to challenge, refine, and revise the hypotheses.
  The aim of the high-level assessment is to inform these initial hypotheses. This should mostly be achieved through engaging with as many sector stakeholders as possible, and through collating and reviewing analysis that has already been performed by other stakeholders.
High-level assessment

## Slide 10: Introducing the four components of the WSA tool
When reviewing the energy sector, advisers should seek to understand the state of the demand-side need for energy, the physical energy infrastructure in place in the country, the regulatory framework in place to govern the sector, and the commercial arrangements in place between the main actors in the sector. These four ‘components’ are used throughout the WSA to ensure that energy sector analysis considers the whole system. The interactions between these areas are complex and each has an important role in determining whether the energy sector provides a solid foundation for inclusive and sustainable growth and whether the sector delivers value for money for bill-payers and taxpayers.
Physical infrastructure
  Renewable and non-renewable energy resources to meet demand.
  Centralised and decentralised conversion of energy resources to meet electricity, heat, and cooking requirements.
  Infrastructure to deliver energy services to end users.
  Flexibility to balance the system as demand and supply evolve by time of day or time of year.
Market and commercial
  Procurement arrangements for energy infrastructure.
  Market arrangements for energy users to buy energy and producers to sell.
  Metering and billing interfaces with energy consumers.
  Financing opportunities and barriers
Governance
and regulation
  Energy policy objectives and linkages with policy in other sectors.
  Regulation, licence to operate, tariffs and cost recovery.
  Planning and forecasting to meet policy goals over the long-term.
  Defining a market that delivers against policy objectives, but maximises value-for-money.
  Incentive structures in energy market and wider
Demand-side
  Needs / requirements of existing and potential end-users of energy.
  Composition of energy (service) demand across different groups/ needs
  Investments and behaviour change to improve efficiency of energy consumption.
  Flexibility of energy demand to help balance the system.
Reliable energy for consumers
Affordable energy for consumers
High-level assessment

## Slide 11: Components and sub-components of the WSA tool (1 of 2)
When analysing each WSA component, this can be broken down into sub-components that an adviser should consider. These sub-components provide a common structure for application of the WSA across different geographies. There are complex interactions between the components and sub-components, these interactions are signposted.
2. Governance and regulation
2.1. | Energy access policy | Government policy for achieving universal energy access in line with SDG7.
2.2. | Emissions reduction policy | Government policy for reducing emissions of carbon dioxide in line with NDC commitments and for reducing emissions of local air pollutants such as particulates.
2.3. | Energy efficiency policy | Government policy for moderating energy demand growth through improving energy efficiency.
2.4 | Industrial development strategy | Plans for economic growth that may (for example) include industrialisation/focus on energy intensive sectors
2.5. | Role of regulation | Existence of an energy sector regulator and the scope of their role.
2.6. | Regulatory incentives to perform and innovate | Output-based regulation to incentivise behaviours and innovation that the regulator deems to be desirable.
2.7. | Planning and forecasting | Existence of a system-wide plan for the sector and the process for updating this plan.
2.8. | Market design | Level of unbundling and/or liberalisation in the electricity sector, the allocation of roles and responsibilities between different market participants, and the ability for new entrants to participate across the value chain.
2.9. | Incentives, subsidies, and cross-subsidies | Incentives for the different players / technologies in the market. Cost-reflectiveness of pricing within the sector and the existence of subsidies/incentives and/or cross-subsidies (for example, through tariff structures) to reallocate financial resources.
1.1. | Demand-side participation | Composition of demand and its participation in the sector, e.g. through demand growth, energy efficiency improvements, or demand-side response/flexibility.
1. Demand-side
High-level assessment

## Slide 12: Components and sub-components of the WSA tool (2 of 2)
4. Physical infrastructure
4.1. | Decentralised heating and cooking | Non-electric infrastructure used for heating and cooking.
4.2. | Decentralised mini-grids | Small grid systems that deliver electricity to businesses and/or communities. Mini-grids have their own generation to meet demand, and range in size from covering a few households to a Megawatt-scale system supporting businesses and communities. Mini-grid infrastructure is normally separate from the main electricity network, but can sometimes be interconnected.
4.3. | Decentralised stand-alone systems | Systems that generate electricity for a single household. These are normally solar systems will a small battery, and can cover a range of sizes and degrees of sophistication.
4.4. | Liquid and solid fuel distribution | Distribution of oil products, including petroleum, and of fuels domestically, for example in cooking.
4.5. | Network infrastructure | Transmission and distribution infrastructure to transport energy to end users.
4.6. | System flexibility and electricity storage | Provision of system flexibility able to help with balancing the electricity system in real-time.
4.7. | Non-renewable energy | The use of non-renewable fuels such as oil-based fuels, natural gas, and coal.
4.8. | Renewable energy | Renewable energy; for example wind, solar, hydro, biomass, geothermal.
4.9. | Centralised heating and cooling | Infrastructure to generate heat for distribution from a centralised plant (e.g. district heating).
4.10. | Extraction of fossil fuels | Upstream exploration and production of fossil fuels, for direct supply/export, or downstream processing.
4.11. | Fuel processing | Midstream fuel processing infrastructure, such as gas processing plants and oil refineries.
3. Market and commercial
3.1. | Procurement | Mechanisms and market structures in place to secure investment in new energy sector infrastructure.
3.2. | Market arrangements and routes-to-market | Contract types and trading platforms used for selling and buying energy resources, including national and regional markets.
3.3. | System operation | Arrangements in place for the system operator to manage the real-time dispatch and balancing energy supply with demand.
3.4. | Metering and revenue collection | Metering infrastructure and mechanisms for billing and revenue collection.
High-level assessment

## Slide 13
A visual representation of the Whole System Approach
Governance and Implementation
Policy
Regulation
Planning and forecasting
Market design
Incentives, subsidies and cross-subsidies
Industrial policy
Energy efficiency
Emissions reduction
Role of Regulation
Regulation incentives
Energy access
Systems operations
Market arrangements
Metering and revenue collection
Procurement
Physical Infrastructure
Market and Commercial
Governance and Regulation
Deliver and balance
System flexibility
+
-
Network
Decentralised energy resources
Heating and cooking
Mini-grids
Stand-alone systems
Centralised energy resources
Non-renewable energy
Renewable energy
Extraction of fossil fuels
The Governance and Regulation sub-components of the WSA can be arranged as a hierarchy: policy is enabled partly through more detailed regulations. Effective implementation of policy and regulation requires robust processes and good governance.
The Market and Commercial sub-components of the WSA can be arranged in chronological terms: resources are procured ahead of time; market and system operations drive the efficient allocation of resources near real time, and metering and revenue collection takes place at or after the delivery of energy to end consumers.
Energy flows between the Physical Infrastructure components of the WSA, ultimately with the objective of meeting demand.
Key
Lines indicate strong interdependencies
Arrows show the direction of interdependencies
Liquid and
solid fuel
distribution
Demand side
Fuel
processing
Centralised heating and cooking
Industry
Residential
Transport
Agriculture
Commercial and public services
High-level assessment

## Slide 14: Gathering evidence and developing hypotheses
In carrying out the high-level assessment, advisers should aim to speak to a wide range of the sector stakeholders identified earlier in this document. Discussions with those stakeholders should seek their view across as many of WSA components and sub-components as possible.
Where available, key documents that may give a good general overview of the sector include: recent reports prepared by donors or multilateral initiatives such as SE4All, utility annual reports and accounts, sector masterplans and strategies. WB loan reviews can provide a good overview of the sector and its financial sustainability, and IMF Article IV consultations can help to flag any important connections between the financial sustainability of the energy sector and broader macro-economic stability.
Advisers should also engage with other donors to understand the existing donor projects and programmes.
These conversations can be unstructured – the key is to seek views on where there are issues in the energy sector from as wide a range of stakeholders as possible. Structured discussions with stakeholders will be particularly important in the poorest countries, or in fragile and post-conflict states, where other sources of information may be sparse or unreliable.
Information gathered through this stakeholder engagement exercise should be considered alongside any recent reports on the country’s energy sector that have been collated. It is worth checking government, regulator, and utility websites, as well as development banks and donors, for relevant reports on the sector.
This initial scan of evidence might lead to a few themes being identified, i.e. issues in the sector that have been identified by a number of different stakeholders.
These themes or hypotheses should map to one or more of the WSA components and sub-components. This then provides the starting point for the adviser’s detailed assessment. The adviser should use the detailed guidance presented in the next section of this document to perform additional analysis in the relevant areas. The guidance might also suggest related areas, which the adviser might choose to analyse in more detail.
As the adviser builds an increasingly detailed and broad evidence base they will improve their understanding of the key issues in the country’s energy sector and how those issues relate to the whole energy system. The adviser will refine their view on what the key issues in the energy sector are, and what can be done to maximise impact in tackling those issues.
High-level assessment

## Slide 15: Considering trade-offs in the WSA tool
When gathering evidence to consider the key constraints in the energy sector, there may be trade-offs between the different components of the WSA. These trade-offs may sometimes restrict the intervention options available to tackle barriers that have been identified.
Below we consider some of the key trade-offs that advisers may encounter, although it should noted that this is far from an exhaustive list. Where appropriate, trade-offs are identified in the detailed guidance notes in the next section of this document.
Trade-off | Description
Cost recovery, subsidies, and affordability | Governments often face trade-offs between providing subsidies for energy (whether that be electricity, liquid fuels, or indirectly through not regulating cooking fuels) and ensuring that customers pay a cost-reflective tariff. Subsidies or cross-subsidies are not always a bad thing if they are properly targeted to meet a specific policy outcome, and if they are structured such that they are financially sustainable. However, frequently it is the better off (who consume more energy) that benefit most from subsidies.
Affordability and quality of service | It is may not be appropriate to offer the same quality of service or reliability to all customers. The level of service offered will have an impact on the cost and therefore the affordability. The context of what is required by the consumer needs to be considered first. A large industrial customer might need a High Voltage grid connection with n-1 contingency, some communities may require reliable Tier 4-5 access, others may only have demand that can be met with Tier 1-2 access.
Domestic employment and the use of new technologies | The obvious example here is displacing domestic coal with renewable energy technologies. There is a body of literature supporting the idea that renewable energy value chains support more jobs than fossil fuel value chains. However, that is often not the case at a local level. Many of the new jobs are in more developed countries, which displace (e.g.) low-skilled mining jobs. Obviously there are strong reasons for making this shift, but policy discussions should be honest about the trade-offs, and address the concerns of communities that lose out.
Different sources of flexibility in the electricity system | As the use of renewable energy in generating electricity grows the need for flexibility increases. This might be provided by a range of different solutions: flexible generators, battery storage, more interconnection with neighbouring markets. The most appropriate solution will depend on the exact system requirement.
Renewable energy and energy efficiency policy | Renewable energy targets are often expressed in absolute power or energy terms (e.g. in MW terms for renewable electricity). If a robust energy efficiency policy is successful in reducing demand for energy this can be counter-productive, requiring more generation capacity for example to be built at a time when demand is falling. It might be more appropriate to define renewable energy targets in % terms, but this has the disadvantage of being a moving target, especially in small, rapidly changing markets.
Speed and value for money | When procuring energy sector infrastructure there can sometimes be a trade-off between the simplicity and speed (sometimes!) of an unsolicited tender and the use of a competitive tender to increase competition and drive down prices.
High-level assessment

## Slide 16: Initial evidence gathering questions – Top 5 questions
Are energy sector policy objectives well defined, are institutional responsibilities well-defined and executed, and does policy clearly flow through to sector plans and actions on the ground?
Is there a robust economic rationale for the energy resources utilised, with planning processes giving due consideration to the availability of renewable resources and all appropriate centralised and decentralised energy conversion technologies to ensure energy supply is affordable?
Do energy consumers have access to reliable, affordable, and clean energy, and does that energy meet their requirements?
Do sector policies and processes minimise the sector’s potential for negative impact on communities, the climate, and the wider environment?
Are robust market and commercial arrangements in place that maintain the financial viability of the sector and of key utilities and service providers within the sector?
High-level assessment

## Slide 17: Initial evidence gathering questions – by WSA tool component
Demand-side
How much of the population has access to energy? Is this energy clean, reliable, and affordable? Does the available energy supply support productive use? Are distributed or behind-the-meter energy resources used to meet demand? How much is demand expected to grow? How is the nature of that demand (energy vector, sector, time of day, flexibility) likely to evolve?
Governance and regulation
What policy targets exist for energy access, renewable energy, and energy efficiency? Are these policy targets consistent with the sustainable development goals and other international commitment, such as the Paris climate change agreement? Is there scope to increase carbon reduction ambitious beyond existing national strategies? What mechanisms are in place to help achieve policy targets? Are there any fiscal incentives, subsidies, or cross-subsidies? Which are the key institutions in the energy sector? Are their roles clearly defined and is there good coordination between those institutions? Is there an independent regulator? What is their role? Do they set and/or approve end-user tariffs and are these cost reflective? Has the electricity sector undergone any liberalisation? Has the sector been unbundled? Are there any IPPs? Has any part of the sector been privatised? Is there a robust sector masterplan? Is the masterplan consistent with policy and regulatory requirements? Is the plan frequently updated and maintained?
Market and commercial
How is new infrastructure in the sector procured? Are there competitive tenders that are transparent and maximise use of private sector capital? Are key utilities and institutions in the sector financially sustainable and credit-worthy? What commercial arrangements are in place for buying and selling energy? Have standardised and bankable commercial arrangements (e.g. PPAs) been developed? Are there standardised arrangements in place for trading energy (power, gas) with neighbouring markets? Are there liquid wholesale markets for power or gas? How does the system operator balance supply with demand in real time? Is dispatch determined on a least-cost basis and are dispatch decisions transparent? Is revenue collection an issue? Are losses high in transporting energy to end users?
Physical infrastructure
What is the generation mix in the power sector? What technologies are used more broadly across the energy sector? To what extent are renewables prevalent? Are there fossil fuel reserves in the country? Where these are extracted are there processing facilities in the country? Is the country reliant on imports, or is it able to export surplus energy resources? What capacity exists for importing or exporting energy? Is energy supply reliable? Are there frequent outages? For power, are outages a result of supply shortfalls and/or grid stability issues? How high are network losses? Where there is still an energy access deficit, do off-grid solar companies and/or mini-grid developers have a presence? Is there uptake of off-grid electricity solutions? What technologies and fuels are being used for heating, cooking, and cooling? Is cooking dominated by traditional fuels and stoves?
High-level assessment

## Slide 18: Evaluating evidence from the high-level assessment
  Evidence gathered through the high-level assessment should be collected in a standard format, so that it can be easily compared with other countries where the WSA has been applied.
  Remember:
    While it is good practice to collect evidence from as many sources as possible, evidence might be incomplete at this stage.
    It is ok for hypotheses to be disproved during the detailed assessment. That is why we have the WSA!
Demand-side |  |  | 
1.1. | Demand-side participation | [Notes and hypotheses] | 
Governance and regulation |  |  | 
2.1. | Energy access policy | [Notes and hypotheses] | 
2.2. | Emissions reduction policy | [Notes and hypotheses] | 
… | … | … | 
Market and commercial |  |  | 
3.1. | Procurement | [Notes and hypotheses] | 
3.2. | Market arrangements and routes-to-market | [Notes and hypotheses] | 
… | … | … | 
Physical infrastructure |  |  | 
4.1. | Decentralised heating and cooking | [Notes and hypotheses] | 
4.2. | Decentralised mini-grids | [Notes and hypotheses] | 
… | … | … | 
Initial evidence gathered through the high-level assessment should be grouped by sub-component
For each sub-component any key hypotheses and potential issues should be noted. This might include initial thoughts on where assistance might be required, to be tested further in the detailed assessment
Each sub-component is evaluated and an initial view is formed on whether it should be a focus area for the detailed assessment
  Priority area for further analysis
  Evidence gaps, but potential issues that need to be investigated further
  Low priority area
High-level assessment

## Slide 19: WSA outcomes
There are a number of outcomes that application of a WSA helps to achieve. These outcomes are identified below and the icons on the left are used throughout the document to indicate where these cross-cutting themes are relevant.
 | Leave no-one behind | The WSA strives for an energy sector that is inclusive and offers opportunities (both through access to reliable, affordable, sustainable and modern energy, and through employment and business opportunities that are facilitated by the energy sector) to all parts of society. As in other sectors, it might sometimes therefore be appropriate for support to target women and girls, marginalised rural communities, or other disadvantaged groups.
 | Power for growth | The energy sector is tightly linked to economic growth. Reliable energy supply may encourage investment in industries and commerce that creates opportunities for employment. Access to affordable energy increases household income-earning potential and, in turn, increasing disposable income can lead to households purchasing more appliances that further increase demand for energy.
 | Climate change mitigation and sustainability | The energy sector is a major polluter globally, meaning that improving the environmental sustainability of the sector cuts across the WSA. This covers strategies to reduce carbon emissions, which are a major cause of climate change, and measures to reduce local air pollution.
 | Climate smart resilience and adaption | Some of the effects of climate change are now unavoidable and this means that it is important for economies and communities to be resilient to inevitable change. More equitable societies with universal access to basic services are likely to be more resilient than those in extreme poverty.
 | Environmental and social safeguards | Energy sector projects can often be large and may have a significant impact on the communities around them. The interests of those communities should be protected and the rights of indigenous populations and minority groups protected.
 | Capacity building | Realising improved outcomes that are sustained over the long-term is often dependent on the depth of local capacity in the sector. Capacity building and training – particularly for governmental institutions – are key areas where to provide support.
The slides that follow present (a) a brief overview of the subcomponents of the WSA where each of these outcomes is most pertinent, and (b) key considerations to ensure that these desired outcomes are incorporated when using the WSA.
High-level assessment

## Slide 20: WSA outcomes – Leave no-one behind
Focus areas
Key considerations
  Demand-side participation
  Energy access policy
  Incentives and subsidies
  Decentralised heating and cooking
  Decentralised mini-grids
  Decentralised stand-alone systems
  Liquid and solid fuel distribution
  It is important to understand any energy needs that are not currently being met. This should cover the needs of rural households, but also urban households where there might be unmet demand even where basic energy services are delivered. Any assessment of needs should cover all energy vectors, not just electricity.
  The needs of businesses also needs to be considered: ensuring that the energy needs of enterprise removes an important constraint on job creation.
  Where there are clear gaps in the provision on energy services to meet the needs of households and businesses, energy access policy should set clear targets and details plans should set out how those gaps will be addressed.
  The role of subsidies should be considered in ensuring that everyone’s basic energy needs are met. SDG 7 sets the goal of achieving universal energy access, and it is likely that some form of subsidy or cross-subsidy will be required to meet the needs of the poorest households.
  There are an increasing number of centralised and decentralised technologies that can be used in meeting the basic needs of energy consumers. The full range of technologies needs to be considered when evaluating options in setting policy and preparing sector plans. An assessment of the most suitable technologies should again carefully consider the actual energy needs of end consumers.
  Initiatives to meet the needs of all energy consumers should be sustainable, considering the needs for resilient O&M or, where relevant, fuel distribution infrastructure, so that the needs of businesses and households continue to be met after initial deployment of energy access solutions.
High-level assessment

## Slide 21: WSA outcomes – Power for growth
Focus areas
Key considerations
  Demand-side participation
  Energy access policy
  Industrial development strategy
  Procurement
  Market arrangements and routes-to-market
  System operation
  Metering and revenue collection
  Decentralised mini-grids
  Decentralised stand-alone systems
  Network infrastructure
  System flexibility and energy storage
  Non-renewable energy
  Renewable energy
  Fuel processing
  It is important to understand where the big opportunities for economic growth are to ensure that that the right energy sector bottlenecks are tackled.
  In many – but not all – cases, job creation and economic growth may be best tackled through encouraging the growth of industry and manufacturing. These sectors are likely to depend on reliable grid-connected electricity.
  Support can be provided to governments and regulators to help with procurement and developing the market arrangements to facilitate the development of supply-side infrastructure to meet the demand-side needs of these growth-enabling sectors.
  However, it is important that the focus extends beyond the supply-side. Industry and manufacturing will depend on energy supply being reliable and good quality. Network infrastructure needs to be able to support the needs of these larger loads and system operations need to be in place to balance the system and maintain system stability.
  As the role of renewable energy in providing bulk power grows, the challenges in maintaining power quality will also grow, increasing the importance of effective system operations.
  For some forms of power generation, fuel processing to facilitate a reliable supply of good quality fuel (such as natural gas or solid biomass) might also be a concern that needs to be addressed.
  While the focus here is most likely to be on large-scale, centralised infrastructure it is important that the context is properly considered. For example, in rural areas with low levels of access to energy decentralised energy solutions, such as mini-grids or stand-alone systems, may be sufficient to accommodate smaller job-creating enterprises that represent a small but important stepping stone in terms of economic development for the affected communities.
High-level assessment

## Slide 22: WSA outcomes – Climate change mitigation and sustainability
Focus areas
Key considerations
  Emissions reduction policy
  Energy efficiency policy
  Incentives, subsidies, and cross-subsidies
  System flexibility and electricity storage
  Renewable energy
  Centralised heating and cooling
  Climate change mitigation starts at the supra-national level. The NDCs committed to by individual countries under the Paris climate change agreement are at the heart of climate mitigation strategies. These NDCs should drive emissions reduction policy at the national level.
  Energy efficiency policy is also an important consideration as energy efficiency measures can often provide the least cost opportunities for reductions in greenhouse gas emissions. Further, it is also important that energy efficiency policy is consistent with targets for renewable energy: efficiency reductions may reduce the need for new power generation capacity, for example, regardless of whether that capacity is renewable or non-renewable.
  Clear long-term targets in emissions reduction policy are important to ensuring targets are met as efficiently as possible. Without a coherent long-term plan there is an increased risk of stranded assets. Similarly, new investments in non-renewable fossil fuel technologies might encourage delay on climate action.
  Incentives and subsidy mechanisms may need to be considered in driving the deployment of new technologies to reduce greenhouse gas emissions, although falling costs mean that low carbon technologies increasingly represent the least cost technology (in the power sector, for example).
  Other system changes will be required to accommodate new technologies. For example, system operations will need new ancillary services and new sources of flexibility to accommodate large volumes of intermittent renewable energy; charging infrastructure will need to be deployed to facilitate the widespread deployment of electric vehicles.
  Emissions reduction policy needs to cover emissions across the energy sector. In many countries heating, cooking, and cooling (whether decentralised or centralised) represents the largest energy sector source of emissions. In developing countries transport emissions can often represent a fast-growing source of emissions.
High-level assessment

## Slide 23: WSA outcomes – Climate smart resilience and adaption
Focus areas
Key considerations
  Demand-side participation
  Energy access policy
  Energy efficiency policy
  Decentralised heating and cooking
  Decentralised mini-grids
  Decentralised stand-alone systems
  Network infrastructure
  System flexibility and electricity storage
  Centralised heating and cooling
  While the energy sector has made a significant contribution to global greenhouse gas emissions, the sector can also be part of the solution helping communities to adapt to and increase their resilience to climate change.
  Successfully achieving the objectives of energy access policy can help to improve the resilience of individual households that would not otherwise have had access to modern energy services. For example, where energy access leads to increased earnings opportunities, improved economic well-bring could result in households having additional income that increases their resilience to extreme weather events such as drought or storms.
  Resilience of the energy system as a whole is also important in adapting to climate change. For example, in the power sector increased system flexibility and robust system operations could increase the options available in operating the system under more extreme conditions.
  Energy system planning and forecasting also needs to consider the impact of climate change on energy demand, in particular demand for heating and cooling.
High-level assessment

## Slide 24: WSA outcomes – Environmental and social safeguards
Focus areas
Key considerations
  Demand-side participation
  Energy access policy
  Incentives, subsidies, and cross-subsidies
  Metering and revenue collection
  Decentralised heating and cooking
  Decentralised mini-grids
  Decentralised stand-alone systems
  Network infrastructure
  Non-renewable energy
  Renewable energy
  Centralised heating and cooling
  Extraction of fossil fuels
  As with all large infrastructure projects it is important to ensure that appropriate safeguards are in place to protect the environment, communities and disadvantaged groups that might suffer any negative impacts of the project. On the environment, this might include mitigating the risk of contamination or fuel spillage; social safeguards might include ensuring that appropriate and sensitive strategies are in place where resettlement is necessary.
  These concerns are likely to be most relevant for centralised energy sector infrastructure: large scale power generation, network infrastructure, and extraction / mining activities. Development banks such as the World Bank normally have strict safeguarding policies that have to be followed for projects to be considered for financing.
  In addition to the direct impact of energy sector infrastructure projects themselves, it is important to consider the impact of sector policy on different parts of society, i.e. to perform distributional analysis. For example, any proposed incentive or subsidy schemes should be analysed to understand if they results in a disproportional benefit or disbenefit accruing to a particular group.
  Policies on revenue collection can also be sensitive: on the one hand it is important to enforce revenue collection to maintain the financial sustainability of utilities, but at the same time this can sometimes lead to a withdrawal of basic services from the poorest consumers.
  Some areas of energy policy, in particular energy access policy, play a key role in ensuring the most disadvantaged gain access to modern energy services.
High-level assessment

## Slide 25: WSA outcomes – Capacity building
Focus areas
Key considerations
  Energy access policy
  Emissions reduction policy
  Energy efficiency policy
  Industrial strategy
  Role of regulation
  Regulatory incentives to perform and innovate
  Planning and forecasting
  Market design
  Incentives, subsidies, and cross-subsidies
  Procurement
  Market arrangements
  System operation
  Metering and revenue collection
  Capacity building throughout the energy sector is critical to securing sustainable performance improvements and embedding meaningful change in the sector.
  Training and skills development may be required across all parts of the sector. When considering interventions in the sector, the skills and knowledge in the recipient institutions should be evaluated, so that the need for capacity building to be delivered as part of the intervention can be assessed.
  In many countries capacity building might be particularly important across the policy and regulation sub-components and market and commercial sub-components of the WSA. Training and courses can be delivered to the government departments responsible for energy policy, regulators, and utilities.
  In some cases training might also be delivered to the private sector, in particular to local / indigenous energy companies that are trying to compete with larger international companies. For example, capacity building could be delivered to strengthen the technical skills of local renewable energy developers.
High-level assessment

## Slide 26
3. Detailed assessment of the energy sector
Applying the Whole System Approach to identify gaps and opportunities to provide support

## Slide 27: 1.1. Demand-side participation (1 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How does demand for energy break down by sector? |  | 
How significant is industrial and commercial energy demand vs. residential demand? How does electricity demand compare to other component of energy demand, for example biomass, heat energy, liquid fuels? For electricity, at what time is peak demand? What does the average load shape look like and does this change over the course of a week and/or year? | The IEA’s energy balance data (http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015) includes a breakdown of energy demand by sector, and by energy sub-sector. The utility, electricity supplier(s) (if separate), and/or system operator are most likely to be able to provide a detailed breakdown of electricity demand. If industrial / commercial load is lower than expected organisations such as Chambers of Commerce might help with understanding why demand is low. In particular, it might help to understand where (poor) energy supply is a constraint on growth, or whether low energy demand is a result of other constraints on growth. World Bank Enterprise Surveys (https://www.enterprisesurveys.org/) can indicate whether energy supply is a constraint on business. | In many low income countries, biomass may account for by far the largest share of energy demand. Where this is the case, the importance of biomass should be reflected in energy access and emissions reduction policies. If electricity demand from industrial and/or commercial sectors is low, analysis could be performed to better understand why this is the case. This might help to inform the case for additional interventions, for example to improve the technical performance of network infrastructure or to improve system operations. If data on the shape of electricity demand shows that demand is particularly ‘peaky’ (i.e. focused on particular hours of the day), this might indicate that system flexibility is particularly important. This could help with shifting demand from peak hours to off-peak hours. Further information on interventions that might be required to improve system flexibility are provided in the guidance for that building block. In many countries other energy vectors, for example energy for heating and cooling or the use of liquid fuels for transportation, might be higher or growing more rapidly than electricity demand. This should then be reflected in energy policy priorities, for example in emissions reduction policies.
Following this guidance, an overview of the key considerations for each component of demand is also presented. These summaries cover the components of demand as presented in the IEA’s energy balance statistics: industry, transport, residential, commercial and public services, and agriculture.
1.1. Demand-side participation

## Slide 28: 1.1. Demand-side participation (2 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
To what extend is demand ‘masked’ by the use of diesel generators and other ‘behind-the-meter’ or off-grid generation? |  | 
Do electricity consumers use their own sources of generation if supply from the grid is unreliable and/or poor quality? What types of generation are used? Are diesel generators dominant or are renewable generation sources also used? | The IEA’s energy balance data can be used to evaluate the quantity of oil products used outside of the electricity generation sector, which can provide an indication of how widely used diesel generators are. Other uses of oil products (for example in industrial processes) should be considered when performing this analysis. Granular data is likely to be missing in many countries, but conversations with a sample of businesses and/or households can be helpful in understanding the reasons for their use and how they are used. Engagement with companies selling generators and/or other electricity generation solutions will also help with understanding who is buying what equipment. | Where there is lack of data over the use of diesel generators, surveys can help to build a robust evidence base, which can be used to help improve planning and forecasting. The data can also help to inform improved policy-making, for example energy access policy and emissions reduction policy. Where the use of behind-the-meter generation is widespread and where renewable power generation could play a greater role, incentives or subsidies could be considered to encourage this (e.g. through net metering). However, there is a risk that such policies can be regressive (as well-off households and businesses are more likely to have the capital to invest in renewables) so such schemes need to be designed carefully.
Are there material gaps in data covering energy demand? |  | 
Is there good data on electricity demand that is met by behind-the-meter generation? Is there good data on electricity demand covered by decentralised mini-grids and stand-alone systems? Does demand data cover industrial energy consumption that is met by onsite installations, for example boilers used to generate steam for industrial processes? Is biomass properly covered in demand data, in particular the use of traditional biomass for decentralised heating and cooking? | As noted above, the IEA’s energy balance data can be used to estimate the prevalence decentralised generators using liquid fuels. A survey of industrial and manufacturing energy users might be useful in understanding demand for energy and identifying any gaps in sector-wide analysis, which might only cover energy that is delivered using centralised infrastructure. Similarly, a survey of residential energy users may help to identify energy demand that is not captured in energy demand analyses. Donors who have been engaged in the sector for a longer period of time may be aware of gaps in the data and where there is additional energy demand that is not captured by the data. | Where there are significant gaps in the understanding of energy demand, detailed surveys of businesses and/or households could be funded to fill in these data gaps. Improved data could help to inform better energy policy, and to identify priority issues to be addressed in the sector.
Introduction
High-level assessment
Detailed assessment
Glossary
2.1. Energy access policy
2.2. Emissions reduction policy
2.4. Industrial strategy
2.3. Energy efficiency policy
2.5. Role of regulation
2.7. Planning and forecasting
2.6. Regulatory incentives
3.1. Procurement
3.3. System operation
3.2. Market arrangements
1.1. Demand-side participation
2.8. Market design
2.9. Incentives and subsidies
3.4. Metering and revenue collection
4.10. Extraction of fossil fuels
4.8. Renewable energy
4.7. Non-renewable energy
4.6. System flexibility
4.5. Network infrastructure
4.2. Decentralised mini-grids
4.3. Stand-alone systems
4.1. Heating and cooking
4.4. Liquid and solid fuel distribution
4.9. Centralised heating and cooling
4.11. Fuel processing

## Slide 29: 1.1. Demand-side participation (3 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How much is demand expected to grow over the coming years? |  | 
Is there an agreed demand forecast that is used across the energy sector in planning and forecasting? Are any major changes in the composition of this demand expected? E.g. a shift to or from electricity? What are the key areas of uncertainty over this forecast? Are the assumptions behind the demand growth assumption based on realistic gross domestic product (GDP) expectations, and realistic assumption regarding the growth of industries? | Details on the demand assumption used in sector planning and forecasting should be available from the organisation that owns the sector plan. For electricity this is most likely to be the utility or system operator. The plan should ideally include details on how this assumption has been built up, e.g. from GDP assumptions. Any assumptions on GDP could be validated with projections from other government institutions such as the Ministry of Finance. Assumptions could also be validated against e.g. GDP projections from international bodies such as the International Monetary Fund (IMF) (http://www.imf.org/external/ns/cs.aspx?id=28). Industry bodies, such as chambers of commerce, and other donors, may have a view on the credibility of demand forecasts. Analysis of actual demand against previous forecasts of demand included in sector plans could also give an indication of how credible demand growth forecasts are. | Demand forecasts used in energy sector planning and forecasting might frequently be unrealistic. If this appears to be the case the assumptions could be challenged through influencing the owners of the sector plan, and assistance could be provided to improve forecasting methodologies and scenario design. In the electricity sub-sector unrealistic demand forecasts might bias planning and forecasting towards on-grid electricity solutions. Realistic demand forecasting is therefore important to meeting energy access policy objectives at least cost.
How reliable is the supply of power to end consumers? Is load shedding common? |  | 
Is poor reliability of power supply a major constraint on the growth of industry and commerce? How frequently does load shedding take place? Is there any economic rationale behind the order in which load is shed in the case of a supply shortfall? | Industrial end users and trade bodies are again likely to be able to offer information on whether there are any significant issues around the reliability of electricity supply. Where load shedding does regularly take place, the system operator should be able to provide details on how this is managed, and on when this is ‘dispatched’. | If there are supply reliability issues that are a constraint on industry and commerce, analysis could be performed to evaluate the root cause of these issues. This might identify interventions to improve reliability of network infrastructure or issues in system operations. If load shedding is common and there is no set process for managing this, support could be provided to the system operator to define better processes for managing load shedding in a more systematic and economically optimal way.
1.1. Demand-side participation

## Slide 30: 1.1. Demand-side participation (4 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is energy used efficiently? |  | 
Is there evidence of end consumers ensuring they use energy efficiently? If not what are the reasons for this? Are energy prices cost reflective? Does this vary across different forms of energy (electricity, biomass)? How efficient are energy conversion and transmission activities? Is the thermal efficiency of non-renewable power generation or centralised heating and cooling systems low? Are there high technical and/or non-technical losses on network infrastructure? | A survey or discussions with a wide range of industrial and residential consumers might help with understanding how efficiently energy is used. The discussions could, if applicable, also explore why customers do not use energy more efficiently? For example, are some forms of energy heavily subsidised and therefore cheap? The owners of network infrastructure should be able to provide an analysis of technical and non-technical network losses. The World Bank’s data portal (https://data.worldbank.org/) also includes data on aggregate losses. | If energy is not used efficiently and it appears that this is largely because of distortive subsidies, support could be provided to improve tariff regulation or subsidy design to phase in more cost reflective tariffs. If distribution losses are high, measures could be considered to help reduce these. This might include improvements to the control equipment and metering attached to network infrastructure, but also targeted regulatory incentives to reward loss reduction by network companies. If end users of energy are choosing to use inefficient induction motors, appliances, lighting, or stoves, support could be provided to review whether changes to energy efficiency policy could help improve performance. Energy efficiency improvements will also interact with other policy objectives, for example through contributing to emissions reduction policy. Consider where there might be efficient leapfrogging opportunities, such as adopting efficient appliances.
How flexible is electricity demand? |  | 
Can some electricity users reduce or shift their demand for electricity flexibly without this having a material impact on the utility of the service they receive? Are there systems and processes in place to allow this additional system flexibility to be captured in system operation, for example? | Speaking to a range of electricity consumers (maybe through a formal survey) could help to identify whether any of their demand is flexible. E.g. could consumers shift demand from one time of day to another? Or, for an industrial customer for example, if the demand completely inflexible with any reduction in load having an impact on the financial performance of the business? In some countries the system operator may have arrangements in place with more flexible demand whereby they can require that demand to be reduced, or can directly control some loads, sometimes at cost to the system operator. | If there is potential demand flexibility, support could be provided to the system operator to develop market arrangements, contracts, and data protocols for demand-side response. This would provide an additional tool for the provision of system flexibility and improved system operation. Opportunities for demand flexibility could also be considered as part of energy efficiency policy, for example if audits of high demand sites take place.
1.1. Demand-side participation

## Slide 31: 1.1. Demand-side participation (5 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there interactions between different energy vectors that impacts the flexibility of energy demand? |  | 
Are there interaction that result in new sources of system flexibility, such as the potential vehicle-to-grid opportunities that could result from the electrification of transport? Does the interaction of energy vectors add constraints to system operations; for example, combined heat and power plants might result in must-run constraints that reduce the flexibility of the electricity system? Are there potential new interactions between energy vectors that could help to improve the efficiency of the energy system as a whole; for example, using heat storage to better align heat and electricity demand? | Companies operating the energy system are likely to be best placed to provide information on any existing or potential interactions between energy vectors. For example, in the electricity sector the system operator is likely to understand any constraints on system operation imposed by CHP plants. Donors and other third parties that have been engaged in the sector for a while may also understand where there are operational constraints and opportunities that result from these interactions. | To ensure that both constraints and synergistic opportunities are properly considered when designing energy sector solutions it is important to ensure that they are factored into energy sector planning and forecasting. Technical assistance to support planning and forecasting should ensure that key interactions between energy vectors are modelled correctly. Where potential beneficial interactions between energy vectors are identified (e.g. vehicle to grid, heat storage) assistance could be provided to implement pilot studies or to perform cost-benefit analysis to evaluate whether the proposed innovation would deliver a net benefit to the energy system. Where new interactions between energy vectors are introduced, support might be required to design and embed new protocols for exchanging data or processes for operating the energy system. This is most likely to affect parties engaged in system operations.
1.1. Demand-side participation

## Slide 32: 1.1. Demand-side participation Demand sector review - Industry
Key considerations
Energy demand growth drivers
Efficiency opportunities
  Industry and manufacturing sectors are often politically important as they can be important drivers of economic growth and job creation. An industrial strategy might be a significant driver of energy demand growth.
  These sectors can be energy intensive, adding electricity load as well as often having heating and/or cooling requirements.
  The perceived importance of industry often means that large industrial users have access to incentives and subsidies for industrial energy use.
  Increasingly, some large energy users have a preference for renewable energy and, where regulation allows, may procure their own energy; for example, wheeling electricity from a dedicated renewable generation or investing in a biomass boiler. This could help countries to meet their emissions reduction policy targets.
  As noted above, industrial and manufacturing sectors of the economy can be important sources of employment, so it is important that these sectors have access to the energy that they need for their operations.
  Often, even if energy supply is available, the quality or reliability of energy can be a constraint. Poor electricity reliability can be a factor that prevents job-creating industries from moving into a country.
  Poor reliability can also result in large energy users using their own distributed stand-alone energy solutions, including diesel generators. These solutions might be more expensive than a reliable centralised solution would be, further diminishing the attractiveness of a market for investment.
  Where reliability is a constraint on growth, subsidies can be counter-productive as they diminish the funds available to invest in improving reliability and undermine the financial viability of the energy sector.
  There can be significant opportunities for energy efficiency savings in industrial facilities, in particular if they are old plants or if they are in state-owned or protected industries.
  While these businesses may be significant energy users, energy is still normally a non-core part of their business meaning that it can be difficult for them to build a strong business case for investments to improve efficiency. Energy efficiency policy can be important in improving the incentives to invest in efficiency improvements.
  Incentives and subsidies for industrial energy users can further diminish the incentives for energy efficiency improvements, again strengthening the case for removing distortive subsidies.
1.1. Demand-side participation

## Slide 33: 1.1. Demand-side participation Demand sector review - Transport
Key considerations
Energy demand growth drivers
Efficiency opportunities
  In many countries the transport sector, specifically road transport, will be the largest driver of demand for oil products.
  As countries become more developed the increase in road transport is likely to be a major driver of increased greenhouse gas emissions. Emissions reduction policies need to consider the role of emissions from the transport sector.
  This challenge is often worsened in less developed countries by the prevalence of inefficient imported second-hand cars.
  In some cases there might be technology leapfrogging opportunities, for example with the deployment of electric vehicles in particular in public transport. Any deployment of new technologies will need to consider the skills requirements not just for those technologies to be operationalised, but for new equipment to be effectively maintained.
  The energy demand from the transport sector, and the emissions from the sector will to a great extent be dependent on policy-making outside of the energy sector; for example the provision of public transport alternatives to the car.
  The current dominance of oil products in providing the energy required by the transport sector means that effective fuel distribution for oil products is important for transport sector demand growth.
  However, as electricity and potentially hydrogen play an increasingly important role in the sector, this will need to taken into consideration in planning network infrastructure. The deployment of electric vehicles and/or vehicles using hydrogen fuel will depend on there being a sufficiently widespread network of charge points and/or filling stations.
  The role of these new fuels should be considered in planning and forecasting and incentives or subsidies might need to be considered to put in place the network infrastructure required to facilitate future demand growth.
  As noted above, vehicles in less developed countries can often be imported second-hand vehicles, meaning that they are inefficient and increase greenhouse gas emissions.
  Energy efficiency policies can be used to mitigate some of these challenges: for example setting emissions standards and establishing MOTs to enforce those standards, and setting quality standards for the registration of new vehicles.
  In many countries the price of liquid fuels is subsidised, which can act as an incentive to increase demand. Cost reflective pricing can act as an incentive to improve energy efficiency. This signal can be further strengthened if the full cost of externalities (such as carbon emissions) is also reflected in the price passed through to end consumers.
1.1. Demand-side participation

## Slide 34: 1.1. Demand-side participation Demand sector review - Residential
Key considerations
Energy demand growth drivers
Efficiency opportunities
  Energy access policy is often focused on residential energy use and ensuring that all households have access to clean and affordable energy.
  While policy can often be focused on electricity access, for many households cooking and/or heating and cooling can be more substantial components of household energy demand.
  In less developed countries where the use of biomass is prevalent, traditional heating and cooking technologies can contribute to health issues through household air pollution and to deforestation which can be a major driver of emissions reduction policy.
  When households first gain access to modern energy services demand for energy can often remain stubbornly low. For business models to be sustainable and for households to make best use of the services that they have access to it is important to understand the context and households’ needs to be able to grow demand.
  Roadshows, demonstrations, and a coordinated education campaign can be important in raising awareness amongst households on how they can use energy.
  Households might struggle to pay for new appliances to grow their demand, so the availability of financing / credit solutions can be important so that households are able to pay for new appliances over time.
  The most significant energy efficiency savings at the household level in most countries are likely to be reduced energy use for lighting and for heating. Improved insulation, improved heating equipment (stoves, boilers), and efficient lighting can all result in a significant reduction in household energy demand.
  Often the economic case for these investments in more efficient appliances will stack up, but households will not make the investments because of the up-front capital commitment required. Energy efficiency policy can help to support the deployment of efficient technologies, using incentives and subsidies, either through direct incentives or indirectly through subsidised financing solutions.
1.1. Demand-side participation

## Slide 35: 1.1. Demand-side participation Demand sector review – Commercial and public services
Key considerations
Energy demand growth drivers
Efficiency opportunities
  In less developed countries the quality of public services can be profoundly impacted by whether a service has access to modern energy services or not.
  Examples of this include health and education. In healthcare, reliable electricity means that vaccines and medicines can be properly stored and reliable lighting can increase safety during childbirth.
  In rural areas, improved access to modern energy services can have an important indirect impact as there is some evidence that this can make it easier to recruit better quality staff to provide services in areas where it might typically be harder to recruit.
  Energy access policy should consider synergies with other policy priorities, health and education being example where improved energy access can help to improve policy outcomes in other areas.
  Energy access policy should also consider the interaction with other components of demand. Improved energy access at home could help facilitate improved educational outcomes where children can study in the evening using a reliable electric light.
  In less developed countries the use of traditional biomass for heating and cooking in public buildings may lead to health issues for catering staff as well as contributing to the unsustainable use of biomass.
  When deploying modern energy services – for electricity or for cooking – for use in providing public services, the choice of commercial model is important. Sometimes new systems are installed at no cost to the institution with there being no arrangements made by central government or by the beneficiary for maintaining or operating the system.
  There is often no incentive for commercial users of energy (for whom energy may be a small portion of their cost base) or for public services to improve their energy efficiency.
  As with residential energy demand the business case for energy efficiency improvements in lighting and in heating can be strong, but the upfront capital requirement can be a barrier. Government’s access to cheaper finance can be used implement energy efficiency policies that target improved energy efficiency in public buildings.
1.1. Demand-side participation

## Slide 36: 1.1. Demand-side participation Demand sector review - Agriculture
Key considerations
Energy demand growth drivers
Efficiency opportunities
  In many less developed countries agriculture can account for a large share of the economy and a substation portion of the population may be engaged in subsistence agriculture.
  Modern energy services can allow for the productivity of these activities to be improved, which can acts as an important rung on the development ladder for rural communities. For example, reliable energy can result in improved irrigation of crops and it can increase the opportunities to engage in the processing of crops to produce more expensive outputs.
  The use of modern energy services for productive agricultural activities can therefore be an important consideration in developing energy access policy.
  Finding the opportunities to grow demand through agriculture often requires a bottom-up approach: analysing the context in a specific rural community; the crops being grown, the processes followed, and the sales and marketing opportunities for farmers in the community.
  A community-based approach can help with the acquisition of equipment that could be used to improve the productivity of farmers.
  Granular analysis is again likely to be necessary to identify energy saving opportunities in agriculture. This might identify opportunities to unlock simple efficiency savings through education campaigns; for example, if diesel-fired irrigation pumps are being used during the hottest hours of the day when evapotranspiration is highest.
1.1. Demand-side participation

## Slide 37: 2.1. Energy access policy (1 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Has the government committed to energy access targets? |  | 
Is there a commitment to the country meeting SDG 7, i.e. to achieve universal access to energy and/or other international targets on energy access? Does this commitment cover all forms of energy? Does it cover the energy used for heating and cooking as well as electricity? Is there senior level political buy-in to this being a policy priority? | Review key government strategy documents such as National Development Plans to see whether these contain targets and objectives relating to energy access. Speak to other donors operating in the country with energy programmes to understand their impression of the overall level of commitment to energy access. | A lack of targets and political buy-in may indicate an increased risk of not meeting SDG 7. If there appears to be little or no buy-in to promoting energy access interventions could aim to promote more engagement on the topic amongst ministers. To assist with this engagement, perform analysis of the economic case for improving energy access. Good examples of this type of analysis include recent analysis by GOGLA on the economic impact of off-grid solar (https://www.gogla.org/powering-opportunity-the-economic-impact-of-off-grid-solar).
Has the government set detailed goals on access to electricity (where there remains an access gap)? |  | 
Are the government’s goals consistent with SDG 7 and achieving universal access by 2030? Have any interim targets been set? What progress has been made against the government’s targets? Are the targets defined in law? Are there conflicting or inconsistent energy access targets? | Policy documents might be available on the relevant ministry’s website: for example targets might be included in a national development plan or in an energy policy document. Targets might also be included in strategy documents prepared under donor-funded initiatives. For example, the Action Agendas prepared under the Sustainable Energy for All (SE4All) initiative. Related legal instruments should help to clarify whether target are mentioned in law or are legally binding. The ministry responsible for energy should be clear on targets that have been set regarding electricity access. | If targets have not been defined, or if there are numerous inconsistent policy statements on energy access, support could be provided to help develop a coherent policy target on electricity access to be agreed with ministers. Economic analysis might also be required to estimate the cost of meeting the target and to evaluate the economic impact of meeting the policy target. A clearly defined target should consider the quality or tier(s) of access being targeted under the SE4All multi-tier framework (see https://www.esmap.org/node/55526). There is a trade-off between the tier of access being targeted and the cost of achieving that target. It is important for this to be well defined as it will impact which energy access solutions are most appropriate in any least-cost planning and forecasting exercise.
2.1. Energy access policy

## Slide 38: 2.1. Energy access policy (2 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Do any policy documents or sector plans define how the government aims to meet the electricity access target? |  | 
Do any documents define the extent to which electricity access goals will be met through extensions to the electricity network infrastructure vs. decentralised mini-grids or stand-alone systems. Where this has been defined, is it integrated with wider electricity sector planning and forecasting? Does this make reference to the quality of access targeted, in line with the SE4All multi-tier framework? Is this planning for extending electricity access periodically updated, for example to reflect changing costs? | The ministry responsible for energy or the organisation responsible for overall sector planning is most likely to have details on any plan for how electricity access will be extended. Information may also be provided in documents such as the country’s SE4All Action Agenda, if prepared. It is worth checking that these plans are genuinely reflected in government policy and planning through discussions with the relevant ministry. Speak to off-grid companies working with mini-grids and/or stand-alone systems to see whether they have received any indication from government on the relative roles of different energy access solutions. | Policy targets need to translate into more detailed planning to increase the change of hitting SDG 7. If there is no detailed plan in the public domain that sets out how the government intends to meet targets on electricity access, technical assistance could be provided to help define a plan and to prepare a planning document that gives a clear indication to industry participants on the likely role of different energy access solutions. It is also important that such a plan is maintained and updated regularly to reflect any changes in critical assumptions, such as changes in technology costs. Capacity building support could be provided so that the plan can be updated by officials in the relevant ministry. This plan should also be consistent with, or ideally integrated as part of, wider sector planning and forecasting.
Are appropriate policies in place to provide an enabling environment for off-grid technologies? |  | 
Are there any onerous licencing requirements in place for businesses deploying off-grid solutions? Are off-grid companies able to recover their full cost through a combination of tariffs, cross subsidies and any other redistributive mechanisms? Are there any other policies or areas of regulation that act as a barrier to the deployment of off-grid energy access solutions. | Speak to off-grid companies to understand any barriers that they are facing in deploying their solution(s) to help with meeting energy access targets. The regulator should be able to provide details on any specific regulation, or regulatory exemptions, in place regarding off-grid technologies. Other donors, especially those with ongoing programmes that cover energy access, are also likely to have views on any issues with existing regulation. | If barriers to the deployment of off-grid energy access solutions are identified these could be addressed through providing advice on regulation that either needs to be removed or amended, or that needs to be added. Frequently it might be difficult for off-grid companies to recover all of their costs. This might be because of restrictive tariff regulations or because of a lack of cross-subsidies to recognise the higher cost of off-grid solutions. Technical assistance could be provided to analyse the existing commercial model for off-grid energy access solutions, including any relevant regulations, and to recommend improvements that could be made to accelerate deployment.
2.1. Energy access policy

## Slide 39: 2.1. Energy access policy (3 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Has government demonstrated a financial commitment towards meeting its electricity access goals? |  | 
Is the government’s electricity access target likely to be achievable without some form of financial assistance for the poorest consumers? Does the government provide any up-front capital subsidies, for example through subsidised grid or mini-grids connections, or subsidies to customers acquiring off-grid stand-alone solutions. Are there any incentives, subsidies, and cross-subsidies to increase the affordability of energy access for different consumers? For example, do rural grid-connected customer pay the same tariff as urban grid-connected customers, or do off-grid customers pay the same tariff as on-grid customers? | The ministry responsible for energy should be able to provide any information on any funding available through incentives, subsidies, and cross-subsidies to improve access to electricity. The regulator may also be able to provide information, in particular where any redistribution takes place through tariff regulation. Companies operating in the off-grid sector may be able to provide evidence on the support that they have actually received. Other donors working in the sector may also be able to provide information on any subsidy or cross-subsidy in place. | It may be difficult or impossible to meet SDG 7 and/or to reach the rural poor without use of incentives, subsidies, or cross-subsidies. If incentives, subsidies, and cross-subsidies are not transparent, or if little information is available, research or perform analysis regarding financial flows across the sector. This might provide a starting point for building the case for allocating government resources for improving energy access. If affordability gaps have been identified (i.e. it is clear that electricity access cannot be extended to all regions without financial support) and there are no funding mechanism to address these gaps, technical assistance could be provided to design a subsidy or cross-subsidy scheme to incentivise the deployment of energy access solutions. These schemes should be sustainable, so that beneficiary households do not find themselves without energy access at some point in the future if a subsidy scheme is withdrawn. Potentially contribute towards such funding if there is a strong case to do so, for example as part of an output-based aid scheme.
Does the government have a clearly defined target on extending access to clean cooking? |  | 
Is the clean cooking target consistent with the overall objective of SDG 7 to achieve universal access by 2030? What progress has been made against the target to date? | Review key government strategy documents such as National Development Plans to see whether these include a high level policy target on the use of clean fuels and/or clean stoves for cooking. Check whether the ministry responsible for energy has set any clear targets and whether any targets have been made binding in law. Donor-funded strategies, such as the SE4All Action Agendas, might provide another source for targets. | Access to clean and sustainable cooking solutions is an important part of meeting SDG 7. If no clear targets exist for the use of clean heating and cooking fuels and/or clean cookstoves, or if there are multiple inconsistent targets that have been published, technical assistance could be provided to develop clearly defined targets that can then be well-publicised.
2.1. Energy access policy

## Slide 40: 2.1. Energy access policy (4 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Has any detailed plan been prepared to define how the clean cooking target should be met in practice? |  | 
Have any interim targets been set to define how the overall target should be met over time? Is the government clear on which fuels should be used in providing households with clean cooking solutions? Is the government clear on what cookstove technologies should be promoted in working towards the target? | The ministry responsible for the energy sector is most likely to own any more detailed plan that sits behind a clean cooking target, but it is possible that other ministries could be involved. For example, ministries responsible for forestry and/or the environment could be involved, especially if the focus of the plan is on fuel switching and moving away from charcoal. Speaking to clean cookstove companies will provide a good indication of whether any plans for the sector have been disseminated. | The role of planning and forecasting is often neglected for access to clean cooking and heating, but is just as important to meeting policy goals as it is for electricity. If there is a target for access to clean cooking, but not yet a detailed plan for how that target should be met, technical assistance could be provided to help the government to analyse the best ways to meet the target so that this can then be used to inform a more detailed plan. Detailed planning for clean cooking should be tailored to the context and acknowledge trade-offs. For example, the relevance of biomass sustainability and respiratory health issues will vary by country, and there may be trade-offs between the cost of solutions and the extent to which they tackle these issues. It will also be important to build capacity in the institutions with ownership of that plan in future, so that the plan can be updated in future, for example to take any technological developments into consideration.
2.1. Energy access policy

## Slide 41: 2.1. Energy access policy (5 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there sufficient financial commitment behind the targets for clean cooking? |  | 
Are proposed cleaner fuels and cookstoves affordable for consumers, and how do costs compare against traditional stoves? If consumers will be financial worse off as a result of the clean cooking target, how does government plan to achieve the target? Is financing proposed so that consumers can spread the cost, or will subsidies be used? If subsidies are used will these be available to all consumers, or will they be targeted at certain groups. | The ministry responsible for this area of policy (most likely the energy ministry – see above) should be aware of any incentives, subsidies, and cross-subsidies that are in place to encourage consumers to shift towards cleaner cooking solutions. Companies selling clean cookstoves are also likely to be able to provide information on any assistance, and are likely to have a view on where additional assistance is required. Donors, and especially donors with programmes focused on heating and cooking fuels and clean cooking solutions, may also have information on existing and proposed support programmes. | If information on subsidies and cross-subsidies is not available or is unreliable, research and analysis could be performed to build a robust evidence base in this area. Such analysis should cover any subsidies in the value chains for traditional fuels, such as charcoal. If assistance is required to encourage consumers to move towards cleaner cooking solutions, technical assistance could be provided to help with designing a wide range of possible interventions. This might include bans (i.e. making particularly polluting traditional solutions illegal), taxes or levies on traditional fuels or stoves, or subsidies for new, cleaner cooking solutions. Technical assistance could also be provided to evaluate policy proposals through a full cost-benefit analysis. Assistance could also help to set up a financing facility so that consumers could spread the cost of cleaner cookstoves.
Does energy access policy consider the needs of enterprise as well as households? |  | 
Are small-scale enterprises able to meet their energy needs? Where off-grid stand-alone systems are prevalent, are appliances required by rural enterprises available that are compatible with these systems (e.g. D.C. appliances)? Are large industrial and manufacturing energy users able to get access to the reliable energy supply that they need? Are large energy users able to meet any non-electrical energy requirements, for example liquid and solid fuels, or gas delivered through network infrastructure? | Businesses and chambers of commerce will be able to identify any energy access challenges that are acting as a barrier to new businesses or the expansion of existing businesses. Donors working in rural areas may be able to highlight specific challenges for smaller-scale rural enterprises. | Where the needs of business and/or small-scale enterprises are not fully considered in a country’s energy policy, technical assistance could be provided to identify any gaps that need to be addressed and to develop policies and targets that would help to address these gaps. If gaps are identified that the private sector is unlikely to address in isolation, support could be provided in designing incentives and subsidies and/or public procurement mechanisms to address these gaps.
2.1. Energy access policy

## Slide 42: 2.2. Emissions reduction policy (1 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What commitments have been made to reduce greenhouse gas emissions? |  | 
Has the government submitted its NDC under the Paris climate change agreement and/or any other supra-national emissions reduction commitments or targets? Does this include a clearly defined target for emissions reductions? Have any other commitments been made to the international community to reduce emissions? | NDCs that have been submitted to the UNFCCC can be found on its website (http://www4.unfccc.int/ndcregistry/Pages/Home.aspx). Any clarifications on the commitments made in the NDC, or elsewhere, should be sought from the ministry responsible for submitting the NDC. This might be the environment ministry or in some cases a separate climate change department might have been established. | Often NDCs lack clarity and detail on the emissions reduction measures that will be promoted to achieve the reductions that countries commit to. Technical assistance could be provided to help countries prepare a more detailed emissions reduction plan to build on the NDC, setting out the role of different sectors, including the energy sector (and its interaction with land use change through the biomass sector), in meetings emissions reduction targets.
Does the country have good quality data on its greenhouse gas emissions? |  | 
Is there a reliable inventory of greenhouse gas emissions that is frequently updated? Are data on actual emissions frequently used to track progress made against NDC commitments and domestic policy goals? How are data on emissions from the energy sector collected and are these data robust? Do emissions data consider indirect or upstream emissions? | Where a greenhouse gas emissions inventory is maintained it is likely to be maintained by the same ministry that had responsibility for drafting the country’s NDC. If different, the ministry responsible for energy may also be able to provide information on greenhouse gas emissions data in the energy sector. NGOs with a focus on climate change or donors with climate change-related programmes may also have a view on the quality of emissions data in the country. | Good quality data is important as it both helps to inform policy-making and is required to monitor progress made against policy targets. If the country currently has no emissions inventory, or if the quality of data is widely believed to be poor, technical assistance to establish or improve data on greenhouse emissions could be provided. Training and capacity building could also be provided to the teams responsible for maintaining the database so that they are able to ensure the data quality is good and that the database is kept up-to-date on an ongoing basis.
2.1. Energy access policy

## Slide 43: 2.2. Emissions reduction policy (2 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Does the government have a clear plan for how it will meet its emission reductions commitments? |  | 
Is the country’s international commitment translated into a clear target in domestic policy? Are the targets legally binding? Has a plan for meeting the policy target been prepared, setting out how emissions reductions will be spread across different sectors? Was the plan prepared using an approach that properly considered the economic trade-offs and costs involved in implementing policy measures in different sectors? Is the limit on carbon emissions from the power sector and other energy sub-sectors clear? | Any plan for meeting emissions reductions targets is likely to again be prepared by whichever government department owns the NDC. However, it is likely that other ministries (including, for example, energy) will have been engaged while the plan was being prepared. Engage with the organisation responsible for power sector planning and forecasting to see whether they were consulted during the preparation of an emissions reduction strategy. This link is important as it is important for power sector planning to be consistent with the emissions reductions targets. The ministry responsible for energy should also be able to provide any details of plans in place for emissions reductions in other parts of the energy sector. This might cover the use of natural gas and the use of liquid and solid fuels. | If a detailed emissions reduction strategy has not yet been prepared, technical assistance could be provided to help put a strategy in place that is consistent with commitments made through the country’s NDC, but where each sector that makes a significant contribution to greenhouse gas emissions is consulted. The strategy should be prepared using a cost-benefit analysis approach that seeks to minimise any economic cost and maximise the benefit of meeting emissions reduction targets. This plan will need to be owned and regularly updated. Capacity building and training for the teams responsible for the plan could be considered. If a plan has been prepared with little or no consultation with key sectors such as the power sector, support could be provided to improve engagement between government departments so that policy affecting each sector is more likely to be internally consistent.
2.2. Emissions reduction policy

## Slide 44: 2.2. Emissions reduction policy (3 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any policies or emissions limits for pollutants that contribute to local air pollution? |  | 
Is local air pollution a significant issue? Is there often smog in cities, or do many people suffer from pollution-related respiratory problems? Are there any emissions limits on non-renewable power generators? Do any limits apply only to new non-renewable power generators or also to older plants, requiring them to retrofit equipment to reduce emissions of certain pollutants? Are there emissions limits on the industrial use of fossil fuels, for example for heating or for other industrial processes? Are there policies in place to control air pollution resulting from fuels burnt for decentralised heating and cooking in urban areas? What monitoring and enforcement processes are in place for any emissions limits? | The environment ministry is likely to be responsible for defining any emissions limits for power plants and other combustion plants. The environment ministry may be able to provide information on air quality and the health ministry may be able to provide information on the prevalence of respiratory illnesses, which may indicate the extent to which local air pollution is an issue. Owners of non-renewable power generators and of industrial combustion plants may be able to provide information on what if any monitoring of emissions is required. | If local air pollution is widely acknowledged to be an issue but there are not yet emissions limits in place, consider providing support in evaluating different options for emissions limits. A full cost-benefit analysis of these options would allow the cost of measures (modernising power stations, and/or reducing the use of traditional biomass in urban areas) to be compared with the benefits (e.g. in health-related improvements). If limits are already defined but poorly monitored support could be provided in setting up a robust monitoring network and in providing training to the individuals responsible for monitoring emissions.
Does power sector planning consider emissions and is it consistent with meeting emissions reduction policy goals |  | 
Does planning and forecasting for the power sector consider the full range of options for meeting emissions reduction requirements assigned to the sector? For example: renewable power generation, demand-side participation, energy efficiency policy, and technology improvements to non-renewable power generators can all contribute towards emissions reductions. | Where there is a power sector master plan or equivalent this should be compared against policies and plans relating to emissions reductions. Discussions with the ministries with ownership of these two policy areas could also help to identify any inconsistencies in planning and forecasting. | There are often inconsistencies between different policies and plans and this can undermine both policy-making and the effectiveness of planning and forecasting. In the event that inconsistencies in planning and forecasting are identified, assistance could be provided to improve system planning processes and coordination between different ministries and agencies to ensure that power system planning is consistent with other policy constraints.
Introduction
High-level assessment
Detailed assessment
Glossary
4.10. Extraction of fossil fuels
4.8. Renewable energy
4.7. Non-renewable energy
4.6. System flexibility
4.5. Network infrastructure
4.2. Decentralised mini-grids
4.3. Stand-alone systems
4.1. Heating and cooking
4.4. Liquid and solid fuel distribution
4.9. Centralised heating and cooling
4.11. Fuel processing
2.2. Emissions reduction policy

## Slide 45: 2.2. Emissions reduction policy (4 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is renewable power generation included in the plan for the power sector? |  | 
Is the inclusion of renewable power generation consistent with the emissions reductions required from the power sector to meet national emissions reduction targets? Has a target for renewable power generation been set? | Where there is a power sector master plan this should be available from whichever party is responsible for preparing it. This is most likely to be the utility or system operator. The ministry responsible for energy is most likely to be able to provide details regarding any specific target set for renewable power generation. This target might also be included in other strategy documents such as the country’s Action Agenda prepared under the SE4All initiative (if completed). | While the full range of options for achieving emissions reduction targets should be properly considered as part of an effective planning and forecasting process, renewable power generation can often be one of the most cost effective options available. If renewable power generation is not included in the power sector plan, or if more emissions reductions are required for the power sector plan to be consistent with total emissions reduction targets, technical assistance could be provided to analyse the opportunity to include more renewables in future plans for the power sector. If the country does not have a separate target for renewable power generation, support could be provided to determine an appropriate level at which such a target could be set.
Are there any specific policies in place to support renewables? |  | 
Has the country run any tenders for renewable power generation capacity, or does it have feed-in tariffs in place to support such projects? If not, are there any plans to procure renewables in the future? Have such procurements been focused on particular renewable technologies? Are there any policies to support the adoption of renewable fuels outside of the power sector, for example for cooking and heating? Are there any barriers to the development of renewable energy projects that need to be addressed? | The ministry responsible for energy should be able to provide an overview of any specific policies in place to support renewables. Speak to IPPs, and specifically to IPPs who have tried to develop renewable power generation projects in the country, to understand whether there are any specific barriers that have held up the development of such projects. If procurements of renewable power generation have taken place, or are underway, it might be possible to obtain a copy of RFPs and key project agreements proposed for those procurement exercises. | If any specific barriers to the development of renewable power generation are identified, assistance could be provided to improve the enabling environment for renewables by addressing the identified barriers. If the country has not yet run any tenders for renewable power generation, support could be provided to design and execute a tender consistent with the country’s policy objectives. The use of traditional and unsustainable forms of biomass can often be a major source of emissions. If there is no policy in place to support the use of renewable energy in heating and cooking (for example through biomass sustainability standards), technical assistance could be provided to help develop such a policy.
2.2. Emissions reduction policy

## Slide 46: 2.2. Emissions reduction policy (5 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is detailed policy in place to support emissions reduction measures in other parts of the energy sector; for example, covering heating and transport? |  | 
Is there a strategy for reducing industrial emissions, for example from fuel processing refining? Are there incentives for industrial energy users to switch from coal to natural gas? Where sustainably produced biomass is an option are there policies in place to encourage its use? Are policies in place to support the development of a hydrogen network infrastructure, for use in transport and heating for example. What measures are being taken by the public and/or private sectors to put in place a charging infrastructure for electric vehicles? Where decentralised heating and cooking solutions reliant on traditional biomass are prevalent, is there any effective policy or regulation to manage the use of biomass? | The government department that owns the country’s NDC and emissions reduction policy should be able to provide an overview of the initiatives in place across the energy sector. In many cases responsibility for implementation may be allocated to other departments, in which case these departments should be engaged to validate whether policy-making is joined up. In many cases policy designed to reduce emissions may be closely connected to energy efficiency policy, so agencies and ministries with responsibility for energy efficiency should also be engaged. Businesses with substantial greenhouse gas emissions should also be engaged as this will help to validate what policies have actually been implemented and which strategies have been communicated to business stakeholders. Other donors with a presence in the sector may be able to provide a good overview of the emissions reductions policies in place across all parts of the energy sector. | Where policy is focused on electricity generation and does not cover other major emitters in the energy sector, technical assistance could be provided to government to address these policy gaps and to develop a coherent emissions reduction policy that is joined up across all affected parts of government. Where new infrastructure is required (e.g. to support the electrification of transport or to distribute hydrogen) there might be a role for regulation in creating the right incentives for this infrastructure to be developed. Technical assistance could be provided to analyse the potential policy framework options for these new infrastructure requirements. In some cases new incentives or subsidies might be required to encourage investment in new low carbon infrastructure. Where such a need is identified, technical assistance could be provided to help design such schemes.
Are the necessary supporting regulations in place to implement the country’s emissions reduction policy? |  | 
What is the role of regulation in implementing emissions reduction policy? Are there specific regulations required to implement the policy successfully? For example, regulations to support the procurement of renewable energy, or to enforce biomass sustainability standards? | The regulator should be best placed to provide an overview of its role in implementing emissions reduction policy. Relevant regulations may also be available on the regulator’s website. The ministry responsible for emissions reduction policy should also be able to provide information on the regulations that it believes are required to implement the policy, and who is responsible for these regulations. Private sector stakeholders, for example renewable energy developers or distributors of improved cookstoves, may be able to identify any gaps in the regulatory framework that need to be addressed. | A lack of consistency and coordination between policy and detailed regulation can impede progress against stated emissions reduction targets. Support could be provided to the relevant regulatory bodies to design and implement any detailed regulations that are required to fully implement the country’s emissions reduction policy. Capacity building support might also be provided to those institutions responsible for enforcing these regulations to ensure that practice is in line with any new regulations put in place.
2.2. Emissions reduction policy

## Slide 47: 2.3. Energy efficiency policy (1 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any existing targets for improving energy efficiency? |  | 
Have energy efficiency targets been defined? Is energy efficiency policy consistent with SDG 7 (which requires a doubling in the global rate of improvement in energy efficiency by 2030)? | Energy policy strategy documents might include energy efficiency policy objectives. The ministry responsible for energy is most likely to be able to provide information on these objectives. Other ministries might also own policy targets related to energy efficiency. For example, if the state has a significant role in owning housing stock or other buildings, the government departments with responsibility for those buildings might have targets for increasing the energy efficiency of that portfolio. Donor-funded strategies such as the SE4All Action Agendas – where completed – might also provide a summary of existing and proposed policy objectives regarding energy efficiency. Energy policies and laws should be reviewed to understand whether targets and objectives are actually enshrined in law. | If the government has not yet defined any targets or policy objectives support could be provided to develop targets and to evaluate the role that energy efficiency could play in the country’s energy strategy (for example, through detailed cost-benefit analysis). Energy efficiency can be a cost-effective way to achieve the goals of emissions reduction policy and can help to reduce demand, having an impact on energy sector planning and forecasting. Trade-offs exist between setting energy efficiency targets and other policy measures for emissions reduction. For example, an ambitious energy efficiency target might reduce the amount of power generation capacity required and limit the potential cost-effective procurement of renewables.
2.2. Emissions reduction policy

## Slide 48: 2.3. Energy efficiency policy (2 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is power sector planning and forecasting consistent with any energy efficiency targets? |  | 
Do the demand assumptions used in system planning incorporate energy efficiency savings consistent with any policies put in place? | If the planning and forecasting documents obtained do not include detailed information on the demand assumptions made, further information should be requested from the owner of the document on the assumptions made and the extent to which energy efficiency measures were taken into account in the demand assumptions. These assumptions can then be evaluated for consistency with any energy efficiency policy objectives. Demand assumptions and assumptions on the results of energy efficiency measures could also be compared against demand forecasts used by other stakeholders, e.g. the system operator (if they are not the owner of the planning process) and/or IPPs. | It is important for policy, planning, and implementation to be consistent. If the demand forecast(s) used for system planning and forecasting is inconsistent with policy, it might (if the policy objective is realistic and achievable) be appropriate to provide support to revisit the plan and revise key assumptions.
Are there opportunities to improve energy efficiency through technical improvements to centralised energy infrastructure? |  | 
Can significant improvements be made to the thermal efficiency of any of the existing thermal power generators? Have any studies been performed to analyse the cost-effectiveness of improvements to the efficiency of existing thermal generation? Similarly, are there efficiency improvements that could be made to centralised district heating systems? Are there any significant barriers to implementing improvement projects that make economic sense? | Any studies that have been performed on the potential for upstream efficiency improvements are likely to owned by the incumbent utility and/or system operator. Generally, any power generators or district heating systems owned by the private sector are likely to be more efficient (where they are the newest plants on the system and incentive structures in their PPA are well designed). Other donors – who may have funded such studies – may also be aware of any work that has been done to evaluate efficiency improvement opportunities. | Improving supply-side efficiency can often be one of the most cost-effective and simplest ways to improve energy efficiency. If there is operational non-renewable power generation capacity and/or centralised heating infrastructure that has low thermal efficiency, but there are opportunities for improving that thermal efficiency, technical analysis and economic cost-benefit analysis of the options for investing in such improvements could be provided. Advice might also be provided on the commercial and market arrangements for funding these improvements. If the capacity is owned by a state-owned utility, improvements might be made through an Engineering, Procurement and Construction (EPC) arrangement, whereas if improvements are made by a private sector operator there might be a need to re-open pricing clauses in key project agreements.
2.3. Energy efficiency policy

## Slide 49: 2.3. Energy efficiency policy (3 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What opportunities exist for energy efficiency savings in industry and commerce? |  | 
What share of energy demand is from industrial and commercial loads? Have industrial and commercial energy users made significant investments in improving their energy efficiency to date? Do standards for equipment used by large energy users specify minimum energy efficiency requirements? Have any surveys or energy audits been performed to identify savings that could be made? What barriers exist that prevent companies from improving energy efficiency? | The IEA’s energy balance data also provides a high-level breakdown of electricity consumption. This data can be found at: http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015. For electricity, the system operator, or the organisation responsible for planning and forecasting, may be able to provide a disaggregated analysis of demand. The energy ministry and/or standards setting bureau should be able to provide details on any energy efficiency consideration in setting standards for industrial equipment and for premises used by businesses. Speaking to large industrial and commercial consumers of energy could help identify any energy efficiency actions that they have taken, and any barriers to investments in energy efficiency measures. Other donors might have funded, or may be aware of, programmes that have supported energy efficiency measures. Such programmes may provide further evidence of issues that have been faced in the past. | If any major barriers to implementing energy efficiency measures are identified, support could be provided to design interventions that help overcome those barriers. That might involve policy or regulatory changes, or designing financing mechanisms for such measures. Where there are no standards for equipment used in industry, support could be provided to the relevant standard setting bureau to develop standards that incorporate appropriate energy efficiency requirements. If financing is the main barrier to energy efficiency measures, support could be provided to design a government-backed financing facility for energy efficiency measures. If there is a lack of evidence over the energy efficiency gains that could be realised, surveys and/or energy audits could be performed to identify where further interventions would be cost-effective.
2.3. Energy efficiency policy

## Slide 50: 2.3. Energy efficiency policy (4 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What opportunities exist for energy efficiency savings at the household level? |  | 
What share of energy demand is from households? How energy efficient is the typical household? Are houses well insulated? Do households use efficient lighting? Can efficiencies be gained through using more efficient technologies for significant loads (e.g. using solar geysers for water heating where solar resource is good)? What barriers exist that prevent households from improving energy efficiency? Do product standards define minimum energy efficiency requirements for energy-consuming appliances? | As noted above for commercial and industrial demand, the IEA energy balance data provides a breakdown of energy demand. Information may be available on the use of energy saving devices, most likely the use of energy efficient lighting. Conversations with a sample of domestic customers might help to identify any measures that have either been widely deployed, or which could be deployed across the country’s housing stock. The energy ministry and/or standards setting bureau should be able to provide details on any energy efficiency consideration in setting standards. Donors may have funded programmes on energy efficiency and may be able to provide further information on household energy savings from those programmes. | If any major barriers to investments in household-level energy efficiency measures are identified, support could be provided to help identify and design possible solutions. Possible policy solutions could include tightening product standards (i.e. requiring new products to meet certain efficiency requirements), providing subsidies to support certain investments (e.g. switching to a solar geyser), or designing new solutions to provide consumer finance for energy efficiency measures.
2.3. Energy efficiency policy

## Slide 51: 2.4. Industrial development strategy
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Does the country have a formal industrial development strategy? |  | 
If there is a strategy, is it credible? Is it used as point of reference by a wide range of public and private sector stakeholders? | If there is a Ministry of Economy, or equivalent, any industrial development strategy is most likely to be owned by them. If the strategy is widely referenced, most government departments, including the energy ministry, are likely to be aware of the strategy. | N/A
Is it proposed (whether through a formal strategy or not) that energy intensive sectors have a significant role in the economy in the near future? |  | 
Does the industrial development strategy show energy intensive sectors (manufacturing, industrial processes, mining) growing significantly? Does the strategy make reference to the electricity supply required to serve those industries? | The Ministry of Economy, or other owner of the industrial plan, should be able to provide details on the sectors where growth is expected. Ideally, the industrial strategy will have been prepared in collaboration with other ministries, including Energy, so that key considerations such as electricity supply are included in the plan. | The growth of certain sectors will depend heavily on the reliability and quality of energy supply. If there has been no coordination with energy sector stakeholders during preparation of the industrial strategy, support might be required in analysing the implications for the energy sector of delivering the plan.
Is industrial planning consistent with any energy sector planning? |  | 
Does planning and forecasting for the energy sector incorporate demand growth projections that are consistent with the industrial plan? Does detailed network planning consider the likely location of industrial loads? Is the location of any planned industrial zones taken into consideration, for example? | Conversations with the respective owners of the industrial development strategy and energy sector planning and forecasting should help to identify any inconsistencies between the two. In particular, it will be important to understand how the demand assumption used in planning is derived. It may also be useful to understand how the preparation of the electricity sector plan considers uncertainty in demand assumptions. For example, there may be significant uncertainty over the rate at which a particular energy intensive sector of the economy grows. In addition to the demand growth assumption, network planners should be able to provide details of how their work considers the location of new industrial hubs and plants. | Without coordination there is a risk of wasted spend, both in the energy sector and in other infrastructure required to support industrial growth. If there is little or no consistency between the industrial strategy and energy sector planning and forecasting, support could be provided to the organisation responsible for the energy sector plan to improve processes to ensure that industrial planning projections are incorporated into the sector plan, and that these inputs are regularly refreshed and challenged. If the industrial plan is not credible, or if there is a high degree of uncertainty over the plan, support could be provided to help network planners in particular design a response that maximises optionality and focuses on no-regret or low-regret near-term investments.
2.4. Industrial strategy

## Slide 52: 2.5. Role of regulation (1 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there an energy sector regulator, or are regulatory functions carried out by the ministry responsible for energy? |  | 
Has a separate regulator been set up? Is the role of that regulator well-defined, and enshrined in legislation? Is the regulatory independent of government? Who appoints the regulator / board members to the regulator? | Any energy sector regulator is likely in the first instance to have been established through primary legislation. The ministry responsible for energy should be able to provide guidance on the legal framework for any regulator. Ideally this legislation should be accessible on either the ministry’s or regulator’s website. The ministry and/or regulator should be able to provide information on how the institution is governed, for example the appointment of board members. This should again be defined in the relevant legislation. Speaking to a wide range of energy sector stakeholders should also highlight any concerns about governance at the regulator. For example, speak to companies reliant on the regulator for tariff decisions, or for approval of key commercial agreements. | The existence of an independent and capable energy regulator can be important to ensure that the day-to-day running of the sector is consistent with government policy, but free from political interference. If no energy sector regulator has been established, technical assistance could be provided to help set up a regulator, and to develop the supporting legislative framework to govern the regulator. If there is a regulator, but specific concerns are raised about the independence of the regulator, targeted assistance could analyse the governance issues that need to be addressed, and advise on any changes that need to be made to the legislative framework that governs the regulator.
What is the regulator’s role with respect to awarding market participants the right to operate, through licencing? |  | 
Are there standard form licences that are publicly available and in line with international norms? Is the regulator the only organisation that is able to issue licences? Are there restrictions on the number of licences that can be issued? Is the process for obtaining a licence well defined and transparent? | Ideally, standard licence terms should be defined and available from the regulator’s website. If not, check with the regulator and/or energy ministry whether such terms are available elsewhere. For the electricity sub-sector, the process for awarding licences is likely to depend on market design. In a market where most generation is procured through tenders, licences might be awarded after the tender (this might be included in an Implementation Agreement), whereas in a completely liberalised market a licence might be acquired early on in project development. | Transparency on licencing processes and terms can help improve investor confidence in the sector, which might result in more competition and improved pricing where the private sector participates. If standardised licences have not been developed, support could be provided to the regulator to develop standardised licences and to make sure that these are then publicly available, for example on the regulator’s website. If the process for obtaining a licence is not clear, support to prepare more public information on these processes could be provided. This should be consistent with market design; for example, for electricity the market might allow for the participation of multiple generators, but only one transmission licence can be issued.
2.5. Role of regulation

## Slide 53: 2.5. Role of regulation (2 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Does the regulator have a role in defining and/or approving the commercial terms agreed between parties operating in the sector? |  | 
Has the regulator developed a model PPA for power generation, or any other key model agreements for the sector? Are market participants allowed to deviate from such model agreements? Do key agreements (such as PPAs) have to be formally approved by the regulator before they are signed? Which parts of the value chain does price regulation, or economic regulation, extend to? | The regulator’s role in setting / approving the commercial terms and market arrangements through which electricity is bought and sold will generally depend on the amount of competition in the market, which itself will be a function of market design. In a highly competitive market, less regulation will be required as competition itself should result in companies seeking to maximise cost savings. Conversely, regulated market arrangements are required where a single party has a monopoly (for example the owners of network infrastructure). The regulator should be able to provide an overview of which parts of the value chain are subject to economic regulation, and how this regulation is implemented. Sometimes the regulator might define standardised agreements that either have to be used, or are optional, with the aim to try to standardise the commercial terms used in the market. Speaking to a range of sector stakeholders will help to highlight any specific concerns about economic regulation of the sector. | There may be benefits to developing and publishing standardised key commercial agreements for use in the sector to improve transparency, especially where a country is going through the early stages of introducing opportunities for private sector participation. The benefits might be reduced if the energy sector is more liberalised and different private sector market participants may be free to agree their own terms. If the regulator is seeking to standardise commercial terms in a particular part of the value chain (e.g. the PPAs used by independent generators), support could be provided in the preparation of standardised agreements to be used in the procurement of new energy infrastructure. If any specific issues are noted with respect to the economic regulation of the sector (for example, if tariffs are set at a level that undermines the financial viability of the utility), technical assistance could be provided to develop appropriate regulation, processes, or agreements to resolve these issues.
2.5. Role of regulation

## Slide 54: 2.5. Role of regulation (3 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What is the regulator’s role with respect to setting tariffs? |  | 
In which parts of the value chain does the regulator set and/or approve tariffs? Is this role focused on end-user retail tariffs, or does the regulator also approve wholesale pricing? Does the regulator only cover electricity, or does it also cover other energy sub-sectors such as natural gas or centralised heating? Does the regulator set or approve tariffs on a cost-reflective basis? Is the utility / are companies operating in the sector financially viable? How does this vary across different sub-sectors? Are tariffs updated regularly to reflect changes in the underlying utility cost base? Are decisions on tariff approvals subject to any political interference? | The extent to which the regulator sets and/or approved tariffs in the sector is again likely to be heavily dependent on the level of competition and the market design in place. For example, in a competitive tender for renewable power generation prices will be set through the tender, but for a monopoly distribution business, the regulator will be more heavily involved. Where tariffs are regulated, there should be a clearly defined tariff calculation methodology, that is available in the public domain, ideally on the regulator’s website. As well as the formula for determining tariffs, the frequency with which tariffs are updated (for example to reflect changes in the utility’s underlying cost base) should also be clearly defined and should be supportive of maintaining the financial viability of the sector. Tariff approvals, along with the rationale for any decisions, should also ideally be published. Discussions with a wide range of sector stakeholders should help to identify any concerns over tariff regulation, the implementation of this regulation, and the ability to set cost-reflective or financially sustainable tariffs. Speaking to lenders and financiers will also help to indicate the extent to which issues noted in tariff regulation, and the implementation of tariff regulation, undermine the bankability of projects in the energy sector. | Clarity on tariff regulation can be critical to investor confidence and therefore to encouraging private sector participation in the sector. If there is no clearly defined methodology or formula for regulated tariffs, support could be provided to develop these methodologies. It will be important to check that methodologies are consistent with any constraints imposed in the existing legislative framework for regulation in the sector. This might include consideration of whether cross-subsidies should exist between different categories of customer and/or different consumption bands. Ideally any new methodologies should be published and available to the general public. If tariffs are only updated intermittently and utilities have struggled to pass through changes in their cost base, clear processes for tariff reviews and updates could be defined, with a focus on the financial viability of companies and institutions operating in the sector. Clear guidance should be provided on the timetable according to which these reviews take place. Where tariffs are not cost reflective and political interference is a major obstacle to tariff reform, attempts could be made to influence the debate and make the case for a more financially sustainable energy sector. Support might be gained for more targeted support for example, through incentives and cross subsidies for new connections, off-grid solutions, and energy consumption for the poorest consumers. This could be a more efficient than a blanket subsidy that can be regressive and mostly benefits the well off.
2.5. Role of regulation

## Slide 55: 2.5. Role of regulation (4 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What is the regulator’s role with respect to setting the allowed revenues for owners of network infrastructure? |  | 
Is network infrastructure regulated as a monopoly? Is there a clearly defined methodology for determining the allowed revenues of owners of network infrastructure? Are network owners financial viable and do they have the financial resources available to properly maintain network infrastructure? Over what timescales are the allowed revenues of network companies fixed? Once allowed revenues are fixed, how does the regulator monitor the spend and financial performance of a network company? Does the regulation of network infrastructure vary across different sub-sectors; for example, electricity transmission and distribution, gas transmission and distribution, heat, etc? | Most network infrastructure is treated as a natural monopoly with the revenues that can be recovered by the utility being regulated. In some fragile states this might not be the case. For example, in states with very low electricity access there might be multiple private distributors with no tariff regulation. Ideally, a methodology for determining allowed revenues and for calculating the network component of retail electricity tariffs should be published. The regulator will also need to monitor the companies that it regulates, for example to check that the company does make the investments that were committed to as part of the tariff settlement. The regulator might also require reporting on outputs such as loss reduction, especially if regulatory incentives to perform are part of the tariff settlement. Separate regulation might be in place for decentralised solutions such as mini-grids, and there might be an exemption for very small mini-grids. There is a balance to be struck between the costs of complying with regulation for companies, and the need to regulate to ensure that electricity consumers get good value for money. Speaking with off-grid companies should identify any areas of regulation that might need to be revised to remove barriers to these solutions. Where the network infrastructure is owned by the incumbent utility, but there is a desire to introduce competition elsewhere in the value chain e.g. in power generation, it will be important to ensure that regulations allow for third party access to the network, and to ensure that system operation does not unduly favour incumbents. | If the country is a fragile or post-conflict state there may be multiple private distributors using market power to extract high rents from consumers. In this case support could be provided to design an appropriate tariff regulation methodology to protect consumers and to build the required regulatory capacity to implement the regulation. If there is no specific regulation in place for mini-grids and the existing regulation results in barriers for investment in mini-grids, support could be provided to make the necessary regulatory amendments to remove these barriers. Often under-recovery of tariffs results in network companies not being properly funded, and this can ultimately result in poor reliability and quality of supply. If the methodology for regulating network company revenues is not well defined, or if network operators are not financially viable, support could be provided to develop formalised methodologies for calculating allowed revenues and tariffs. This would also consider the mechanisms for e.g. clawbacks on revenue if the network company fails to make expected investments. Provide support in developing monitoring protocols and templates so that the regulator is able to monitor the spend of network companies and the outputs achieved. Outputs are particularly important if incentives are defined with reference to outputs such as loss reduction. If stakeholder engagement highlights other issues with network regulation (for example, third parties having difficulties in securing access to the network), support could focus on any regulatory amendments required to address these issues.
2.5. Role of regulation

## Slide 56: 2.5. Role of regulation (5 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Does the regulator have a role in monitoring the implementation of other policies, for example monitoring sector performance against emissions reduction policy? |  | 
Has the regulator been assigned any other roles to assist in, or to monitor, the implementation of government policy? | The legislation in place to cover the energy sector may define a role for the regulator. For example, the regulator might need to introduce new regulations to advance the governments energy access policy objectives, or it might accredit renewable power generation for feed-in tariffs, for example. Speaking to a wide range of stakeholders across the sector should help to identify whether there are any obvious gaps in the regulator’s roles. | Where it is identified that there are additional roles that the regulator should be picking up, support could be provided to build capacity within the regulator so that it can implement new roles, and to define any new processes and governance that is required for these roles to be implemented effectively.
2.5. Role of regulation

## Slide 57: 2.6. Regulatory incentives to perform and innovate (1 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Which parts of the energy sector are a monopoly? |  | 
Are there any easily measurable outputs that could be used to define regulatory incentives? | If a given energy sub-sector is still controlled by a single incumbent vertically integrate utility it is likely that it retains a monopoly position. Even where competition has been introduced to some parts of the value chain (e.g. with IPPs in the electricity sub-sector and/or, less frequently, supply) network infrastructure is still likely to be owned by a monopoly. | Where monopolies do exist, revenues will largely be calculated as a regulated return on the investment made in the network (i.e. the inputs). Support could be provided to identify opportunities for some components of revenue to be tied to regulatory output measures. If well designed this can help regulation to better target overall cost-effectiveness, rather than cost-efficiency only.
Is existing sector regulation based entirely on inputs (i.e. costs incurred) or are there incentives for performance against pre-agreed output measures? |  | 
Are network companies set output targets (e.g. for loss reduction) as part of their regulatory settlement? Does the amount of revenue that they are able to recover vary according to how successful they are in meeting these targets? Have performance based contracts being used as a way of incentivising service providers to design solutions to achieve performance improvements? Have any other forms of private sector participation, such as a concession, been used in the energy sector? If so, has a component of the revenues earned been dependent on meeting certain output targets? For example, distribution concessions frequently calculate revenues based on target loss reductions during the first few years, exposing the concessionaire to any variance in performance. | The regulator will set any output-based incentives, so will be the main source of information in this area. Ideally information on the methodologies used for setting allowed revenue, including any incentives, should be published on the regulator’s website. Conversations with regulated utilities, as well as any contracted service providers or concessionaires, should also provide information on whether any output-based incentives are in place. | Output based incentives, or incentivising the private sector through using output measures (e.g. through a performance based contract), can be an effective way of driving performance improvements. If performance based incentives could be a useful way to drive specific improvements (e.g. loss reductions), advice could be provided on the structure of these incentives and any regulatory of commercial arrangements that would need to be put in place. Note that there are trade-offs in designing incentive structures. Incentives can be used to drive performance improvement, but an increase in revenue uncertainty can result in a higher cost of capital, or reduced private sector interest in the sector. If performance measures are used to drive improvement from a new private sector service provider or a new owner or concessionaire, this guidance should be considered alongside the guidance provided on procurement.
2.6. Regulatory incentives

## Slide 58: 2.6. Regulatory incentives to perform and innovate (2 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Have any regulatory incentive-based models been considered for off-grid technologies? |  | 
Have any regulated business models been considered to accelerate the deployment of mini-grids or stand-alone systems? If so have incentives on relevant output measures (e.g. number of new connections, accuracy of demand forecast etc.) been implemented or considered? | The regulator would likely set the terms of any output-based incentives, so would be the best starting point for information on the regulatory settlements in place for any off-grid concessions, or other similar business models. Speaking to the off-grid companies themselves could also help with evaluating whether these business models have been, or could be, successful in helping to meet the government’s energy access policy objectives. | Most activity relating to mini-grids and stand-alone systems has been private sector led. However, if there is more public sector involvement in future (e.g. through the provision of incentives or cross subsidies), regulatory incentives might be used to ensure that the government maximises value-for-money. The track record of concessions for deployment of off-grid technologies has been mixed to date, but output-based incentives might be one way in which they can be improved. Such an approach might also be an option for the delivery of energy access solutions to hard-to-reach communities. Assistance could be provided to design and implement the regulatory and commercial arrangements for a regulated off-grid concession or equivalent.
2.6. Regulatory incentives

## Slide 59: 2.7. Planning and forecasting (1 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is energy sector planning joined up with policy-making? |  | 
Is the role of each institution in energy sector planning clearly defined? Are government energy policy objectives (e.g. energy access, emissions reductions, energy efficiency, development plans) taken into account in energy sector planning? Does energy planning consider a range of scenarios with differing levels of policy success (e.g. to understand how system plans might evolve if some targets are not achieved or if government changes policy)? Does planning seek to evaluate the least cost means by which key policy objectives can be achieved? | Which organisations are responsible for preparing energy sector plans will vary from country to country. For electricity, planning is sometimes performed by the utility (or the system operator if the sector is unbundled); sometimes the government ministry responsible for the energy sector might drive the process. Ideally any recent masterplans might be publicly available, but will often need to be requested. Planning documents should also clearly state the basis of their preparation and any key methodologies and assumptions used. Note that in a fully liberalised market, with a liquid wholesale market, there may be less need for a single, centralised plan. | If system planning has effectively been outsourced to international engineering consultancies, technical support can be provided to help improve in-country system planning capabilities, increasing the chances that planning is joined up and updated frequently. Support could be provided to the relevant institutions to implement improved processes and methodologies to ensure planning is consistent with policy objectives and seeks to achieve these objectives at least cost. Such support should also ensure that the role of each institution is clearly defined such that planning is joined up and that the same role is not performed multiple times. Support could help to facilitate dialogue between the various stakeholders who should be engaged in system planning (including policy-makers) to ensure that system planning is joined up, rather than being a purely academic, technical exercise.
Where appropriate is there coordination in planning between different energy vectors? |  | 
Is there a single energy sector plan that covers all energy vectors, not just electricity? Are interactions between different energy vectors properly considered in sector plans? For example, in the electricity sector are assumptions on new heat pump and electricity vehicle loads consistent with the planning decisions made in other sectors? Where there are centralised heating systems, in particular in urban areas, are plans prepared and published for these networks? | Engagement with the entities responsible for energy planning should help with understanding the processes used in planning and whether these properly consider the interactions between different energy sub-sectors. The operators of any centralised heat networks should be able to indicate the extent to which their planning is joined up with planning in the electricity sector for example. | If a review of planning processes highlights areas where planning is not coordinated across the different energy sub-sectors, technical assistance could be provided to advise on process improvements to improve coordination.
2.7. Planning and forecasting

## Slide 60: 2.7. Planning and forecasting (2 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Where applicable, does the country have a plan for meeting energy access goals, which includes both centralised and distributed energy access solutions? |  | 
Does the country have an overall plan for meeting its electricity access objectives, identifying the on-grid and off-grid solutions that should be deployed to extend access to communities that are currently without electricity? Has a geospatial optimisation been carried out to identify the least-cost energy access solution for each location without electricity access? Is such an energy access plan consistent with on-grid electricity planning, with both being updated continuously/frequently? Does the country have a plan for meeting its energy access objectives relating to heating and cooking? | Electricity access or geospatial plans may be prepared by either the organisation in charge of overall electricity sector planning, or perhaps a Rural Electrification Agency (REA). Meeting with all of the relevant agencies together might help to identify any inconsistencies in planning. If a SE4All Action Agenda has been prepared this might present details on how energy access plans interact with on-grid electricity planning. Such documents might also provide details of planning exercises that cover energy access for heating and cooking. Donors working on energy access programmes are likely to be aware of any geospatial planning exercises that have been completed or are underway. For example, the World Bank has recently been funding such exercises across a number of countries. | Progress on energy access can often be impeded by the lack of an up-to-date, or internally consistent, plan for how energy access objectives are to be achieved. Where such a plan does not yet exist, technical assistance can be provided either to prepare an energy access plan, or preferably to build in-country capacity to prepare and continuously maintain an energy access plan. Responsibility for preparation and maintenance of the plan will need to be assigned. Transparency of energy access plans (e.g. publishing an up-to-date plan) can be very important for companies providing off-grid solutions, especially mini-grids. This is because the arrival of the the main grid can be one of the key risks for such companies, especially if regulation does not provide any protection against such an occurrence.
Is there a single plan for each energy sub-sector that is regularly updated? |  | 
Is there a single electricity sector plan (covering both power generation and network infrastructure) and a single plan for other sub-sectors such as heat, or have different plans been prepared by different agencies with little or no coordination between them? Is the plan seen as a central document that is used as the basis for procurement of new power generation capacity, or does it have little impact on what is actually procured and contracted? How frequently is the plan updated? Is it kept up-to-date, or is the plan simply a snapshot at a point in time, updated every (e.g.) 5-10 years? | In many countries, even where a good sector plan has been prepared, the processes in place to maintain and update this plan using a least-cost approach are poor. Speaking with the teams that own energy sector plans might help with understanding the processes in place (if any) to keep planning up-to-date. Speaking with other energy sector stakeholders, such as companies developing new infrastructure such as IPPs, might help to understand how credible the electricity sector plan is, and whether it is adhered to in the procurement of new projects. | Training and capacity building to improve the quality of planning processes could help if plans are not maintained and updated regularly. The emphasis here is on national ownership of the plan, and on processes to maintain the plan on an ongoing basis. Where technology trends and the costs of new technologies are evolving rapidly, and where the development of large infrastructure often takes time, it is important that the plans are dynamic and can change with time to consider new technology and policies. These changes need to consider both the supply side (e.g. changes in renewable power generation) and the demand side (e.g. new load types such as electric vehicles).
2.7. Planning and forecasting

## Slide 61: 2.7. Planning and forecasting (3 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are the assumptions underpinning energy sector planning realistic, especially on the demand-side? |  | 
Do sector plans assume realistic demand growth? Is the sector plan based on realistic assumptions about the availability of resources (for example, domestic fossil fuel resources)? Do key industry stakeholders, in particular in the private sector, consider the sector plan to be credible? Where there are uncertainties are these considered through modelling a range of scenarios? Is such scenario modelling used to consider the risk of stranded assets? | Understand how key assumptions for the plan are set and what methodologies are used. These may be explained in the document containing the plan, but discussions with stakeholders involved in preparing the plan may be aware of political considerations that have had an impact. For example, an assumption of a steady increase in energy consumption, without taking into consideration the increasing efficiency of new devices and technology, or an increase in demand-side participation, might be questioned. Experts familiar with the country’s energy sector may have a view on how credible the assumptions used are. Speaking with energy sector stakeholders will also help with gauging whether the plan is credible or not. Other donors engaged with the sector may have a view on the credibility of the plan. Whether the sector plan is important in donors’ planning may indicate how credible they believe the plan to be. | A credible and realistic plan can be important to investor confidence. If existing assumptions are unrealistic, or internally inconsistent, training and capacity building for the teams responsible for preparing and maintaining the energy sector plan could help to improve the methodologies used to prepare key assumptions and to ensure that these assumptions are credible. Support could be provided to institutions involved in planning to help them develop a range of scenarios for use in planning. Considering a number of scenarios can help to identify risk to future system operation, the risk of assets being stranded, and least regret investment options. Where assumption inputs to planning tools are not frequently updated, technical assistance could help to develop processes for the owners of sector plans to continuously improve the plan, treating it as a living document. Real outturn data should be compared against what was forecast, so that projections can be updated and forecasting methodologies improved so that they are more reliable in future. Without processes to continuously improve the plan, the sector could be stuck for many years with a plan that lacks credibility.
2.7. Planning and forecasting

## Slide 62: 2.7. Planning and forecasting (4 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Does system planning for electricity consider the implications of renewable energy? |  | 
Traditionally, many simple sector plans have been focused how the proposed power generation stack meets peak demand. This approach is insufficient as non-dispatchable renewable energy becomes more prevalent. Does the electricity sector plan properly consider the non-dispatchable characteristics of renewables? Does electricity sector planning consider the need for system flexibility to accommodate renewable energy? This might be provided through flexible generators, improved network infrastructure and interconnection, and/or the procurement of ancillary services for system operation. | Understanding whether the existing electricity sector plan is fit-for-purpose might require a more technical interrogation of the methodology used in preparing the plan. Sometimes sufficient detail on the methodology used might be included in the plan itself, but in other cases further discussions might be required with the owners of the plan, or maybe with advisers who were used in preparing the plan. | Inadequate consideration of renewables integration in system planning could undermine security of supply or adversely affect system operations. Where the challenges of integrating renewable energy have not yet been fully considered, technical support might be required to evaluate whether the existing planning processes are suitable. Recommendations could be made on how planning processes and methodologies can be improved going forward. Training and capacity building could be provided to the teams responsible for maintaining the sector plan so that they are familiar with the changes required in their approach to planning to accommodate non-dispatchable / intermittent renewable energy. Where this is not yet understood by the system operator, analysis could also be performed to understand what the binding constraints are likely to be when integrating renewable energy. These may vary by country depending on its specific circumstances. For example in one country the lack of system flexibility may be a binding constraint, whereas in another country stability of the electricity network infrastructure may be the most important constraint. It will be important for these constraints and the trade-offs between them to be captured in sector planning exercises.
2.7. Planning and forecasting

## Slide 63: 2.7. Planning and forecasting (5 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is energy sector planning used to inform the procurement of infrastructure and the commercial terms agreed private sector projects? |  | 
Does electricity system planning properly consider the requirements for reliable system operation? For example, if it is necessary to keep a certain generator running to maintain grid stability, is this constraint accounted for in system plan? Is energy sector planning used to inform requirement for the procurement of new energy sector infrastructure? For example, if the plan shows the need for a gas-fired power plant that is likely to be required to operate flexibly, do the eligibility criteria in the procurement documents reflect the need to accommodate this operating regime? Are these same operating requirements then also carried through into the commercial arrangements signed for new infrastructure, for example through PPAs for new power generators? | To the extent the system planning and procurement are run by different organisations (or different departments), speak with the teams owning these tasks to understand the interface between these two areas. Understand whether system planning provides any specification of the power generation capacity required. If available, previous RFPs or other equivalent procurement documents might provide an indication on the extent to which system planning is carried through into the specification of what is being procured. | If procurement documents for energy sector infrastructure do not reflect the characteristics assumed during system planning there is an increased risk of stranded investments that are not properly utilised. This is an area that is likely to become more relevant as more system flexibility is required to accommodate increasing volumes of renewable power generation. Training and capacity building can be used to highlight the importance of the interface between system planning and procurement. This is important to ensure, for example, that a country does not procure too much baseload power generation, but remains unable to meet peak demand. The importance of this interface highlights again the need for a credible and up-to-date system plan.
2.7. Planning and forecasting

## Slide 64: 2.8. Market design (1 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are parts of the energy sector vertically integrated, or has some unbundling taken place? |  | 
In the electricity sub-sector, does the incumbent utility still control generation, transmissions, and distribution of electricity? Are other sub-sectors (e.g. natural gas, heat) vertically integrated? Has private sector participation been introduced to any parts of the value chain? | The regulator or ministry responsible for energy is most likely to have summary information on the current market design, for example in an annual report. The incumbent utility’s annual report will also likely give an overview of its own activities and its position / role in the market. | Introducing competition to the sector can be used to drive performance improvements, if the market is designed well. If the sector is still entirely vertically integrated, but the incumbent utility is performing poorly, analysis could be performed to evaluate why this is. It is likely that this is a combination of issues with regulation (e.g. a lack of cost reflective tariffs meaning that the utility is short of cash to invest) and a lack of incentives to improve performance. If there is a desire to introduce competition in the sector, support could be provided in making the required changes to any legislation and / or regulation.
Is there private sector participation in the energy sector? |  | 
Is the energy sector entirely dominated by the public sector / state owned enterprises, or is there private sector participation in one or more parts of the sector; for example, are there IPP projects? What parts of the value chain include a role for the private sector and is this restricted to the use of certain technologies (for example in the case of power generation technologies)? Is existing regulation supportive of private sector projects? | The ministry responsible for energy and/or the regulator is likely to be best placed to provide an overview of any private sector participation in the sector. The regulator may also have a role in licencing all new participants in the sector. In the electricity sub-sector, if there is a single buyer of wholesale power, they are likely to be best placed to provide an overview of the generation fleet, and the ownership of those generators. Speaking to the owners and operators of any private sector installations in the country is likely to help with identifying any specific issues with policy or regulation that should be addressed to improve competition in the sector. | If there is no private sector involvement in the sector, but a desire to introduce private sector participation (e.g. if the incumbent utility does not currently have the resources to invest), support could be provided in identifying any changes that need to be made to policy and regulation to facilitate private sector participation, for example through an IPP programme. This might have several benefits: for example reducing the finance that government needs to raise directly, and the improved incentive to perform well that results from the ability to earn a financial return. Transaction advisory support could also be provided in designing and implementing the procurement of new energy sector infrastructure.
2.8. Market design

## Slide 65: 2.8. Market design (2 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there any competition in the supply of energy services to end-users? |  | 
Is there only a single monopoly electricity supplier? Are other energy sub-sectors (distribution of gas, or hot water from centralised heating systems) operated by monopoly suppliers? Where competition is allowed in theory, are there any additional suppliers in the market with significant market share in practice? Are existing market arrangements supportive of alternative suppliers having access to purchase wholesale energy? | In markets where the sector is not fully integrated, it is still likely that distribution and supply/retail of energy is integrated, even if distribution/supply monopolies are set up by region rather than across the whole country. If the law allows for supply competition, it will also be necessary for market arrangements to be supportive of competition. Competing suppliers will need to have reliable access to a liquid wholesale market to know that they will be able to buy the power that they need to sell to their customers. | Supply competition can have benefits; for example, depending on the market arrangements in place it could be used to incentivise the reduction of non-technical losses. Support could be provided on the changes required in policy and regulation to introduce competition. Access to wholesale energy markets is likely to be a major barrier to entry for new suppliers if competition is introduced. Technical assistance could identify the changes that need to be made to market arrangements to ensure that new suppliers are able to acquire the wholesale energy that they need to serve their customers.
Is there any private sector participation in the ownership or operations of network infrastructure? |  | 
Has all or part of the transmission or distribution infrastructure (covering electricity, gas, or heat) been sold or included in a concession arrangement? | Network infrastructure is likely to be treated as a natural monopoly, but could still be privatised. The regulator should be able to provide details an the regulation used to govern any privatised network companies or any concessions. | If network infrastructure is still owned by the incumbent utility, but it is considered that private sector participation might help to catalyse performance improvements, transaction advisory support could be provided to design and run such a procurement. Again, the potential benefits of private sector participation (if the transaction is well designed) are access to capital and improved performance. Support would also be required to identify any policy and regulation changes required to be able to proceed with such a transaction.
2.8. Market design

## Slide 66: 2.9. Incentives, subsidies, and cross subsidies (1 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there fossil fuel subsidies in place? |  | 
Are subsidies applied at any point in the value chain for fossil fuels? This could include subsidies for extraction of fossil fuels, imports, purchase of fuels for non-renewable power generation or for centralised heating systems, or retail purchase of fossil fuels such as kerosene for heating and cooking. Do subsidies have an impact on the use of diesel generators for self-generation of electricity? How are these subsidies funded and what is the total cost? How much does this cost vary, for example if oil prices increase? How high is political resistance to reducing fossil fuel subsidies? What is the impact of the subsidies? How distortive are the subsidies in dulling the incentives to invest in alternative technologies? | There are a number of high-level analyses of fossil fuel subsidies available, including the IEA’s fossil fuel subsidy database (https://www.iea.org/statistics/resources/energysubsidies/) and analysis performed by the IMF (https://www.imf.org/en/News/Articles/2015/09/28/04/53/sonew070215a). The Ministry of Finance should also be able to provide more up-to-date analysis of the resources spent on fossil fuel subsidies and tax exemptions. These figures may need to be challenged and sense-checked: while explicit subsidies may be relatively straight forward to measure, the impact of tax exemptions might sometimes be omitted from government analysis. Speaking to a wide range of stakeholders across the fossil fuel value chains should also help to validate the subsidies and exemptions that they benefit from. If pricing in the fossil fuel value chains is transparent, prices could be compared against international benchmark pricing for fossil fuels. Note that there might be legitimate reasons for differences in pricing (e.g. transport costs, or differences in fuel quality). Speaking to companies in alternative fuel value chains (e.g. for renewables) should help to identify which subsidies are most distortive and result in a disincentive to the development of clean energy projects. | It is likely that the information available on the cost of fossil fuel subsidies in the country is incomplete. If fossil fuel subsidies could be a useful source of revenue for other energy sector measures, analysis could be performed to better evaluate the cost of existing subsidies. If fossil fuel subsidies are high and are distorting investment decisions in the sector, subsidies should ideally be phased out over time. The removal of distortions should lead to more efficient planning and investment decisions, which over time should result in an energy sector that delivers better value for money. Technical assistance could be provide to evaluate the business case for the Ministry of Finance to remove subsidies, and to help design and implement changes to subsidies to reduce their cost and the market distortions that result. If it is politically unacceptable for subsidies to be removed in the near-term, advice could be provided on how subsidies could be better targeted to those who really need them, and to swap fossil fuel subsidies with support for other (more sustainable) technologies where possible. Without better targeting (e.g. through direct cash transfer or voucher programmes) fossil fuel subsidies can end up benefiting high energy consumers, who are generally better off, most.
2.9. Incentives and subsidies

## Slide 67: 2.9. Incentives, subsidies, and cross subsidies (2 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are end-user energy tariffs cost reflective? |  | 
Are utility companies financially viable? Do they have the funds required to maintain infrastructure properly and to invest in new infrastructure? Are suppliers of energy to end consumers able to recover all of their costs through tariffs? Do tariffs vary regularly to reflect the changing cost base in the sector over time? Do tariffs vary at all by location to reflect locational variation in the cost of delivering energy? How are tariffs structured? What cross-subsidies exist between different types of consumer and/or different consumption bands (i.e. large consumers vs. small consumers)? Are cost-reflectivity principles maintained through the value chain? For example, is the calculation of any wholesale tariff also cost reflective, are network losses taken into account in evaluating tariffs? | Speaking to stakeholders across the value chain and gathering as much information as possible about the regulation and the commercial agreements in place between each party. Speaking to the electricity utility or any additional IPPs (especially for non-renewable power generation) in the market should highlight any cases where fuel supply, for example, is not on a cost-reflective basis. IPP owners will also be well placed to indicate whether the utility / offtaker is creditworthy and whether the sector as a whole is financially viable over the long term. The presence of any wholesale market arrangements and the design of those arrangements could also help with this analysis. Transparency on wholesale market pricing could help to identify where any subsidies are targeted (i.e. upstream or downstream of that wholesale market). The owners of network infrastructure and any tariff submissions that they have made to the regulator should provide information on the cost base of the companies owning and operating network infrastructure. Energy suppliers (if separate from the distribution utility) will also have their own costs to cover, often referred to as ‘cost to serve’. Information on suppliers’ operating costs should be available from their financial statements where these are in the public domain. | If areas are identified where the commercial arrangements in place are not cost reflective, support could be provided in identifying and advising on the changes that might need to be made to regulation and/or market arrangements to remove any distortions. Well-designed subsidies or cross-subsidies can be appropriate to meet specific policy objectives, but as a general rule cost-reflectivity is important to maintain the overall financial viability of the sector. This, in turn, is an important factor when trying to attract private sector capital to invest in the sector. Further, if the sector is being unbundled, and/or private sector participation is being introduced to parts of the energy value chain, this will generally require transparency over pricing as well as cost-reflectivity. However, there can be trade-offs between this principle and achieving energy access policy objectives: for example in the electricity sub-sector targeted cross subsidies that reduce the cost of on-grid or off-grid connections might increase access to electricity even where they deviate from cost-reflectivity.
2.9. Incentives and subsidies

## Slide 68: 2.9. Incentives, subsidies, and cross subsidies (3 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any incentives or subsidies for new grid connections? |  | 
Are subsidies or results based finance used to reduce the up-front cost of a new grid-based connection? Do end-consumers have to pay for a new grid connection through a single up-front charge, or can they pay in instalments over a longer period of time? | Information on subsidies for new connections should be available from the utility or, if separate, the supplier that end consumers buy their energy from. Speaking to the owner(s) of distribution network infrastructure, again if separate, could also be useful to understand how the costs that they incur in providing new connections are recovered. Donors with programmes in the sector might also have funded result based schemes to help increase connections, so donors may be able to provide further insight on any subsidies in place. | If there is no financial support in place for new connections and the country is not on track to meet its energy access policy objectives, support could be provided to design a scheme that subsidises new connections, e.g. through a small surcharge on energy bills, or using general tax revenues. Ideally any subsidy for new connections should be considered alongside support for new off-grid connections using mini-grids or stand-alone systems, to encourage a level playing field between these different solutions. Even without any subsidy in place, support could be provided to help with designing and implementing a finance solution whereby end consumers are able to spread the cost of a new connection over some period of time. This could help to remove barriers to accessing electricity where end-consumers do not have the savings to be able to afford a single up-front payment.
2.9. Incentives and subsidies

## Slide 69: 2.9. Incentives, subsidies, and cross subsidies (4 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is the same tariff charged to each type of customer, or are there cross-subsidies between different customer categories? |  | 
In the electricity sector especially, is there a lifeline tariff for domestic consumers that only use a small quantity of power? Are the same tariffs charged for domestic, commercial, and industrial energy consumers? How are costs allocated between fixed (e.g. maximum demand or capacity) charges and variable charges and does this vary by customer type? | Utility websites will often include details on the latest tariffs charged. The regulator will often be involved in either setting or approving tariffs, and tariff submissions and decisions may be on the regulator’s website. | If energy access rates in the country are low, there may be a case for a lifeline tariff if this policy is affordable. However, as a general rule this should only be seen as a temporary measure and should be designed carefully. For example, in Tanzania if household demand increases above the threshold for the lifeline tariff, then all demand is then charged at the higher tariff, creating a significant distortion and disincentivising demand growth above this level. Support could be provide to ensure that where lifeline tariffs are put in place, they minimise distortion of the market. If a lifeline tariff is in place, ideally this should cover all energy access solutions, including off-grid. Support could be provided to design a cross-subsidy that creates a level playing field for all technologies. Across all parts of the energy sector, where possible, cross-subsidies should be minimised between types of customer. Cross-subsidies that do exist should ideally be supported by a robust cost-benefit analysis. Support could be provided to analyse the cost of existing cross subsidies and to recommend measures to reduce them. However, these can be politically difficult: often in African countries domestic and large industrial customers pay less than medium-sized commercial customers. Even in Germany, there is a huge cross-subsidy from domestic consumers to industry.
2.9. Incentives and subsidies

## Slide 70: 2.9. Incentives, subsidies, and cross subsidies (5 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are any subsidies in place to support the deployment of off-grid technologies? |  | 
Where subsidies are available for grid-based power, are the same or equivalent subsidies available for off-grid connections? If there is a political desire to charge all end consumers the same universal tariff, have cross-subsidy mechanisms been considered as a way of delivering on this policy objective while allowing off-grid companies to recover their costs? | The regulator and/or ministry responsible for energy should have a good overall view of any subsidies available for off-grid energy access solutions. If there is a Rural Electrification Agency they might also be able to provide this information. Any donors with programmes or activities focused on energy access are also likely to be aware of any subsidies available. Speaking to companies deploying mini-grids or stand-alone solar systems should also help to highlight any support that is available, as well as what types of support might be helpful in trying to scale up the deployment of these solutions. | If subsidies are in place to help with extending access to grid-based electricity, support could be provided to help with designing an equivalent mechanism that extends to all means of delivering energy access, including off-grid solutions. This would help to remove distortions in the choice between grid extensions and off-grid systems. One way in which all forms of energy access might be supported is through establishing a single procurement counterparty (or single buyer) for on-grid and off-grid energy providers, so that this vehicle could – if desired – be used to cross subsidise and equalise the tariffs.
Are there any incentives or subsidies in place to help achieve other policy goals, for example relating to emissions reduction policy or energy efficiency policy? |  | 
Are there any explicit subsidies available for renewable energy or is value reallocated through favourable regulation such as net metering? Are there any programmes to incentivise uptake of energy efficiency measures? Are there any subsidies in place to support the adoption of more sustainable fuels and/or stoves for decentralised heating and cooking solutions? | The ministry responsible for energy and/or the regulator should be able to provide details on any other subsidies or cross subsidies that exist to meet other policy goals. Speaking to a range of market participants across the sector should help to identify whether there are any other redistributions of resources through subsidies and cross-subsidies. They may also highlight any distortions of energy market signals that result from these subsidies. | If any further subsidies or cross-subsidies are identified that result in a major distortion of market signals, analysis could be performed to evaluate the business case for maintaining, removing, or amending these subsidies, and recommendations could be made on any changes required.
2.9. Incentives and subsidies

## Slide 71: 3.1. Procurement (1 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How widespread is private sector involvement across the energy sector? |  | 
Is the sector dominated by a single incumbent vertically-integrated utility? Are there private sector generators? Do private sector market participants operate, or even own, any of the electricity network infrastructure? How many private sector companies are active in providing off-grid stand-alone systems or mini-grids? How many private sector companies are active in selling improved / clean stoves and fuels for decentralised heating and cooking? Are private sector companies involved in other parts of the energy sector, for example in the distribution of liquid and solid fuels or investing in centralised heating and cooling infrastructure? | If there are any regular (e.g. annual) reports prepared on the state of the energy sector (e.g. by the regulator or the incumbent utility) these are likely to include an overview of where there are private sector companies engaged in the sector, especially any IPPs. The regulator is likely to be a good source of information on this if information is not readily available. Regulation is likely to require private sector companies to hold licences, for example, especially for on-grid electricity. If a regulator has not yet been established it is unlikely that there is major private sector participation in the sector. Any investments in off-grid electricity access are likely to be led by the private sector in most cases. Companies operating in this part of the sector will be able to highlight any barriers to them expanding their activity. | If the absence of an independent regulator, or limited capacity in the regulator, is a barrier to private sector participation in the sector, support could be provided through capacity building and training to build up the required capabilities in regulation. Private sector participation can be beneficial if the government’s ability to raise funds is a constraint to procuring more infrastructure, or if the performance of public sector institutions in the sector is poor. If a regulator is in place, but private sector participation to date has been limited, support could be provided to the regulator in developing the regulation, procurement processes, contracts, and market arrangements to support increased involvement from the private sector. If specific barriers to companies investing in mini-grids or stand-alone systems are identified, support could be provided to help address these barriers.
3.1. Procurement

## Slide 72: 3.1. Procurement (2 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any specific supply-chain barriers to private sector involvement in the energy sector? |  | 
Are private sector companies able to establish and/or access a reliable and cost-effective supply chain? Are there any barriers that make it logistically difficult or expensive to import energy equipment into the country? Are energy companies able to raise and access the finance that they need to scale their business? | Energy sector companies and any trade organisations are likely to be best placed to give an overview of any challenges faced by the sector. Developers of large energy infrastructure projects will be able to indicate whether there are supply chain barriers, for example with importing large scale power generation or other energy sector equipment. Off-grid energy companies and cookstove companies will be able to indicate whether they face barriers, for example with high import duties, or a lack of local currency finance. | If changes need to be made to policy or regulation to address concerns raised by companies, support could be provided to the relevant government institutions to remove policy-related bottlenecks. Any advice given should properly consider relevant trade-offs: for example duty exemptions may benefit off-grid companies but result in a loss of tax revenue. Support could be provided to build capacity in growing energy sector enterprises so that they are better equipped to grow their business. Support could focus on increasing the availability of local currency finance, for example through supporting the deployment of pension fund capital into local SMEs (with appropriate risk management). Commercial advisory support could be provided to help businesses attract new investment so that they are better able to scale their activities.
Does the public sector utility procure capital equipment and services through competitive and transparent mechanisms? |  | 
Are public tenders held for large capital purchases, such as for new power generation equipment or O&M contracts? Are public tenders held where activities are outsourced, or services are procured? Has energy sector infrastructure procurement been restricted to specific countries, for example as part of a broader economy-wide package of interventions (e.g. Belt and Road Initiative). | The incumbent utility should be able to provide an overview of how they procure significant capital and service-based contracts. Ideally any major procurements should also be advertised somewhere clearly in the public domain; for example, on the utility’s website. The finance ministry or a PPP unit might also define procurement rules that the utility is required to follow. Speaking with major suppliers of plant and services to the utility may highlight any issues or unusual characteristics of the utility’s procurement. These discussions may also highlight other barriers to private sector participation; for example, if the utility and/or sector as a whole is not financially viable. | In most cases, well-designed competitive procurement processes should result in lower costs. If there are no standardised procurement processes, or if contracts have not been awarded in a transparent manner or according to best practice, support could be provided to develop and embed new procurement practices. In legislation, procurement laws could be considered – see next question. An understanding of the barriers to private sector participation might also highlight interventions that are required to improve regulation in the sector, or to remove or improve the design of subsidies and cross-subsidies to improve the financial viability of key counterparties in the sector.
3.1. Procurement

## Slide 73: 3.1. Procurement (3 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Does the country have general procurement laws in place that are supportive of private sector involvement in the economy? |  | 
Are there any obviously barriers to private sector investment or access to international capital markets; for example, capital controls or restrictions on currency convertibility? Is there any specific procurement or PPP legislation in place? If so are there any issues with this legislation? Is the role of each institution with respect to procuring energy infrastructure well defined? | The finance ministry or economy or business ministries (if separate) are likely to be ‘owner’ of any procurement laws. They are also likely to be best placed to provide an overview of what laws are in place. If the country has a dedicated PPP unit, they may be best placed to provide information on overarching laws and regulations relating to public procurement. Bidders and private sector companies operating in the sector are also likely to be familiar with the legislation in place, and specifically any barriers that have caused problems for them. | If there are no procurement laws in place and this has been identified as a barrier to increasing private sector participation, it might be appropriate to provide technical assistance to develop such legislation. Such legislation might still be appropriate in common law countries if there is a desire to embed procurement policies in legislation. If procurement processes do not incorporate characteristics that might be required to unlock certain types of funding, support could be provided to fill these gaps. For example, safeguarding policies might be required to be able to access DFI funding. Where it is not clear which institution is responsible for different parts of the procurement process, support might be provided to improve processes and to train individuals within key institutions so that roles and responsibilities are well understood.
3.1. Procurement

## Slide 74: 3.1. Procurement (4 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there an IPP framework in place? |  | 
Is there a standardised and bankable set of IPP project documents in place, including an acceptable PPA? Is there an established IPP programme in place? How many international investors have IPP investments in the country? Where IPPs are used, is procurement of IPPs competitive and are procurement decisions made according to open and transparent criteria? Is there clear signalling to the market as to when further IPPs are likely to be procured, and what technologies are likely to be procured? | If there are IPPs in the country, the organisation responsible for procuring them is likely to be the best source of information. This might be the utility, the ministry responsible for energy, or some other organisation set up specifically to manage this role. The regulator might also have an important role in overseeing the procurement of IPPs. Sometimes the regulator might publish key template contracts (such as PPAs) on their website. Conversations with companies that have contracted as an IPP or have bid for IPPs in the country may highlight any issues with the IPP framework. Any published system planning and forecasting documents should provide an indication of what generation capacity might be procured over the coming years. This clear signalling to the market should increase participation in tenders and thereby increase price competition. | Using the private sector in power generation can be beneficial if, for example, the public sector does not have the capital available to invest in new generation capacity, or if the public sector utility’s performance is poor. If there is not yet a clearly defined IPP framework in place, technical assistance could be provided to prepare key project agreements, such as PPAs, for an IPP programme. If an IPP framework is in place but has only previously been used to procure a limited set of technologies, support could be provided to adapt project agreements and selection criteria for new technologies, for example for renewable power generation. Similarly, support could be provided to define the procurement process and the selection criteria that would be used. If specific issues are highlighted by companies that have participated in IPP procurements in the past, support could be provided to address these issues. If planning and forecasting is not consistent with IPP procurement plans, support could be provided both to revise the sector plan and to ensure processes are in place to maintain consistency in future.
Has any legacy energy infrastructure been privatised? |  | 
Are there existing non-renewable power generators or other infrastructure such as district heating infrastructure that is in need of a significant overhaul? | The incumbent utility and/or regulator might be a source of information regarding the performance of existing generators. If any privatisation transactions have taken place, the new owners of the privatised infrastructure may also be able to provide input on what worked well and what worked less well for those transactions. | If there is infrastructure that is under-performing and in need of an overhaul, but where capital requirements are preventing that refurbishment from taking place, privatisation of that infrastructure might be an option. Transaction advisory support could be provided to help with structuring the deal to get best value for money for end consumers.
3.1. Procurement

## Slide 75: 3.1. Procurement (5 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Has any energy network infrastructure been subject to privatisation or a concession? |  | 
Have any network companies been fully privatised? This is mostly likely to be the case for electricity networks but could also apply to other network infrastructure, such as heat distribution networks. Is the network infrastructure performing well, or are there major performance issues that need to be tackled? Have individual network infrastructure projects been outsourced to the private sector (e.g. through Independent Transmission Projects, or ITPs)? Have concessions been used to privatise operations across all or part of the network infrastructure? Have performance contracts or other PPP instruments been used to increase private sector participation in the management of the network? Where private sector participation has been used have there been any major issues with these processes? | The activities of privately run network companies are likely to be subject to regulation, so the regulator is likely to be a good source of information on privately owned and/or operated network companies or projects. Concessions and privatised companies might be required to report key performance metrics (both technical and financial) to the regulatory on a regular basis. If these reports can be made available they could provide useful insight on the performance of the private sector’s involvement. Speaking to private sector owners and/or operators of network infrastructure, as well as companies that unsuccessfully bid for these roles, will also help to highlight any issues with the tender process or the key commercial agreements put in place as part of the privatisation. | Where there are performance issues with network infrastructure and the network remains within the scope of a state-owned utility, technical assistance could be provided to help evaluate and make recommendations on the potential for different private sector participation models if this could help to improve performance. Where a decision is made to use the private sector to own and/or operate network infrastructure, transaction advisory support could be provided to both define the commercial structure and key project agreements for the transaction, and to define the procurement process through which a private sector partner will be selected. If there have been issues with previous procurements (either performance issues, or issues with the transaction process), analysis could be performed to understand the root cause of these issues. Depending on the nature of the transaction and the issue, it might be possible for amend commercial terms (e.g. when a concession next comes up for renewal) or recommend alternative interventions to address the issue.
3.1. Procurement

## Slide 76: 3.1. Procurement (6 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Have any concessions or similar models been adopted for decentralised energy solutions, such as off-grid investments? |  | 
Have off-grid electricity access activities been entirely driven by the private sector, or have there been any public sector procurements for these services? Are private sector companies alone likely to deliver universal electricity access? Have any public sector interventions, for example concessions for mini-grids or for deployment of stand-alone systems to hard-to-reach areas, been a success? Has there been any organised or centralised procurement of other decentralised energy solutions, such as decentralised heating and cooking solutions? | If sector planning and forecasting does include a detailed plan for how energy access policy objectives are met, this should indicate whether deployment of off-grid solutions is to be entirely driven by the private sector or whether a more coordinated approach will be taken. If there is no plan for coordination, discussions with the owner of the plan could focus on whether the private sector is likely to deliver solutions to the hardest to reach areas. If concessions are in place, or are planned, regulations and/or commercial and market arrangements should be in place to govern how the business model will work. Conversations with companies that have been involved in any existing concessions might highlight what has and hasn’t worked. Companies in the off-grid sector may be able to offer views on how procurement interventions can be designed that achieve universal access without undermining any existing private sector activity. | If the private sector is unlikely to achieve universal access through the deployment of off-grid solutions by itself, one of the possible interventions might be through a concession to provide energy services (which could be regional, for example). Technical assistance and transaction advisory support could be provided to design a mechanism that helps to achieve energy access policy objectives, whilst minimising the adverse impact on any existing private sector activity. Innovative procurement models could be used to extend access to whichever energy vectors are lacking: electricity, heating, cooking, cooling. If there have been issues with previous or current interventions such as concessions, analysis could be performed to diagnose the cause of these issues so that recommendations can be made as to how issues can be avoided in the future.
Are there any upcoming major energy sector procurements? |  | 
What will be procured, or privatised? Has the procurement process been designed yet, and is it clear how a winning bidder will be selected? | The organisation responsible for energy system planning and forecasting should have visibility of upcoming procurements. These should ideally be flagged in the public domain. The regulator and/or the organisation(s) responsible for procurement of energy sector projects might also have information on the project pipeline. Private sector market participants and potential bidders may also have a view of what projects might be procured, and whether they see any emerging issues with those procurements. | If there are upcoming procurements that have not yet been finalised or fully designed, there might be technical assistance that can be provided to help prepare key commercial agreements and selection criteria for the procurement itself.
3.1. Procurement

## Slide 77: 3.2. Market arrangements and routes-to-market (1 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is wholesale energy traded, or is there a single monopoly vertically integrated utility? |  | 
This could apply to any energy sub-sector, but is most likely to apply to electricity or natural gas. Has there been any unbundling of the energy sector? Are there multiple market participants between which energy can be bought and sold? | This should be self-evident: if all energy is produced, distributed, and supplied by the same company there is unlikely to be any material within-country wholesale energy trading. The regulator or utility should be able to clarify if there is any uncertainty over this. | Unbundling of the energy sector, normally accompanied by private sector participation, can help to increase competition and improve value for money for end consumers. Potentially provide strategic direction on liberalisation of the sector if the incumbent utility is still vertically integrated and there are evident inefficiencies resulting from this integration.
What long-term commercial arrangements are in place between producers and distributors? |  | 
Are all production agreements and/or PPAs signed with a single buyer, or are there many potential offtakers? What is the process for securing a long-term offtaker? Are agreements only secured at the end of a tender process or can they be negotiated bilaterally with potential offtakers? How are price risks allocated within long-term offtake agreements? Do the contracts provide long-term security over the margin to be earned by a producer or generator? How are volume risks allocated within production agreements or PPAs? Do PPAs for non-renewable power generation include both availability and energy payments? Are there any tolling agreements with producers and generators, where the offtaker simple pays for access to a production facility or power generator? | In many markets offtake agreements will be signed between generators and a single buyer. This is likely to remain the case in some markets until (or if) retail competition is introduced. Producers and generators will be able to provide information on who their counterparty is. Producers and generators should also be able to highlight any challenging clauses in their contracts, or issues they had in agreeing/negotiating the contract. It might also be worth speaking to any developers who have tried to negotiate agreements but who have not been able to agree a contract. Producers and generators will also be best placed to provide information on the structure of their offtake contracts. In most cases PPAs for non-renewable power generation are likely to contain a capacity payment and an energy payment, whereas PPAs for non-dispatchable renewable power generation are likely to contain an energy payment only. Productions agreements for other energy commodities, including natural gas and heat, will also vary in their structure. | If any issues have been encountered in negotiating / preparing offtake agreements, consider providing technical assistance on the commercial structure of future contracts, balancing the needs of the utility to achieve good value for money for end consumers with the needs of project developers. If offtake agreements have previously all been negotiated bilaterally with different terms in each contract this is likely to increase transaction costs for both parties. Potential to provide support to the government to prepare a standardised suite of documents to reduce the scope for difficult negotiations in future. If offtake agreements might be struck with new technologies, for example renewable power generation technologies, in the near future, interventions could provide support to develop new standard contracts for these technologies.
3.2. Market arrangements

## Slide 78: 3.2. Market arrangements and routes-to-market (2 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What arrangements exist for the cross-border energy trading? |  | 
Are any agreements in place for import or export of bulk energy? This is most likely to apply for electricity, natural gas, and other bulk energy commodities. Are these contracts just between utilities in neighbouring countries, or are other counterparties involved? What is the structure of those contracts? For electricity, do they simply sell baseload, mid-merit, or peak ‘blocks’ of power, or is there flexibility in the volumes that can be traded? | Often cross-border trading in less liberalised markets will be limited to utility to utility, or system operator to system operator trading. The utility or system operator should be able to confirm. Speaking to the regulator might help to identify whether this is restricted in any way by regulation. The utility or system operator is likely to also be best placed to provide any information on the structure and flexibility of any agreements that are in place. | If the contract structures currently in place do not meet the commercial requirements of the system operator or utility, for example if the contracts do not provide system flexibility, assistance could be provided to propose and negotiate future contracts.
Are there any exchanges or wholesale markets where energy can be traded? |  | 
Is there a national power exchange or a regional power pool on which electricity can be traded? Are there national, local, or regional markets for any other energy commodity? Would there be benefits to energy trading, for example reducing the cost of energy to end-consumers? What products can be traded? Can forward contracts (physical) or futures (financial) be traded? Are any existing markets liquid, or are most volumes traded through long-term bilateral contracts? | If there is an exchange (e.g. www.iexindia.com) or power pool (e.g. www.sapp.co.zw), market information including prices and volumes traded is likely to be available on the platform’s website. Speaking to producers, generators and other market participants should provide information on their primary route-to-market, i.e. whether they primarily contract through long-term bilateral contracts or through the an exchange or equivalent. | Support could be provided in establishing a wholesale market and/or exchange. However, in most low income countries this may be premature, unlikely to yield significant benefits, and unnecessary unless there is a strong desire to introduce competition in energy retail / distribution. If operating in small markets that are struggling to absorb significant quantities of renewable power generation because of their size, a regional power pool with the ability to trade flexibly with neighbouring countries might help to increase the extent to which renewable power generation can be absorbed. Potentially provide support to build capacity in the power pools so that they can play an increasing role in regional power trading. However, it is noted that a successful intervention would likely require engagement across multiple countries at a regional level.
3.2. Market arrangements

## Slide 79: 3.2. Market arrangements and routes-to-market (3 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Do electricity markets provide the opportunity for flexible trading near real time? |  | 
Are there any liquid short-term markets that allow market participants to adjust their position near to delivery, for example if the output from renewable power generators is different from what was expected? | The system operator and owners of renewable power generators are likely to be best placed to indicate whether there is a lack of flexibility in existing trading arrangements and whether this is leading to consequences such as additional curtailment of renewables. The system operator should also be able to indicate whether it is the sole party involved in balancing the system in the final ~day prior to delivery, or whether other parties can play a role in balancing the system (i.e. through trading physical power). | If a lack of system flexibility is identified as a constraint on the system, analysis could be performed to understand the root cause of the problem. Trading arrangements should be considered alongside the physical system flexibility and tools available for system operation. If a liberalisation of trading arrangements would help to tackle the identified issues, support could be provided to design and implement markets for short-term trading.
3.2. Market arrangements

## Slide 80: 3.3. System operation (1 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Who is responsible for electricity system operations and market operations? |  | 
Are system operations managed by a vertically integrated utility or by a separate entity? If separate, is the system operator also the transmission owner and/or the single buyer or market operator, or is the system operator entirely independent of these functions (sometimes referred to as an Independent System Operator, or ISO). Are the system operator’s roles well defined and clearly delineated from other institutions in the power sector, such as the regulator? | The entity responsible for system operations will normally depend on the extent to which the electricity sector has been liberalised. Where no unbundling has taken place system operations will normally be within the remit of the vertically integrated utility. Where unbundling has taken place it will often be the owner of transmission network infrastructure that is responsible for system operations. Sometimes this entity will also act as a single buyer such that system operations and market operations are managed by the same entity. | Where responsibility for system operation is not well-defined, and especially where there is the potential for conflicts of interest to affect system operation, support could be provided to the regulator to define appropriate regulation to govern system operations. Support could also be provided to the relevant institutions to ensure that they have the right capabilities and supporting processes and procedures to fulfil the role assigned to them.
Outside of the electricity sub-sector, who is responsible for system operations in other sectors? |  | 
If there is a substantial natural gas network in the country who is responsible to gas system operations? Is the system operated by the same entity that owns the gas network infrastructure? Is there a separate system operations role for any centralised heating networks? | In most cases system operations for these energy vectors is likely to be bundled with ownership, often as part of a vertically-integrated utility. Where this is unclear, the asset owner and / or the energy regulator should be able to clarify the role of each party engaged in the sub-sector. | As above, where roles are not well defined, support could be provided to the regulator and/or to the institution(s) involved in system operation.
3.3. System operation

## Slide 81: 3.3. System operation (2 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How is the electricity system dispatched? |  | 
Does the system operator dispatch the system according to a clearly defined set of principles, rules, or procedures? Does the ownership of power generators affect how they are dispatched? Are incumbent generators treated differently to private sector generators? What rules or principles are used for dispatch? Is the system dispatched on a least cost basis? How are individual power plant constraints (e.g. the inflexibility of an old coal plant) taken into account when dispatching the system? How are system constraints (e.g. grid constraints or bottlenecks) taken into account when dispatching the system? How frequently is dispatch reoptimized and how and when are dispatch instructions sent to generators? What happens when the output of a power plant deviates from its dispatch instruction? | In most cases the system operator itself is likely to be the best source of this information. Even where procedures appear to be well documented and in line with best practice, it might be valuable to shadow the system operator’s dispatch to validate that agreed procedures are being followed. Sometimes dispatch rules might be approved by the regulator, so the energy regulator might also be a source of information on dispatch. Discussion with owners of power generation, especially IPPs, may also highlight issues with dispatch and any deviation from best practice. However, in most low income countries it is likely that dispatchable IPPs are protected against dispatch risk through being paid an availability or capacity payment through their PPA. | The adoption of least cost dispatch principles can be important in supporting liberalisation of the sector. For example, if IPPs’ dispatch profile is materially different to that expected this could have a material impact on their cost structure. This could increase uncertainty and the cost of capital used by IPPs. If analysis identifies any significant inconsistencies with best practice, technical assistance and/or training could be provided to the system operator to refine the rules used for system dispatch. Many developing countries with small electricity systems may reoptimize their dispatch infrequently (e.g. daily). As the electricity system becomes more complex, and especially as the role of intermittent renewable power generation increases, it may be desirable for dispatch to be more dynamic, being updated more frequently, for example as expected output from renewables plants changes. Technical assistance might be required to implement new dispatch processes and to implement more advanced IT systems to support this transition. For dispatchable power generation (but not for renewable power generation) penalties will often apply if generators deviate from their instructed dispatch profile. These penalties are normally defined in their PPAs, but in more liberalised markets imbalance charges might be levied by the system operator. Where market design changes are moving towards a more liberalised wholesale electricity market, advice on introducing imbalance charges and a balancing market might be provided.
3.3. System operation

## Slide 82: 3.3. System operation (3 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How are supply and demand for electricity balanced in real time? |  | 
Is the system operator able to effectively monitor the balance of supply and demand in real time? What information is available to the system operator to indicate when action might be required to balance the system? What procedures or rules are in place to govern balancing dispatch actions required in near or real time? What market arrangements are in place to reward market participants that help the system operator to balance the system? | The system operator is again likely to be the main source of information to understand the arrangements in place for real time balancing. For many low income countries arrangements may simply be included in PPAs for dispatchable power generators. In some cases the regulator might also be a source of information, for example if there is a separate balancing market and the rules for this market are reviewed and approved by the regulator. Information could also be sought from owners of power generation capacity. Owners of renewable power generation may be required to provide updated forecasts of output to the system operator, and owners of dispatchable power generation may be remunerated for providing balancing services. | If arrangements for balancing the system are inadequate this can result in outages and poor reliability, reducing the apparent reliability of network infrastructure. It is therefore important to be able to distinguish between shortcomings in the physical infrastructure in place, and shortcomings in the overall operation of the system. Monitoring and control equipment and systems are important for the system operator to be able to balance the electricity system reliably. There is the option to advise on the systems required to facilitate improved system balancing. In most low income countries energy for balancing the system will simply be procured through bilateral PPAs, but in some countries market design might be more liberalised with a separate market for short-term balancing. In countries moving towards increased liberalisation interventions could provide advice on the design of a balancing market. Where there is sufficient competition such a market can increase the options available to the system operator and improve the value for money that it can achieve.
3.3. System operation

## Slide 83: 3.3. System operation (4 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What ancillary services are procured to help with balancing the system and to manage grid stability? |  | 
Does the system operator procure reserve products so that it can call on backup generation capacity, for example if another generator trips? Does the system operator procure products to maintain good power quality, for example a frequency response service to maintain steady frequency on the electricity network. Where the sector market design has been unbundled with distribution network infrastructure being managed separately from the transmission system, do distributors procure any services, for example to manage variations in voltage? | The system operator will be the main source of information regarding the services that it procures to maintain system stability. In most low income countries there will not be a transparent market for these services, and the services may not be mentioned or advertised on the system operator’s website. Rather, these services may simply be procured through existing market arrangements, primarily through bilateral PPAs with power generators. Where distributors are unbundled, ask distribution companies how they manage voltage variations. In most cases, distributors probably don’t procure services to manage such variations. | As with system balancing, if the market arrangements in place to manage grid stability are inadequate this could contribute towards issues, reducing the apparent reliability of the network infrastructure. Technical assistance could be provided to help the system operator establish more transparent mechanisms for procuring ancillary services cost effectively, where this cannot be achieved through existing PPAs. This is likely to become increasingly important as the share of intermittent renewable power generation increases, increasing the demand for some ancillary services. Ancillary services and network infrastructure might be considered together. For example, issues with low voltage on the distribution network might be tackled through strengthening the physical network infrastructure, or through procuring services from generators to support voltage in the affected area.
How do system operations interact with market operations and the settlement of commercial arrangements between market participants? |  | 
What information does the system operator receive on the expected dispatch (sometimes referred to as nominated volumes) of power generators. How are actual metered volumes compared against nominated volumes, and who manages settlement? | Settlement processes will interact with processes noted above for dispatch and for system balancing. The key stakeholders are likely to be the system operator and/or the market operator, where this is a separate organisation. In most low income countries a ‘single buyer’ is likely to oversee settlement. If any IPPs can share PPAs they have in place these are likely to set out procedures for settlement. | Where the existing information flows and/or processes are poor, advice could be provided on the systems, processes, and market arrangements that could be used to improve balancing, as noted above.
3.3. System operation

## Slide 84: 3.4. Metering and revenue collection (1 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are non-technical (commercial) losses an issue? |  | 
Is any data available on the level of non-technical losses, i.e. is it possible to distinguish between technical and non-technical losses? How do non-technical losses compare with those in other similar markets? | The utility should be able to at least provide details on aggregate system losses, and ideally a breakdown of total losses. This might often be found in annual reports. If the utility has been unbundled, either the owner of distribution network infrastructure or the supplier of electricity/gas/heat is likely to be best placed to provide this information. Aggregate data on he electricity sub-sector can be found for many countries on the WB data portal (https://data.worldbank.org/), which allows for comparison with other countries. | If the data available is unreliable or of poor quality, support could be provided to improve metering – see below. Support could also be provided to improve data collection and management within the utility. Data quality is critical to reducing losses efficiently.
Is metering infrastructure robust and fit for purpose for revenue protection? |  | 
Is electricity demand generally metered at each customer offtake point? At how granular a level is demand for gas and/or heat metered, where these are supplied to end consumers through network infrastructure? Are meters installed on the network at strategic locations so that losses can be identified and problem areas located? Have prepayment meters been considered as an option to reduce revenue leakage? | The owner of the distribution network infrastructure is likely to be best placed to provide an overview of the metering infrastructure in place. The regulator may also have a view on the quality of information available from the metering system as they are likely to use this to assess the utility’s performance. | If it is clear that the existing metering infrastructure is insufficient or is poorly located, technical support could be provided to improve the utility’s metering strategy, so that the locations where losses are greatest can at least be easily identified. If prepayment meters are not being used, or have not been considered, analysis could be performed to evaluate whether they would be an appropriate option. If there are significant shortcomings in the existing metering infrastructure, and it is clear that the utility does not have the technical capabilities and/or capital to make improvements, options for procurement of private sector participation could be considered, for example through a loss-focused performance contract or through considering a concession approach. If a transaction is considered an option, support could be offered either through providing finance or supporting instruments.
3.4. Metering and revenue collection

## Slide 85: 3.4. Metering and revenue collection (2 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are customer bills accurate and are bills prepared and sent out on a timely basis? |  | 
Is meter data collected regularly and fed into the utility’s billing system accurately? Are bills received by customers regularly and on a timely basis? | The utility (or distributor or supplier if the sector has been unbundled) should be able to provide information on the processes used for billing and the frequency with which customers are billed. Speaking to a range of different customer types (i.e. industrial, commercial, domestic) should also give some insight on the timeliness and accuracy of utility bills. | If billing is infrequent or inaccurate, support could be provide to support process improvements at the utility. Initially analysis would be required to identify the root cause of the process inefficiencies so that remedies to the identified issues could then be agreed and implemented.
What is the collection rate on utility bills and is enforcement effective? |  | 
What is the collection rate on utility bills? Does this vary by region or customer type? Is the utility owed significant outstanding amounts by end consumers? If so, is it realistic that this amount is recovered? How much of this outstanding debt is with government entities? Have prepayment meters been considered as an option to reduce revenue leakage? Are consumers offered a wide range of options by which they can pay their bill (e.g. using mobile money)? | The accounts or annual reports of the utility or distributor should provide some insight on the collection rate. It might be explicitly reported as a key performance indicator, or it might be possible to estimate from any debts written off. This may also be a metric that the regulator monitors, so the regulator might also be a source of information on this topic. Discussion with a range of customers might help to identify if it is difficult to pay bills at all, for example if bills can only be paid in a limited number of locations, or are not convenient to settle. | If there are clear shortcomings in the utility’s business processes for billing and/or enforcement and cash collection, support could be provided to help the utility improve these business processes. If customers report difficulties paying bills, or if a limited number of payment options are available, support could be provided to identify measures that might make it easier for customers to settle their bills. Performance contracts or other forms of private sector participation can again be considered as means by which performance could be improved. Potential to provide support in the procurement of these contracts.
3.4. Metering and revenue collection

## Slide 86: 4.1. Decentralised heating and cooking (1 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider | 
What types of decentralised solution are used for heating and cooking? |  |  | 
To what extent do households have access to adequate heating services? To what extent is this provided by decentralised solutions vs. centralised heating networks? What types of stove and heating equipment are used in homes? Are biomass and/or LPG stoves prevalent? Do household have boilers installed for heating and hot water, e.g. using natural gas delivered by network infrastructure or using liquid fuels? Are modern renewable energy heating and cooling solutions deployed, for example using air source or ground source heat pumps? | The data on the use of fuels for cooking and heating is poor in many countries, but statistics agencies, and / or the ministry responsible for energy are most likely to have such data. Total biomass use is also considered in the IEA’s energy balance tables (http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015). Direct engagement with households might be necessary to really understand the extent to which heating is adequate. Health care professionals might be able to highlight any chronic issues, e.g. where insufficient heating or cooling results in illness and deaths. |  | If the quality of data is found to be poor, support could be provided in collecting better data on the use of cooking fuels. Training and capacity building will also be required so that officials are then able to keep this data well maintained and updated in future. Where it is found that some households do not have access to even the most basic heating services, technical assistance could be provided to design incentives or subsidies with the aim of addressing these access gaps.
What fuels are used for heating and cooking? |  |  | 
How significant is the use of charcoal and/or firewood for heating and cooking? How does this compare against the use of alternative fuels such as Liquefied petroleum gas (LPG) or sustainable biomass, or the use of electricity? Does the use of fuels vary much between urban and rural communities? For example, firewood might be used in rural areas, with more charcoal use in urban areas. Outside of low income countries, oil-based heating systems and the use of natural gas delivered using centralised networks might be more prevalent. | As noted above, the data on the use of fuels for cooking and heating is poor in many countries, but the IEA energy balance tables provide a useful starting point. | N/A | 
4.1. Heating and cooking

## Slide 87: 4.1. Decentralised heating and cooking (2 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How much do people pay for cooking and heating fuels? |  | 
How much cooking fuel (e.g. firewood used in rural areas) is essentially free? Are there subsidies or cross-subsidies that artificially reduce the cost of traditional fuels? Are any levies or taxes charged for the use of natural resources, e.g. for use of forest resources? If so, are these paid in practice? | Speaking with a sample of different end-users of energy will help provide information on the typical spend on fuels for cooking and hearing. Relevant government departments covering energy, forestry, and finance should be able to provide information on any levies that are charged (and collected) on existing cooking and heating fuels. | If the data available on the cost of traditional fuels is poor, analysis could be performed to understand the detailed cost stack of these fuels. This could help to provide a robust evidence base to inform any other interventions. If subsidies are currently applied to traditional fuels, the case could be made to government for reducing these subsidies. This is likely to be politically challenging, but could be used to fund support for cleaner energy solutions. If there are no levies charged on the use of natural resources for traditional biomass-based fuels, or if these levies are poorly enforced, the case could again be made for introducing such levies, with the aim of creating a level playing field for modern cooking solutions.
What types of stove are used for cooking? |  | 
Does most cooking follow traditional approaches, such as the use of 3 stone fires? Are there alternative stoves available in the market? What is the price of traditional vs. improved cookstoves? | Surveying a sample of households will help provide some insight on what stove types are prevalent in the country. Consider that the stove types in use might vary significantly in different regions. Donors who are active in the sector might also be able to provide an overview of the stove types that they have seen in use. Information on the price of stoves should be available from companies and market stalls selling stoves. | If the up-front cost of traditional stoves is much lower than the up-front cost of modern improved stoves, analysis could be performed to evaluate the full lifetime cost of the technologies, as this difference in up-front costs might be balanced out by efficiency savings, for example. If this analysis shows that the full lifetime cost of an improved stove is competitive, persuading customers to switch may largely become a financing challenge. Financing solutions (for example, using mobile money as with decentralised stand-alone solar systems) could be designed to provide the consumer finance needed to make improved cookstoves affordable.
4.1. Heating and cooking

## Slide 88: 4.1. Decentralised heating and cooking (3 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Do the cooking solutions that are prevalent today result in any health issues from household air pollution? |  | 
What cooking environment is typical? Do households do most of their cooking indoors, in a shelter, or outdoors? Are respirator health issues associated with indoor air pollution a major issue? | Again, speaking to a sample of households using different cooking solutions should help to provide insight on at least the perceived size of the problem. Health care professionals and clinics should be able to provide an opinion on whether they see a large number of respiratory illnesses where indoor cooking, for example, might be a significant contributory factor. The Global Health Data Exchange (http://ghdx.healthdata.org/gbd-results-tool) also provides country level data on the disability-adjusted life years (DALYs) and years of life lost (YLL) that are attributable to household air pollution from solid fuels. | The importance of health issues associated with using traditional fuels can vary significantly from one country to the next. In countries where a lot of cooking takes place outdoors, this might be less of a problem than in other countries. Where there is clearly a significant health cost to current cooking practices, quantifying this is important as this is an important part of the business case for any interventions that might be considered to encourage a shift towards improved cooking technologies. Support options are discussed further below.
Does the use of traditional fuels contribute towards a deforestation issue in the country? |  | 
How much biomass fuel is used for heating and cooking in the country? How quickly do typical biomass types regenerate? Is the current use of biomass within sustainable limits? Does this vary significantly by region? | The amount of energy sourced from biomass can be found in the IEA’s energy balance tables (http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015). The energy content per unit mass of biomass can vary significantly from one type of biomass in one location to another. The natural replacement rate for biomass will also vary by type and location. Estimates for properties might be found in reports that cover the biomass resource in the country. The ministry responsible for forestry might also be able to provide data on this. Long-term residents might be able to provide circumstantial evidence on any degradation of forest resource, and in particular any degradation of resources that are located near to settlements. | The extent to which the use of traditional fuels results in significant environmental stress will again vary a lot between countries. This may be less of an issue in countries with low population density, for example. Again, understanding the extent to which deforestation is a material issue could be an important component of the business case for any further intervention. If there is a significant issue with deforestation associated with the use of traditional fuels, a case might be made for using levies or taxes to reflect the cost of these externalities. This might be politically difficult, but (if the financial resources are available) incentives or subsidies to encourage the use of alternative fuels could be used to achieve the same result.
4.1. Heating and cooking

## Slide 89: 4.1. Decentralised heating and cooking (4 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there many companies operating in the country selling and promoting alternative stoves and/or fuels? |  | 
Are those companies performing well, or are there major barriers to the growth of their business? Are the products well received by communities and households? If there are few or no companies selling alternative stoves in the market, why is that? | Companies supplying improved cookstoves should be able to highlight any major barriers that they face in accelerating the deployment of their products. Donors active in the sector may also have a view on barriers to improved cooking solutions from the work that they have done in this area. Speaking to cookstove companies that are operating in other countries, but not your country, and understanding why they have decided not to invest, could also help to identify barriers. Speaking to a sample of households could also help to understand factors that might be holding back the market. Customers might struggle to afford the upfront cost of a product, or might say that the ‘improved’ products do not work as well for them. | If any barriers to accelerating deployment have been identified, and these are barriers that can be addressed through e.g. policy changes, support could be provided in designing and implementing solutions to address these barriers. If it is clear that the existing ‘improved’ products are not meeting customer requirements, analysis could be performed to better understand what customers need so that companies developing clean cooking solutions can use this research to improve their products.
Are there any incentives, subsidies, or cross-subsidies in place to encourage households to switch away from traditional fuels and/or stoves? |  | 
Are there any fiscal incentives for cookstoves? Are modern fuels competing on a level playing fuels with traditional fuels? | Companies operating in the sector should be able to provide information on any incentives, subsidies, or cross-subsidies that they benefit from. Donors familiar with the sector should also be able to provide an overview of any support that they are aware of. The relevant ministries (most likely energy, but possibly forestry or finance) should also be able to provide details on any support that exists. The revenue authority or customs authority should be able to provide an overview of any indirect taxes and import duties that apply to stoves. It is possible that this information is on the authority’s website. | If import duties and/or indirect taxes are applied to improved cookstoves, the business case for removing these might be considered. Traditional stoves are likely to be sold outside of the formal economy, so this might arguably help to level the playing field. Further, incentives, subsidies, or cross-subsidies for improved cookstoves, or levies on traditional cooking fuels, could be considered to reflect the external (e.g. health and deforestation) costs associated with the use of traditional fuels. Support could be provided to help design and implement appropriate support schemes.
4.1. Heating and cooking

## Slide 90: 4.1. Decentralised heating and cooking (5 of 5)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Where individual boilers (e.g. using oil or natural gas) are used to heat homes, what technologies are prevalent? |  | 
What is the typical age and thermal efficiency of the boilers used to supply heating and hot water to homes? Where there is a substantial stock of old and inefficient boilers, what are the barriers to replacing/updating these boilers? Are there opportunities to improve the quality and efficiency of boilers used at the household level? | The ministry responsible for energy is most likely to have performed a detailed analysis of the decentralised heating infrastructure installed in homes. Other donors that have been engaged with the sector for some time may also be aware of datasets that exist or analysis that has been performed. Sometimes it might be necessary to perform a survey of households to understand the boiler types installed. | Where there are lots of old, inefficient boilers installed this might be an area that can be targeted by both emissions reduction and energy efficiency policy. Technical assistance could be provided to integrate initiatives for updating and improving heating infrastructure into countries’ energy policies. Where there are financial barriers to individual households replacing or updating their boiler, the use of incentives and subsidies could be considered. Advice could be provided on the design of schemes to accelerate replacement.
Are heat pumps used by households or businesses to provide heating or cooling? |  | 
Where heat pumps are used are these typically air source or ground source heat pumps? Where heat pumps are not yet in widespread use are these a viable option for replacing less efficient and more carbon intensive technologies? Are there incentives in place to encourage the uptake of new technologies such as heat pumps? | As above, the ministry responsible for energy is most likely to be aware of any analysis of the decentralised heating infrastructure that is prevalent. In some countries electricity distribution companies may also have information on heat pump installations – for example if a larger connection has been required to accommodate a new heat pump. If there are only a small number of companies selling and distributing heat pumps in the country they may be able to share data on the number and types of heat pumps installed. | Electrifying heat through using heat pumps could be an important input to emissions reduction policy. Where this is a viable option for decarbonisation, technical assistance could be provided to help develop policy to help support the deployment of this technology. In particular, where there are barriers to individual households and businesses switching to heat pump technologies (especially financial barriers) financing solutions or subsidy schemes could be designed to help accelerate deployment.
4.1. Heating and cooking

## Slide 91: 4.2. Decentralised mini-grids (1 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any existing mini-grids in the country? |  | 
Where are existing mini-grids located? What loads are accommodated and what is the total size of the network? How long has the mini-grid been in place and are there any plans for the main grid to arrive in the near-term? | If mini-grids are regulated (see below) it is likely that the regulator should be able to provide an overview of any mini-grids that are operational in the country. The officials within the ministry responsible for energy that coordinate on energy access policy may also have an overview. Speaking to individual mini-grid developers may also help with understanding whether companies have any projects operational, under construction, or in late stage development. | If it is clear that mini-grids have a role in meeting energy access policy objectives but there are currently no operational mini-grids, consider whether support is required exploring the guidance on regulatory and commercial issues presented in the sections below.
Are there any mini-grid developers based in the country and/or developing projects in the country? |  | 
Are the developers local or international companies? | If there are no obvious mini-grid developers located in the country, check with any donors who have energy access programmes in place as they may be aware of any companies that are in the country. | As above – if there are no mini-grids in the country, but it is clear that mini-grids could have an important role, consider what regulatory and commercial barriers might be preventing companies from exploring the market using the guidance below.
Does the latest electricity sector plan show a role for mini-grids? |  | 
Does electricity sector planning and forecasting take into consideration the role of off-grid solutions? Has a geospatial planning exercise been carried out and, if so, how significant a role does this suggest mini-grids should have in contributing towards energy access policy targets? What are utility’s grid extension plans? Are there areas that the grid will not reach in the near future that could be served by mini-grids? | The organisation responsible for electricity sector planning and forecasting (most likely the utility or system operator) should be able to provide a copy of the latest plan. They should ideally also own any geospatial planning exercise, so that the two exercises are consistent. It is possible that a geospatial planning exercise may have been funded by donors, so speaking to donors working in the sector may also provide some information in this area. | If no integrated planning exercise has been completed, taking into consideration off-grid as well as on-grid energy solutions, technical assistance could be provided to prepare such a plan. This should be integrated with other planning and forecasting exercises and updated on the same timescales. Such a plan should be dynamic and take into account the evolution of increasingly ambitious energy access policy objectives over time.
4.2. Decentralised mini-grids

## Slide 92: 4.2. Decentralised mini-grids (2 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are tariffs for mini-grids set through regulation? |  | 
How are tariffs set for mini-grid projects? Does the regulation that applies depend on the size off the mini-grid? How onerous and time consuming is the process for tariff approval (if this is required)? | The regulator should be able to provide details on the regulation of mini-grid tariffs where this exists. Ideally any regulation, along with approved tariff settlements, should be published on the regulator’s website. Companies developing mini-grid solutions should also be able to provide some information on the regulation in place, where this is not easily available from the regulator. Speaking with companies as well as donors familiar with the sector should also help to identify any barriers to mini-grid projects that are caused by either the regulation itself, or by any process for tariff approval. | Where possible, any regulation in place governing the tariffs that can be charged by mini-grids should be as straight forward and mechanistic as possible. Where existing regulation is cited as a barrier to mini-grid projects, consider whether the regulation could be improved or simplified, for example through setting more standardised tariffs, rather than tariffs that are re-calculated for every individual mini-grid. If specific issues with the process for approving mini-grid tariffs are noted, consider providing support to help with streamlining this process. This might involve revising the regulation itself, e.g. with more standardised tariffs, as suggested above.
What other commercial arrangements apply to mini-grid projects? |  | 
What happens in case the main grid reaches the area where the mini-grid is located? Are there any other risk mitigation strategies in place for key risks (such as demand risk?). | Risk mitigation measures, for example dealing with the arrival of the main grid, are likely to be included in any regulation that is in place for mini-grids. Companies developing mini-grid projects should also be able to provide an overview of the risk allocation framework for mini-grid projects, and specifically any risk allocation issues that need to be tackled to remove barriers to project development. Donors active in the sector may also have a view on any major risk allocation concerns that need to be tackled. | If any specific risk allocation issues are noted in the existing regulation through review or through discussions with stakeholders, support could be provided to the regulator to make recommendations on how these issues can best be addressed. For example, guidance might be required on a buy-out formula for when the main grid reaches mini-grids earlier than was expected.
4.2. Decentralised mini-grids

## Slide 93: 4.2. Decentralised mini-grids (3 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there any financial support or subsidy in place for mini-grids? |  | 
How is any support provided? Is it provided as an up-front capital subsidy, or as an ongoing revenue subsidy? Where do the funds for the support come from? Are the funds from the government’s budget, from donors, or from electricity bill-payers? | Companies operating and developing projects will be able to give an overview of any incentives, subsidies, and cross-subsidies that they benefit from. Donors and the relevant ministries should be able to confirm any amounts that have been disbursed to support mini-grids. | If there are currently no incentives, subsidies, and cross-subsidies and the commercial proposition for mini-grids does not currently work, support could be provided to analyse the different options for a cross-subsidy mechanism if sector planning and forecasting suggests that mini-grids are the most cost-effective way to deliver on energy access policy objectives in some areas. Ideally, any subsidies should minimise distortion of the existing market.
Where has the financing for any mini-grid projects come from? |  | 
Are projects mostly funded by grant funds, or are they viable without grants? Are the projects funded primarily with equity, or have lenders also provided funds? Are there any major barriers cited by financiers to being able to provide funds to projects? | Companies developing mini-grid projects should be able to provide an overview of the sources for their financing. Speaking to potential lenders should help to identify any existing barriers to more private sector capital from entering the sector. Donors and DFIs should also both be able to give an overview of the types of finance entering the sector, and their view on any challenges that need to be addressed to attract more commercial capital. | If any specific barriers to bringing in more commercial capital have been identified, support could be provided in identifying and designing solutions to address those barriers. If the sources of finance currently being used in the sector are likely to be difficult to scale, support could be provided to design any regulation and/or commercial structures that could help with making projects repeatable and bankable. Consider whether there are any areas where IFIs could provide support, either through directly funding projects and companies, or through advising on the project structures that might be required to be compatible with other supportive financial instruments, such as guarantees.
4.2. Decentralised mini-grids

## Slide 94: 4.3. Decentralised stand-alone systems (1 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How many decentralised Solar Home Systems (SHS) have been deployed and how many SHS companies operate in the country? |  | 
What is the distribution of SHS around the country? What % of households have a SHS as their main source of lighting and electricity for appliances? What size systems are most common? | Some data on the deployment of SHS is available in GOGLA’s (the Global Off-Grid Lighting Association) half-yearly reports on SHS sales (available from https://www.gogla.org/publications). However, note that this data only covers sales by GOGLA members and affiliates. It does not cover sales of component-based systems, which account for a large share of sales in many countries. SHS companies will also be able to give a view on sales within the country. The ministry officials responsible for energy access policy might collect data on the sector to track progress made against policy targets. | If there are few or no SHS companies present in the country and yet there remains a significant energy access deficit, further stakeholder engagement and analysis could be performed to understand the main barriers to SHS companies entering the market, so that recommendations can be made as to how these barriers can be addressed. If SHS are present in some parts of the country but not in other (maybe hard-to-reach) regions, analysis should again be performed to diagnose the reasons for this, and policy remedies (such as cross-subsidies) that could be used to address gaps in coverage.
Does electricity system planning and forecasting properly consider the role of SHS in meeting energy access policy objectives? |  | 
Does electricity sector planning and forecasting take into consideration the role of off-grid solutions? Has a geospatial planning exercise been carried out and, if so, how significant a role does this suggest SHS should have in contributing towards energy access policy targets? What are utility’s grid extension plans? Are there areas that the grid will not reach in the near future that could be served by off-grid solutions including SHS? | The organisation responsible for electricity sector planning and forecasting (most likely the utility or system operator) should be able to provide a copy of the latest plan. They should ideally also own any geospatial planning exercise, so that the two exercises are consistent. It is possible that a geospatial planning exercise may have been funded by donors, so speaking to donors working in the sector may also provide some information in this area. | If no integrated planning exercise has been completed, taking into consideration off-grid as well as on-grid energy solutions, technical assistance could be provided to prepare such a plan. This should be integrated with other planning and forecasting and updated on the same timescales. Such a plan should be dynamic and take into account the evolution of increasingly ambitious energy access policy objectives over time.
4.3. Stand-alone systems

## Slide 95: 4.3. Decentralised stand-alone systems (2 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is the SHS market regulated in any way? |  | 
Is there any requirement for SHS companies to be licenced or to acquire any other type of permit? Are there any regulatory constraints on the tariffs that SHS companies can charge? Is there any relevant consumer protection regulation, for example with respect to quality standards, or system inter-operability to facilitate switching between different SHS equipment providers? | The regulator should be able to provide details on any regulations that apply to SHS companies. Ideally any regulations should be available on the regulator’s website. Speaking to a range of SHS companies should highlight any barriers that exist in regulation to the growth of the sector. | If engagement with companies identifies any issues or barriers that currently exist in regulation, support could be provided to simplify or amend regulations to address these barriers. If any issues are identified where additional regulation is required, for example to restrict the import of poor quality products, support could be provided to design light touch regulations that tackle any consumer protection concerns without restricting the growth of the sector.
How does the cost of SHS compare against the traditional alternatives currently used by households? |  | 
What traditional alternatives are SHS typically displacing? Kerosene, candles, or dry cell batteries, for example? What is the typical household spend on those traditional alternatives? How much do SHS typically cost, and how much does this vary according to system size? | A household survey could be performed to gather data on the typical energy spend, and how that spend breaks down for different households. Donors might also be able to provide information from surveys that have been completed in the past. Where possible, try to disaggregate this data – the average spend on energy might be considerably lower in rural, hard-to-reach communities compared to urban areas. | Where the availability of data about existing energy use and household spend on traditional sources of energy is poor, support could be provided to perform a detailed survey of household spend. This would help to provide a more robust evidence base when considering any further support. The data would also be useful for SHS companies considering entering the market. If the cost of SHS is higher than households’ current typical energy spend, consider whether there is a business case for incentives, subsidies, or cross-subsidies to benefit SHS. Support could be provided in analysing the business case for such a scheme, and/or in designing the scheme (see next).
4.3. Stand-alone systems

## Slide 96: 4.3. Decentralised stand-alone systems (3 of 3)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there any financial support or subsidy in place for stand-alone SHS? |  | 
How is any support provided? Is it provided as an up-front capital subsidy, or as an ongoing revenue subsidy? Where do the funds for the support come from? Are the funds from the government’s budget, from donors, or from electricity bill-payers? | SHS companies will be able to give an overview of any incentives, subsidies, or cross-subsidies that they benefit from. Donors and the relevant ministries should be able to confirm any amounts that have been disbursed to support the deployment of SHS. | If there are currently no incentives, subsidies, or cross-subsidies and there is little of no deployment of SHS, or there are significant geographical gaps in the deployment of SHS, support could be provided to analyse the different options for a cross-subsidy mechanism to address these gaps where sector planning and forecasting suggests that stand-alone SHS are the most cost-effective way to deliver on energy access policy objectives. Ideally, any subsidies should minimise distortion of the existing market.
Where has the financing for SHS companies come from? |  | 
What types of finance provide the working capital required by SHS companies? Are the types of finance deployed commercially scalable, or is there high dependence on philanthropic funds, impact investors, and donor funds? Are there any major barriers cited by financiers to being able to provide funds to the sector? | SHS companies should be able to provide an overview of their financing sources. Speaking to potential lenders and equity investors should help to identify any existing barriers to more private sector capital from entering the sector. Donors and DFIs should also both be able to give an overview of the types of finance entering the sector, and their view on any challenges that need to be addressed to attract more commercial capital. | If any specific barriers to bringing in more commercial capital have been identified, support could be provided in identifying and designing solutions to address those barriers. If the sources of finance currently being used in the sector are likely to be difficult to scale, support could be provided to design any regulation and/or commercial structures that could help with scaling the finance available. Consider whether there are any areas where IFIs could provide support, either through directly funding companies, or through advising on the commercial arrangements that might be required to be compatible with other supportive financial instruments, such as guarantees.
4.3. Stand-alone systems

## Slide 97: 4.4. Liquid and solid fuel distribution (1 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Which liquid and solid fuels are used that need to be distributed around the country? |  | 
What oil products are in use and how does this vary around the country? Is coal used domestically? If so, is this demand primarily from industry and the power sector, or is coal used in a residential context? To what extent is coal demand co-located with production (e.g. mine-mouth power plants, factories). Are other liquid fuels such as CNG and LPG in widespread use? Is charcoal in widespread use, e.g. in decentralised heating and cooking solutions? | Marketers, distributors, and retailers of fuels are likely to be best placed to provide granular data on fuel demand. IEA energy balance data, where this data is complete, may also provide some insights on the fuels in use. The energy regulator may also be able to provide some information on which fuels are most in use, especially where supply chains are regulated and licenced. Surveys of a cross-section of energy consumers could also help to build up a granular view of energy demand and the supply chains used to meet that demand. | Where there are material data gaps, technical assistance could be provided to perform surveys to gather a more complete data set on end-user energy requirements. This could be used to identify gaps in provision that can be reflected in energy access policy.
How are liquid and solid fuels distributed around the country? |  | 
Are any of these fuels distributed through the use of network infrastructure, such as pipelines? Are fuels distributed using road and/or rail transport? Are specialist vehicles required to distribute fuels (e.g. for CNG) or are fuels distributed using informal methods (e.g. for charcoal)? | As above, distributors and sometimes regulators are likely to be best placed to provide insights on the value chain used to distributed the fuels consumed around the country. | As well as being carbon intensive fuels themselves, many of these fuels may be transported by road or rail resulting in further greenhouse gas emissions. Energy sector planning and forecasting and emissions reduction policies should consider these emissions when identifying priorities in the sector.
Who is responsible for distributing these fuels? |  | 
Is distribution infrastructure owned by the public or private sector? Do the entities responsible for distributing fuels operate a monopoly or is there competition between multiple distributors? Are the companies distributing fuels local / domestic companies, or international companies linked in with regional and/or global supply chains? | Fuel retailers should be able to provide an overview of the distribution market and any choice that they have between distributors. Where the distribution value chain is regulated the energy regulator should also be able to provide information on the main distributors. | N/A
4.4. Liquid and solid fuel distribution

## Slide 98: 4.4. Liquid and solid fuel distribution (2 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any bottlenecks in the distribution value chain for important fuels that undermine security of supply? |  | 
Have end consumers experienced any supply interruptions? Are there any identifiable constraints / pinch points in the distribution value chain for fuels? Are the key constraint in importing fuel to the country, or in the within-country infrastructure? Are there facilities for storing fuel reserves at strategic locations around the country? | Engaging with end consumers of fuels should provide information on the reliability of fuel supply and whether security of supply issues have had an adverse impact on other business activities. Chambers of Commerce may also be able to provide an overview of where the key bottlenecks and issues in fuel distribution are. The companies involved in distributing fuel may also be willing to highlight key constraints or issues that they face in distributing fuels to their customers. The governments and/or regulator may also have a role in reviewing and evaluating security of supply for key fuels. In some cases policy and regulation may be in place to help guarantee security of supply, for example through an obligation to maintain in-country fuel reserves. | If there have been security of supply issues that could be tackled through targeted regulations (such as a storage obligation), technical assistance could be provided to advise on the required changes to the policy and regulation. Where there is a need for additional infrastructure to support the reliability of supply, which the private sector is unable to deliver unassisted, support could be provided to evaluate the policy interventions that might be used to address any gaps. For example, a competitive public procurement mechanism could be used, or a regulated revenue structure could be developed for the required infrastructure.
Are there any geographical gaps in coverage or significant differences in fuel cost that result from distribution challenges? |  | 
Are there geographical differences in availability and use of fuels? How are the costs of distribution passed through to the end-consumers of fuels? Does the cost of fuel vary regionally because of the cost of distribution, or are there cross subsidies? If there are cross-subsidies are these regulated, or just embedded in the distributor’s revenue model? | If there is a national statistics agency, they may collect data on the regional use of fuels. For example, some countries publish living conditions monitoring surveys, which provide information on the fuels used for lighting and cooking. The energy regulator may also be able to provide data on regional supply of fuels and on any regional variations in pricing. Where prices are regulated in any way, they should be able to provide information the relevant regulations. Companies involved in distributing fuels should be able provide information on regional availability of fuels. Donors with a presence across the country may also be able to provide useful insights; for example, if they are aware particularly high pricing of a fuel in a specific location that might be hard to reach. | Where there are gaps in the distribution of important fuels, technical assistance could be provided to consider the role of regulation or of incentives and subsidies to address these gaps. Regulation and/or public procurement could be used to bring in private sector investment to address any remaining infrastructure gaps.
4.4. Liquid and solid fuel distribution

## Slide 99: 4.5. Network infrastructure (1 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider | 
What energy networks exist in the country and what energy vectors to they cover? |  |  | 
What electricity network infrastructure exists in the country? What voltage levels does this cover for transmission and distribution? Is there any infrastructure for natural gas, specifically network infrastructure to transport it to end users? Is there pipeline infrastructure for transporting liquid fuels from upstream producers and / or to demand centres? Are there heat networks in the country, for example as part of a centralised district heating system? | Companies operating in the energy sector are likely to be best placed to provide an overview of the infrastructure installed. Energy networks are generally likely to be regulated, so the economic regulator responsible for the energy sector is also likely to be able to provide an overview. |  | N/A
4.5. Network infrastructure

## Slide 100: 4.5. Network infrastructure (2 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Who owns, operates, and maintains these energy networks? |  | 
Is network infrastructure owned by the same entity that owns upstream infrastructure, such at electricity or heat generation plants, or gas processing facilities? Is the electricity network owned by a single entity (e.g. a vertically integrated utility) or is higher voltage (transmission) infrastructure under separate ownership to lower voltage (distribution) infrastructure? This will depend on the market design and whether the sector has been unbundled at all. In some countries network assets might remain under Government ownership, but leased to a private sector concessionaire with the concessionaire being responsible for maintaining the network and commissioning new network infrastructure. Are system operations, such as dispatch and balancing supply with demand, managed by the same organisation(s) that own(s) the network? How do the owners of the energy networks earn revenues? Are the networks owners financially sustainable? Because energy networks are normally natural monopolies the tariffs charged by any unbundled networks companies are normally set through regulation. | The energy regulator or the responsible ministry is most likely to be able to provide information on which entities own network infrastructure. If a regulator is in place, they are likely to be best placed as each of the network companies is likely to require a licence for these activities. Donors operating in the sector are also highly likely to be able to provide this information. If available, recent financial statements for network companies should provide a useful overview of financial sustainability. Analysis of the profit and loss account should allow for evaluation of whether revenues cover costs. Careful analysis may be required to understand whether subsidies distort the information presented in the accounts. Sometimes utilities might benefit from a direct subsidy from government, or if the network owner also owns upstream infrastructure it might purchase the energy it transports at below cost. Where the revenues of a network company are set through regulation the regulator is likely to be able to provide analysis of the company’s allowed revenues, and the tariff charged by the company. This information will often be published on the regulator’s website. | If a network company is underperforming against operational requirements (e.g. losses are high or reliability is poor) then – depending on the causes of the poor performance – it might be appropriate to consider unbundling and/or private sector participation if not already reflected in the current market design. Unbundling of the electricity or gas sector can help to increase the effectiveness of regulatory incentives that are targeted at performance in each individual component of the value chain. For example, a network company might be incentivised to perform well in maintaining the network, whereas this incentive might be diluted for an integrated utility. If accompanied by well-designed regulation and robust enforcement private sector participation can help to improve performance. Depending on the capacity of the parties involved (the network owner, the regulator, any procurement agencies), this might be achieved through a range of options, from full privatisation to a performance contract with a service provider, as discussed under the market design header. If a network company is not financially sustainable this might indicate that the company is unable to charge appropriate cost-reflective tariffs. Assistance could be provided to the regulator to review tariff regulation, and to develop new tariff methodologies and/or tariff proposals where they are required.
4.5. Network infrastructure

## Slide 101: 4.5. Network infrastructure (3 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How extensive is the electricity network? |  | 
How much of the population is served by existing electricity network (i.e. on-grid) infrastructure? Does a plan exist that sets out how the electricity network will be expanded, strengthened, and/or maintained over the next e.g. 5-10 years? Are there regions of the country that are particularly well or poorly served by the electricity network? What voltage levels are covered by the existing network infrastructure. High voltage infrastructure is typically used to transport electricity over longer distances as it is more efficient, with lower voltage infrastructure being used for local distribution. Where relevant, which voltage levels are covered by the transmission company, and which are covered by distributors? | Data on electricity access rates is available from ESMAP (Energy Sector Management Assistance Program) (https://trackingsdg7.esmap.org/). At the time of writing this data does not differentiate between on-grid and off-grid electricity access, or between different tiers of electricity access (see energy access policy). Some national statistics agencies track key development metrics such as electricity access. This might include more detail both regarding the means of access (on-grid vs. off-grid) and also in terms of geographical granularity. Any network planning documents are likely to have been prepared by the network companies themselves. Where transmission and distribution have been unbundled plans are most likely to have been prepared by the transmission company. Planning at the distribution level is often a gap in countries’ electricity sector planning. | If network coverage is poor or if no masterplan for expansion exists, support might be provided to network companies to improve their planning and forecasting capabilities and/or to prepare updated network expansion plans. This might cover the whole network, or might be focused on specific regions or voltage levels. Any work in this area should be consistent with the country’s overarching energy access policy and planning (for example, if off-grid solutions are a more appropriate solution for delivery electricity access to some regions), especially when planning the distribution network. If new network infrastructure is planned, consider safeguarding options (social and environment), i.e. ensuring environmental review of areas of expansion, and issues around resettlement and protection of communities. Technical engineering support might be required to help network companies with designing new network infrastructure. As the network expands to accommodate greater loads network infrastructure might use higher voltage circuits. Smart grid solutions might be used to provide system flexibility. Where the implementation of network plans is constrained by the availability of public funds, transaction advisory support could be provided to support Independent Transmission Projects (ITPs), to mobilise private sector capital.
4.5. Network infrastructure

## Slide 102: 4.5. Network infrastructure (4 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What is the geographical extent of other energy networks? |  | 
Where there is infrastructure in place for distributing natural gas, how extensive is this network? Does it extend outside of urban areas? Where district heat networks are in place what is the geographical extent of these networks? Are there multiple physically separate networks (e.g. for separate municipalities) or are adjacent networks connected to each other? | The owners and / or operators of this infrastructure are likely to be best place to provide details on the areas that it covers. Any sector planning documents for the relevant sub-sector may also provide this information. | Where there is the potential for network coverage to be expanded, technical assistance could be provided to sector planning and forecasting initiatives to analyse where network expansion makes economic sense. This support might be provided to a network company or to some central organisation responsible for sector planning. Where there is not a strong economic case for expanding the network, support might be required to ensure that appropriate decentralised energy solutions are available. For example, where natural gas or district heating solutions cannot reach rural areas, heat pumps or oil-based heating might be more appropriate.
4.5. Network infrastructure

## Slide 103: 4.5. Network infrastructure (5 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any performance issues with energy network infrastructure? |  | 
Are energy networks reliable? How frequently do customers suffer supply interruptions and how long do these interruptions last? Does this vary significantly by region? What technical losses are suffered on the energy networks? For electricity, is the power quality delivered to customers consistent? E.g. is system frequency and voltage stable? | Owners of the energy networks are most likely to have data on the performance of their network. Note that generally losses will be highest on local distribution networks. Identify key performance indicators (KPIs) of distributors (losses, and for electricity network owners voltage levels, power cuts, SAIDI, SAIFI) on the utility/regulator/government websites to identify any areas of poor performance. SAIDI, SAIFI are measures of system average interruption duration and frequency respectively and are commonly used to monitor utility performance. Donors with activities in the sector, particularly if they are working with network owners, may also have access to this information. Sometimes they might have commissioned studies to analyse losses and other network performance metrics. Speaking with energy consumers, especially companies operating large industrial or commercial facilities, might give a good indication as to whether quality of supply is an issue. For electricity supply, for example, some industrial processes may use equipment that is sensitive to fluctuations in power quality. Note that network performance issues might be the result of system operation challenges (e.g. a lack of system flexibility or very high penetration of intermittent renewable power generation), rather than issues with the physical infrastructure itself. | Where significant issues with performance of the network are identified, technical advisers could be commissioned to perform analysis of issues on the energy network and to diagnose the root causes that need to be addressed. Such studies could identify priority projects for the network owners. If network performance is persistently poor, especially if lack of capital is a key constraint, private sector participation can again help to catalyse improved performance. Tariff settlements for distribution concessions are often linked to loss reduction targets, giving private sector concessionaires a clear financial incentive to perform. Performance contracts can also be used if network owners use private sector service providers to tackle network performance issues.
4.5. Network infrastructure

## Slide 104: 4.5. Network infrastructure (6 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is the national electricity network well connected with neighbouring countries? |  | 
Is there interconnection capacity between the country and its neighbours to allow for the import and/or export of electricity? If so, how much interconnection capacity exists at each border and how much electricity has been imported/exported across each interconnector in recent years? How well run and reliable are the neighbouring electricity systems that the domestic system is connected to? How is electricity traded across the interconnectors? Are imports/exports contracted in advance or can contracts be struck on a short-term basis, for example to provide system flexibility? Is there a liquid (e.g. day-ahead) regional electricity market to facilitate short-term import/export transactions across interconnectors? | Transmissions network owners and/or system operators (where separate) are most likely to publish up-to-date information on the electricity network, including details on any existing and planned interconnectors. They may publish information on electricity volumes imported or exported across those interconnectors. Where they exist, regional power pools may publish (e.g. annual) reports summarising the capacity connecting the different markets in the region. Power Pools may also provide data on the volumes of electricity traded between countries. Where regional markets have been established (e.g. for the Southern African Power Pool, http://www.sapp.co.zw/) prices might also be published. Where there are large price differences between neighbouring markets this might identify the need for interconnection to export power from countries with cheaper power to countries with a high electricity price. Further, regional initiatives such the African Union’s Programme for Infrastructure Development in Africa (PIDA) initiative (http://www.au-pida.org/) may provide information on interconnection projects. Country-level energy balance data published by the IEA is also available (http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015). The electricity energy balance data includes aggregated data on electricity imports and exports. | The value of cross-border transmission capacity, and in particular cross-border capacity that is able to provide system flexibility, is often neglected in planning and forecasting exercises, which tend to be country-focused. A lack of system flexibility can act as a major constraint on the deployment of intermittent renewable power generation such as wind and solar. If the value of interconnection is not currently considered in masterplans, technical assistance to improve planning and forecasting, and to consider the role of interconnection with neighbouring markets, could greatly improve the extent to which the system is able to absorb renewable power generation. Such analysis should consider the technical quality of neighbouring system – connecting to an unstable neighbouring system might cause new problems, rather than reduce costs. Private sector participation might be appropriate where interconnection projects are identified. Transaction advisory support could be provided to help network companies to get best value for money from the private sector. If regulations and/or regional market arrangements are not conducive to interconnectors that would provide the required system flexibility technical assistance could be provided to improve such arrangements. Support could be provided to negotiate a bilateral contract between neighbouring states, or support could be provided to regional power pools (this is likely to be more complex – albeit necessary – because of the involvement of many more stakeholders).
4.5. Network infrastructure

## Slide 105: 4.6. System flexibility and electricity storage (1 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How flexible is the existing electricity system and what technologies provide that flexibility? |  | 
Is much of the electricity generation capacity on the system flexible? Does the existing network infrastructure, in particular interconnectors, provide additional flexibility? Is there any electricity storage capacity, e.g. using reservoir hydro, pumped storage, or battery storage technologies? | The incumbent utility or system operator is most likely to be able to provide an overview of the different forms of system flexibility available. Discussions with the system operator could focus on e.g. how the system is balanced if, e.g., demand is higher or lower than expected, or if wind or solar output increases or decreases suddenly. | N/A
Does sector planning and forecasting consider the need for flexibility on the system? |  | 
Does the modelling approach taken in system planning take into account the hourly/daily/seasonal variations in the operating regimes of different generators on the system, especially for renewables? Is analysis performed to ensure that the future energy system will be able to accommodate the planned generation mix, especially if intermittent renewable power generation is a major component of that generation mix? Does the sector plan consider which technologies might be best suited to providing the required system flexibility? | Some basic system plans are simplified and only consider whether power generation capacity is sufficient to meet peak energy demand. As more of that capacity becomes non-dispatchable (e.g. renewable power generation) this simplification can lead to erroneous conclusions in system planning and forecasting. If available the current system plan should be reviewed to evaluate whether it properly considers the flexibility requirements of the system. Ideally the plan should also consider how that flexibility requirement will be met, in the same way that it would identify what type of generator might meet a capacity shortfall. | If the existing methodologies used for system planning and forecasting are highly simplified, consider providing support to improve the approach used, especially if the country is expecting the role of intermittent renewable power generation to increase in future. These improvements should ensure that system planning properly considers the temporal variability in the output of some renewables technologies, and the services and speed of response that can be provided by different flexibility providers.
4.6. System flexibility

## Slide 106: 4.6. System flexibility and electricity storage (2 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What are the primary requirements for flexibility on the system? |  | 
Is the primary need for flexibility to help with balancing the system at an aggregate system-wide level? Are there any system flexibility requirements that are location-specific, for example to relieve a specific grid constraint? | Ideally this information should be provided in the current system plan, as described above. If this information is not readily available in the system plan, the system operator will be best placed to understand where the main requirements for flexibility are likely to be, and whether they can be met with existing power sector infrastructure. | As noted above, support could be provided to improve the methodologies used in system planning if the approach currently used is simplified and does not properly consider the temporal variation in the output from some renewables, for example. Different flexibility requirements might need a different procurement approach. The contracts entered into with flexibility providers will need to reflect the specific service(s) required from that provider.
What market arrangements and routes-to-market are in place for flexible generators and storage? |  | 
Are market arrangements in place to support a short-term wholesale energy market? Is there a transparent market through which ancillary services for system operation are procured? | In most low income countries it is unlikely that there is a liquid short-term wholesale market or a transparent ancillary services market. Most flexibility requirements are likely to be provided either by generators owned by the incumbent utility, or by non-renewable IPPs through their PPAs. If either does exist the system operator is likely to be best placed to provide details on this. | If there is a significant need for more flexibility over the coming years and if this cannot be met by the incumbent utility alone, support might be required to develop new market arrangements and routes-to-market for private developers of these services. This is covered further under the market arrangements and system operation headers of this guidance.
Are there any barriers to the use of new technologies, such as battery storage, to meet system flexibility requirements? |  | 
Are there any companies looking to use new and innovative technologies to provide system flexibility? Are there contracts that flexible technologies can bid for, e.g. to provide ancillary services to the system operator? | Any private sector developers looking to develop projects that would provide flexibility should be able to provide an overview of any barriers to entry. Renewable energy companies might also have a view on whether there is a need for additional flexibility on the system and whether there are any barriers to being able to provide that flexibility. The regulator and the system operator should also be able to provide input on whether (a) any additional services are required and (b) there are barriers to being able to secure those services. | If there is a need for additional system flexibility in the future, and barriers to developing projects that would provide this flexibility have been identified, advice could be provided on any changes to regulation or to market arrangements to address the identified barriers.
4.6. System flexibility

## Slide 107: 4.7. Non-renewable energy (1 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What non-renewable sources of energy are used? |  | 
What are the main sources of non-renewable energy used today? How does this supply mix evolve over time in energy sector planning and forecasting ? | The IEA’s energy balance data should provide a good overview of the energy from different sources (http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015). The energy sector regulator and/or ministry responsible for energy may also publish more detailed information on the country’s energy balance. For electricity, the utility and/or transmission company may publish an annual or other regular report that provides an overview of the electricity system, including the capacity installed (MW) for each technology. Depending on the state of sector planning and forecasting, there may be an up-to-date electricity masterplan that provides an overview of new capacity expected to be installed over the coming years. | N/A
Is self-supply using diesel generators prevalent amongst businesses and/or households? |  | 
How widespread is the use of diesel generators? How are diesel generators used by their owners: are they used frequently or just for occasional backup? Is the use of diesel generators more prevalent amongst certain types of consumer or in certain areas? | The quantity of oil products used outside of the electricity generation sector can provide an indication of how widely used diesel generators are. Other uses of oil products (for example in industrial processes) should be considered when performing this analysis. Granular data is likely to be missing in many countries, but conversations with a sample of businesses and/or households can be helpful in understanding the reasons for their use and how they are used. | Where there is lack of data over the use of diesel generators, surveys can help to build a robust evidence base, which can be used to help improve planning and forecasting. The data can also help to inform improved policy-making, for example energy access policy and emissions reduction policy. Analysis of the use of diesel generators may also indicate the need to consider interventions in other areas. For example, generator use might be driven by issues with network infrastructure or system operations, or may even be the result of poorly designed subsidies or cross-subsidies.
4.7. Non-renewable energy

## Slide 108: 4.7. Non-renewable energy (2 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are any power generators tied to specific locations to make use of domestic fuel supplies? |  | 
Are any coal / lignite power plants located at mine mouth? Lignite plants are often located at mine mouth as low calorific value fuel would otherwise be bulky and expensive to transport. | Speaking with the utility and/or other generators should provide a good indication as to whether generators are located next to domestic fuel supplies. | N/A
Are non-renewable power generators owned by public or private sector entities? |  | 
Are generators owned by an incumbent state-owned utility or by the private sector? Are privately-owned generators owned by local or international investors? Have privately owned generators been selected through a competitive tender, or have presented unsolicited bids that have been accepted by the utility and/or by government? | The utility, ministry responsible for energy, or an agency responsible for procurement of IPPs (if this is a separate organisation) should be able to provide information on the ownership of power generators. | If existing power generators are poorly maintained or are unreliable, a well designed IPP programme can help to improve supply-side performance. Technical assistance could design and implement a framework for the procurement for IPP projects. This would include support on developing a standard suite of documents to support new IPPs; for example, a standard PPA, fuel supply agreements, and other agreements such as an implementation agreement. Capacity building and training could be used so that the IPP procurement process is locally owned. If there is no well-defined process for the procurement of IPPs, competitive tendering processes can be designed, which can help drive down costs. Training can also be provided to officials in the electricity sector so IPPs can be procured efficiently in future. Legal and financial transaction advisory support can be provided to specific procurement exercises to help secure an IPP project and achieve good value for money for electricity consumers. Potential to provide investment support to an IPP deal. This might include debt or equity investment in the project, or assistance with other instruments critical to the deal, such as guarantee-related products.
4.7. Non-renewable energy

## Slide 109: 4.7. Non-renewable energy (3 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there a standard PPA and/or a standardised document suite to support IPP projects? |  | 
Is the standard PPA used in the country viewed as being ‘bankable’ by lenders? i.e. are banks willing to lend funds to projects that use the PPA? Which technologies are covered by the standard documents? Are there any clauses or conditions in these standard documents that are viewed as being difficult to agree to (or as not being ‘bankable’) by investors in the sector? Is there any history of IPPs or the utility defaulting on any terms contained in the standard documents? If so, does the default event signal any improvements or changes that need to be made to the standardised contracts? | The agency or organisation responsible for the procurement of IPPs is most likely to be able to provide copies of standardised documents. Sometimes this might be a separate organisation; other times it might be embedded with the ministry responsible for energy, or the utility. Generators that have depended on the standardised documents are likely to be able to offer opinions on any issues with the documents. Lenders and IFIs may also have views on the documents and the extent to which they are ‘bankable’. | If the country needs new generation and is looking to develop IPP projects but does not yet have any standardised documents for IPPs, commercial and legal assistance could be provided to help with the development of standardised documents such as PPAs. Training and capacity building on any new standardised documents and processes will also be important to ensure that a wide range of people have the required expertise on the procurement of new IPP projects. If evidence is collected that suggests there are specific and identifiable issues with existing standardised document, technical assistance could provide advice on improvements that could be made to existing agreements to improve the ‘bankability’ of future IPP deals. Where the country has standardised documents for one technology but is now looking to procure an IPP using a different or new technology, technical assistance could be provided to tailor the agreements for new projects or new technologies.
4.7. Non-renewable energy

## Slide 110: 4.7. Non-renewable energy (4 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What is the thermal efficiency of existing non-renewable power generators? |  | 
Is the thermal efficiency of existing power generators in line with ‘best-in-class’ new generators? Are there any improvements that can be made to the efficiency of existing non-renewable generators? Who takes the risk on the thermal efficiency performance of non-renewable generators? Normally IPPs will be protected against the impact of lower thermal efficiency where this is a result of the dispatch instructions issues through system operation, but will be exposed to the impact of any technical performance issues. | The single buyer or utility may have information on the thermal efficiency and other technical characteristics of key power plants in the supply stack. Generators may also be able to provide some of this information, although some technical details might be deemed to be confidential. Depending on the transparency in accounts and the availability of key project agreements (such as PPAs, fuel supply agreements) it might be possible to back-calculate an estimate of a plant’s thermal efficiency. | Especially in cases where the end customer is exposed to higher prices as a result of poor thermal efficiency, technical improvements might be considered to realise performance improvements. Technical engineering support could be provided to help with the design of such improvements, and support could also be provided to evaluate the business case for such improvements through a detailed cost-benefit analysis. These decisions need to be linked to wider planning and forecasting processes so that all options are considered. Sometimes it might be cost-effective to improve an existing non-renewable generator, but in other cases it might be more efficient to abandon a poorly performing generator in favour of commissioning a new plant. Support might be required to help with the renegotiation of existing contracts to help fund any improvements in thermal efficiency.
What carbon emissions result from the use of non-renewable energy? |  | 
What carbon emissions are generated by the use of non-renewable fuels? What carbon emissions result elsewhere in the value chain, for example through the extraction of fossil fuels or the transportation of fuels? Does the country’s emissions reduction policy include any specific objectives or targets for the reduction of emissions from different energy sub-sectors, e.g. power generation, or biomass? | If there is a ministry responsible for climate change and emissions reduction policy it is possible that they maintain an inventory of carbon emissions and are able to provide data on emissions from the energy sector. If such data is not available carbon emissions can be estimated using standard emissions factors, although note that the carbon content of some fuels (especially lignite and different biomass types) can vary. | If the country does not maintain good data on greenhouse gas emissions, assistance could be provided to help with setting up a greenhouse gas inventory to track progress again commitments made under the Paris climate change agreement. If energy sector plans are not consistent with broader emissions reduction policy capacity building support and training could be provided to improve the internal consistency of sector planning and forecasting.
4.7. Non-renewable energy

## Slide 111: 4.7. Non-renewable energy (5 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there any significant local air pollution that results from the use of non-renewable fuels? |  | 
Are particulate emissions high? Are there significant emissions of other local pollutants, such as Carbon Monoxide (CO), Sulphur Dioxide (SO2), Nitrogen Oxide (NOx)? Have any health issues been reported that appear to be linked to the use of non-renewable fuels? | In some countries the ministry responsible for the environment may monitor local air pollution. It is possible that the generator is required to maintain records on local air pollutants. If there are reports of health issues it might also be worth speaking to the health ministry, or even to workers in local health centres to better understand the specific issues, and the likely cause. | Improvements in thermal efficiency can reduce fossil fuel combustion and therefore also act to reduce local air pollution. Other investments in existing infrastructure (e.g. flue gas desulphurisation, selective catalytic reduction) can also help to reduce local air pollution. Support could be provided to evaluate the economic case for such investments. Where such investments appear to be cost-effective, support could be provided to structure transactions to fund these projects, for example through adjustments to existing PPA pricing. In some cases it might also be possible to reduce local air pollution through simple fuel switching measures. For example, coal has varying sulphur content depending on where it is sourced from. Technical assistance could be provided to explore and evaluate fuel switching options.
What is the operating regime of non-renewable power generators? |  | 
How are non-renewable power generators used? Which plants are used to provide e.g. baseload, mid merit, and peaking power? Do existing power sector plans indicate how these operating regimes might evolve over time, for example if the role of intermittent renewable power generation increases? Are generators technically able to meet future operating requirements? | The utility and/or system operator responsible for dispatching the electricity system may be able to provide information on the typical operating role of different generators. Generators / IPPs might also be able to provide information, both on their current operating regime and on their technical capabilities in the event that the system has different requirements in the future. System planning and forecasting may also provide a useful reference point, with information on the likely future supply mix and the impact on plant operating regimes. | If existing plants are unlikely to be able to provide the system flexibility required in the future with more renewable power generation, capacity building and training could be provided to decisions makers responsible for planning and forecasting and procurement to ensure that generation requirements are appropriately specified to be future-proofed. Assistance might also be provided to ensure that future contracts and PPAs reflect more flexible operating regimes.
4.7. Non-renewable energy

## Slide 112: 4.7. Non-renewable energy (6 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How reliable are non-renewable power generators on the system? |  | 
Who is responsible for maintaining non-renewable generators? Is that maintenance activity meeting system requirements? Are existing generators reliable? If not, is it known what the cause of unreliability is? | Utility companies and generators should have information on the reliability of the plants they operate and/or any plants that they are contracted with. In some countries IPPs might be required to report on their reliability to their offtaker and/or to the regulator. | Where there are reliability issues but the cause of those issues is not fully understood, technical assistance could be provided to identify the root cause of any existing issues. Where there are investments that can be made to improve the reliability of specific plants assistance could be provided both in evaluating those investment options and in structuring opportunities to attract investment to make those improvements.
Are there any existing plants where there are issues concerning decommissioning of non-renewable power infrastructure? |  | 
Are plans in place for the safe decommissioning of generators? This will be most relevant for nuclear and for mine-mouth lignite plants, but all power generators are likely to require some decommissioning to reinstate the land used to its former state. Who is responsible for decommissioning and how are decommissioning activities funded? Do decommissioning arrangements adequately protect the environment? | Utilities and generators should be able to provide information on what their obligations are. In the case of an IPP decommissioning requirements are likely to have been defined in one of the key project agreements, for example the PPA. The regulator and/or offtaker might also have a role in monitoring compliance with decommissioning requirements. | Transaction advisory support can be provided to ensure that appropriate obligations are placed on new IPP investors where this is currently not the case. At the very least utilities should have a clear plan for how power sector infrastructure should be decommissioned safely, and how this decommissioning activity will be funded.
Are there any additional pertinent regulations that impact non-renewable energy? |  | 
Do non-renewable generators or companies selling non-renewable fuels need to obtain a licence or any other type of permit? Are there any additional requirements placed on generators that are intended to benefit local communities; for example local ownership requirements or local content requirements? | Most requirements are likely to be defined in regulation; the regulator is likely to be the main source of information on licencing requirements, and some regulator websites might contain information on the requirements. Utility companies, generators, and other entities operating in the energy sector should be able to give an overview of requirements that they have been asked to comply with. | If a regulator has only recently been established it is possible that no licencing regime has yet been established, so support could be provided to define appropriate licences and associated processes. Capacity building could also focus on the design and implementation of regulation; in particular the award and monitoring of licences.
4.7. Non-renewable energy

## Slide 113: 4.8. Renewable energy (1 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
What renewable energy resources are available? |  | 
Have any assessments been carried out to evaluate the potential for different renewable energy resources: solar, wind, (sustainable) biomass, hydro, geothermal? Are resource assessments publicly available in a format that can be readily used by private sector developers? | Global initiatives such as the global solar (http://globalsolaratlas.info/) and wind (https://globalwindatlas.info/) atlases may provide a helpful starting point. The ministry responsible for energy, or any renewable energy agency or trade organisation that has been set up in the country should be aware of any more granular country-specific analysis that has been performed. | If there are data gaps regarding the renewable energy resource available in the country, support could be provided in performing the required resource assessments and making these publicly available.
What, if any, renewable energy infrastructure is currently operational? |  | 
Which renewable energy technologies are currently in use? When did these projects become operational? Are any new renewable energy projects planned, and if so when are these expected to be operational? Of the capacity that is operational how much of this is utility-scale grid-connected renewable energy, vs. smaller-scale distributed projects, vs. off-grid renewable energy? To what extent are the energy resources used in decentralised heating and cooking solutions renewable? | The IEA’s energy balance data should provide a good overview of energy supply by technology/source (http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015). For electricity, data on the capacity installed and the electricity generated is available from IRENA’s data website (http://resourceirena.irena.org/gateway/dashboard/) The ministry, utility, or single buyer should be able to provide more up-to-date information. Renewable energy companies operating in the country might also be able to provide information, in particular on the prevalence of smaller-scale projects, which may not be included or be obvious in the datasets. Data on the distributed energy resources used at a household and business level may be poor, but other donors may have performed surveys that can be made available. | If there is no, or little, renewable generation capacity installed, consider whether support to develop the country’s policy around renewable energy would be helpful – see next point.
4.8. Renewable energy

## Slide 114: 4.8. Renewable energy (2 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Is there a clearly defined target for renewable energy and a plan for how this target will be met? |  | 
Is there are renewable energy target that is legally binding? How much of the renewable energy target is to be met through renewable energy in the electricity sector, vs. decentralised heating and cooking, and transport? Is the renewable energy target consistent with the country’s NDC and it’s emissions reduction policy? Is the renewable energy target reflected in electricity sector planning and forecasting? To what extent will the renewable energy target be met through utility-scale renewables, vs. small-scale and off-grid renewable energy projects? | If the country has formally submitted an NDC under the Paris Climate Change Accord it should be available on the United Nations Framework Convention on Climate Change (UNFCCC) website (http://www4.unfccc.int/ndcregistry/Pages/Home.aspx). Any domestic legislation on emissions reduction policy and/or renewable energy policy should be available from the relevant ministries, which are most likely to be the ministries responsible for energy and the environment. The entity responsible for electricity sector planning and forecasting (most likely to be the utility and/or system operator) should be able to provide the latest capacity build plan, to that this can be reviewed for inclusion of any proposed renewable energy projects. The full IEA energy balance data for the country (http://www.iea.org/statistics/statisticssearch/report/?year=2015&country=WORLD&product=Balances) should also give an indication of the importance of increasing the share of renewables in the electricity sector vs. other parts of the energy sector. In most low income countries, improving the sustainability of biomass used for heating and cooking may be far more important. | Renewable energy can be one of the cost effective ways of meeting emissions reduction policy goals. If the country does not yet have a formal renewable energy target, support could be provided in analysing what an appropriate target would be, and in designing the policy and regulation to implement that target. The target should take into account any commitments made through the country’s NDC, and in its broader emissions reduction policy. If a renewable energy target has been set, but is not consistent with other areas of policy (such as emissions reduction policy) or is not consistent with sector planning and forecasting, support could be provided to improve the consistency of different policies across the sector, and to ensure that system planning properly considers the constraints imposed by government policy.
Does renewable energy policy properly consider any greenhouse gas emissions that might be attributable to the use of renewable energy? |  | 
Where biomass is considered to be a renewable resource are regulations and processes in place to ensure that this fuel is truly sustainable? Does emissions reduction policy consider full value chain emissions, for example, the emissions resulting from the manufacture of renewable energy generation equipment, or the emissions from transporting internationally sourced biomass supplies? | The country’s NDC may give an indication as to whether biomass is an important component of its emissions reduction plan. Distributors of improved cookstoves, and donors working in the heating and cooking sub-sector, may have access to information on the sustainability of existing biomass resources. | Support could be provided to the regulator in developing biomass sustainability standards to ensure that biomass sold as renewable is produced in a sustainable way. Support could be provided to the ministry responsible for emissions reduction policy to ensure that there are no distortions or unintended consequences that result from indirect or secondary emissions that result from the use of renewable energy.
4.8. Renewable energy

## Slide 115: 4.8. Renewable energy (3 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any major policy or regulatory hurdles to the development of renewable energy projects? |  | 
If projects are not being developed, what are the primary reasons why this is the case? | Conversations with companies developing renewable energy projects should highlight any major barriers to developing projects. Donors with ongoing programmes in the sector should also have a good overview of the main regulatory issues that need to be addressed. | If any specific policy or regulatory barriers are identified by stakeholders, technical assistance could be provided to make any required amendments to policy and regulation to address these barriers.
Does electricity system planning and forecasting properly consider the characteristics of renewable energy technologies? |  | 
Does planning consider the expected load factors of renewable energy technologies and the variation in output by time of day and/or time of year? Does system planning and forecasting correctly consider the contribution that different renewable energy technologies make towards meeting peak demand? | Details on the methodologies used in preparing electricity system plan are most likely to be available from the utility and/or system operator. If the plan is published and available in the public domain the plan itself may provide sufficient detail on the approach used. | If there are apparent gaps or issues with the methodologies used to incorporate renewable energy technologies into electricity system planning and forecasting, technical advice could be provided to analyse and evaluate the detailed methodologies used in planning, and to advise on improvements that could be made to the approach.
Who owns any existing renewable energy projects? |  | 
Does the incumbent utility own any renewable energy projects? Are renewable energy projects primarily owned, or being developed, through the private sector? | If not widely available, the single buyer or utility offtaker should be able to provide a list of any existing renewable energy projects and their owners. | Where renewable energy technologies might be new to the country it might be that the relevant technical skills do not exist in sector institutions. Involvement of the private sector could be used to fill these skill gaps, in addition to other benefits that might come with private sector involvement; for example, the existence of clear financial incentives to perform. If there is not yet any private sector involvement in the renewable energy sector, consider providing support in developing a renewable energy IPP programme. See below, and guidance for procurement.
4.8. Renewable energy

## Slide 116: 4.8. Renewable energy (4 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Where private sector renewable energy projects have been developed, is there a clear procurement process defined? |  | 
Have private sector projects secured PPAs through unsolicited bids, or through competitive tenders? Do regular competitive tenders take place? Are the selection criteria for projects clearly defined? Is there a clear expectation of how much capacity or which technologies will be procured over the coming years? | The offtaker / utility / single buyer should be best placed to provide detailed information on how any existing renewable energy PPAs with private sector developers were agreed, as should the renewable energy companies who have already secured PPAs. Where procurement has been through a competitive tender, the organisation with responsibility for that procurement may be able to provide details of previous tenders and any upcoming tenders. It is possible that previous Requests for Expressions of Interest (REOIs) or Request for proposals (RFPs) are available on the procuring agency’s website. | Competitive tendering, if well designed, should lead to the utility achieving better value for money for end consumers compared to negotiating in response to an unsolicited bid. A tender should also give the procuring agency more control over the commercial terms that are agreed. If projects to date have all been developed in response to unsolicited bids, support could be provided to develop a competitive tendering process for renewables projects. Ideally any tenders should be clearly signalled and communicated to the market. Training and capacity building might also be required to build up capability in the organisations that would be running any procurement.
For utility-scale renewable energy projects is there a clear commercial framework in place? |  | 
Is there a standard PPA that is used for renewable energy projects? Is this publicly available? | The organisation with responsibility for procuring renewable energy IPPs should be able to provide details on the commercial framework in place for those projects. If standardised agreements have been developed, e.g. for a competitive tendering programme, it is also possible that these agreements are available from the regulator, and maybe made available on the regulator’s website. Speaking with renewable energy companies developing projects in the country should highlight any major issues with the commercial terms proposed for renewable energy projects. | If no key project agreements (such as a PPA) have yet been developed for renewable energy projects in the country, but there is a desire to increase private sector participation in the sector, support could be provided in developing a set of standardised contracts. If such agreements have been developed but issues have been highlighted with those agreements by developers, support should be provided to recommend amendments to the agreements. Ideally these agreements should be made publicly available. Training could also be provided to the key stakeholders involved in the procurement of renewable energy so that they have a good understanding of the agreements developed and are equipped to negotiate any final terms.
4.8. Renewable energy

## Slide 117: 4.8. Renewable energy (5 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any regulations in place to support the development of smaller-scale renewable energy projects? |  | 
Have any net metering or feed-in tariff regulations been established to help the development of smaller-scale renewable energy projects? Are there any incentives or subsidies in place to support the development of off-grid renewable energy, either mini-grids or stand-alone systems? Has there been much development of behind-the-meter renewable energy capacity? Are there any policies in place to encourage the use of more sustainable fuels (such as sustainably produced, renewable biomass) in decentralised heating and cooking? | The regulator should be able to provide details on any regulation in place to support small-scale renewable energy projects. Small-scale renewable energy developers should also provide some indication on whether any support is available. In many countries, it may be difficult for small-scale projects to support a route-to-market for any excess power, but small-scale developers may still be able to develop behind-the-meter renewable energy projects that do not need to export any power. | If there is no support for exporting excess power from small scale renewable energy projects, for example through net metering regulations or through a feed-in tariff, support could be provided to develop this regulation. However, it should be noted that such regulation tends to be regressive as it reduces the contribution made by the middle class consumers able to afford (e.g.) solar towards the cost of maintaining the grid. Most countries do not yet have any systematic regulatory support in place for renewable energy mini-grids or stand-alone systems. If a policy decision is made to provide additional support (e.g. through developing a concession or through incentives or subsidies), technical assistance could be provided to develop the required regulation. Policy support could also be provided to encourage more sustainable biomass production for use in decentralised heating and cooking.
4.8. Renewable energy

## Slide 118: 4.8. Renewable energy (6 of 6)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Have there been any major issues with integrating renewable energy to the grid, or are issues expected in future? |  | 
Are existing renewable energy generators subject to significant curtailment during certain (e.g. sunny or windy) periods? Have there been any cases of significant grid instability resulting from increased renewable energy penetration? | Renewable energy developers with existing operational projects should be able to give an indication of the extent to which output from their project have been curtailed. This should act as a proxy measure for whether there have been any challenges with integrating renewables to date. The system operator should then be able to indicate what specific system operation challenges have led to any high levels of curtailment. If there have been any major issues, this might have led to issues with system reliability, which would have been noticed by a wider range of system users, in particular industrial consumers of electricity who may be more sensitive to the quality of power supplied. | If it is unclear how much renewable energy the existing system could absorb, support could be provided through grid studies, which could also identify any key investments in the network infrastructure that might have a material impact on the absorption capacity of the system. Technical assistance could also be provided to identify technologies and ancillary services that could be used to provide the required system flexibility. Further, commercial advice could be provided on the market arrangements and trading platforms, commercial arrangements with flexible generation, and the interconnectors that could complement the technical provision of system flexibility. So that these technologies and commercial arrangements can then be used to maximum benefit, capacity building might be required to ensure that the system operator is equipped to used the tools available to effectively manage the grid.
Are there any additional regulations that impact renewable power generators? |  | 
Do generators need to obtain a licence or any other types of permit? Are there any additional requirements placed on generators that are intended to benefit local communities; for example local ownership requirements or local content requirements? | Most requirements are likely to be defined in regulation; the regulator is likely to be the main source of information on licencing requirements, and some regulator websites might even contain information on the requirements. Utility companies and generators should be able to give an overview of requirements that they have been asked to comply with. | If a regulator has only recently been established it is possible that no licencing regime has yet been established, so support could be provided to define appropriate licences and associated processes. Capacity building could also focus on the design and implementation of regulation; in particular the award and monitoring of licences.
4.8. Renewable energy

## Slide 119: 4.9. Centralised heating and cooling (1 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are heating (and cooling) services delivered through centralised network infrastructure? |  | 
What are the primary sources of heat energy used by households and businesses? Are district heating networks used to deliver heating and hot water in urban areas? If so, what fuels are used to heat water for input to heat networks? Is centralised network infrastructure used to deliver gas (natural gas or alternatives, such as hydrogen or syngas) to homes and businesses for heating? | The IEA’s energy balance tables (https://www.iea.org/statistics/) include a heat energy column, which shows the sources of heat energy in the selected country Most (but not all) energy recorded in these tables are likely to indicate to indicate the use of centralised infrastructure. The ministry responsible for energy, regulator, or municipal governments (who often have a role for heat networks) may be able to provide more detailed information. Speaking to large energy users and industries will provide a more granular view. For example, some large energy users may generate their own heat on site. | N/A
Is centralised infrastructure used to deliver heating services where a centralised solution would be optimal? |  | 
Do businesses and households have access to the heating and cooling services they need? Does energy access policy and sector planning and forecasting cover the provision of heating and cooling services? | Relevant government departments (energy ministry, municipalities) are likely to hold copies of analysis of heat demand and sector plans for meeting this demand. Other donors engaged with the sector may also have been involved in conducting studies or surveys to analyse demand for heating/cooling services. Engagement with a sample of large businesses, especially industrial businesses, should help to highlight any major gaps in provision or areas where demand is either not met or where it could be met more efficiently. For example, some industries may use solid fuels for heat where a high pressure mains gas supply would be more cost effective over the long-run. Demand for heating and cooling at the household level could be analysed through sampling of targeted engagement with households. | Where there is not a good understanding of the demand for heating and cooling services, technical assistance could be provided to perform surveys to analyse demand. If the needs of businesses and/or households are clearly not currently met and energy access policy does not adequately cover heating, technical assistance could be provided to develop targets and supporting policy for how demand will be met. Where there are no detailed plans in place for establishing or maintaining centralised infrastructure for delivering heat services, technical assistance could be provided to support planning. Capacity building could help to embed planning and forecasting processes in the relevant local institutions.
4.9. Centralised heating and cooling

## Slide 120: 4.9. Centralised heating and cooling (2 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Who is responsible for delivering any centralised heating services and are they regulated? |  | 
Which parts of the public sector and/or what private sector companies are involved in the delivery of heating and cooling services? If government is involved in the delivery of these services, is this the domain of national or local / municipal government? If the private sector is involved in the delivery of these services is there a monopoly or are there multiple service providers? To what extent is the sector vertically integrated (e.g. heat networks integrated with heat plants, or gas networks integrated with upstream activities)? Is the heat sector subject to economic regulation and, if so, who is the regulator? | Where this information is not easily available the relevant parts of government should be able to provide information on the key participants in the sector. Donors engaged in the sector should also be able to provide this information. If the sector, or part of the sector, is regulated part of the role of regulation may cover licencing. If so, the regulator should have a comprehensive overview of entities operating in the sector. | If the sector is dominated by the public sector but roles are not well-defined, technical assistance could be provided to better define roles and responsibilities in the sector. This might involved corporatisation of the entity or entities delivering heat services, for example. Such reforms might be necessary to improve transparency over costs or to facilitate competition. If there are shortcomings in the sector’s performance or if outside investment is required, there might be a case for supporting reforms to introduce private sector participation. If there is no regulation of the sector, technical assistance could be provided to define the role of regulation in the sector (e.g. for licencing or regulating tariffs) and to build capacity in the regulator.
Is the provision of any centralised heating services efficient? |  | 
Where there are centralised heat plants are these plants thermally efficient? How high are system heat losses and where are most losses suffered? Does the heat system include local substations (ITPs) and control systems to allow supply of heat to be accurately matched to demand? | The operator of the centralised heat network is likely to be best placed to provide information and data on its operating efficiency. Where the operator is regulated there might be a requirement for performance metrics to be reported periodically to the regulator. The regulator might therefore also have access to this information. | Where it is apparent that the heat network is inefficient, but there is little data to understand where those inefficiencies are, technical assistance could be provided to diagnose the key problem areas. If investment is required to make technical improvements and improve efficiency, technical assistance could be provided to advise on transaction structures that could be used to bring in private sector capital. The role of donor and IFI financing could be considered in providing this advice. Technical assistance could also be provided to the regulator to advise on the technical performance data that it could require to be reported so that the regulator can effectively monitor performance in future.
4.9. Centralised heating and cooling

## Slide 121: 4.9. Centralised heating and cooling (3 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Do customers receive the service they require from heat providers? |  | 
Is the provision of heating services to end consumes sufficient to meet demand? Is heat reliably provided to end consumers during the seasons when it is required (e.g. from the start of the heating season)? Is heat reliably delivered to all end consumers or are there local differences in the quality of heat supply? | The operator and/or regulator of the heat network may be able to provide information on its performance. Engaging with customers – both commercial and domestic users of heat services – may highlight issues that do not show in the operator’s data. Other stakeholders and donors engaged in the sector may also be aware of more granular issues such as customer segments that do not receive the service they require. | Technical studies could be performed to diagnose any specific issues with the heat network that need to be addressed to better meet the demand of all customers. This could be supplemented with customer surveys to ensure that the needs of all customer types are properly considered. The findings of any diagnostic studies could then be translated into an action plan identifying key opportunities for performance improvement. Identified projects could be structured and prepared for investment, with advisory support being provided to identify the most appropriate sources of capital (i.e. public or private sector) for these projects.
Is the delivery of centralised heating and cooling services financially sustainable? |  | 
How are consumers of heating and cooling services billed? Where appropriate are end consumers metered? Are service providers able to cover their costs? Are they successful in collecting revenues? Are tariffs regulated? If so, does tariff regulation support the full recovery of system costs? | Operators / services providers should be able to provide information on the extent to which they are able to recover full system costs. Where they are not able to fully recover costs they should be able to identify the main reasons why this is the case. Where heat tariffs are regulated, the regulator should be able to provide details on the methodology for calculating tariffs and the rationale for any recent tariff decisions. The Ministry of Finance and/or municipal governments might be able to provide details of any direct or indirect subsidies that are used to maintain financial sustainability where tariffs are not cost reflective. Where there is limited transparency regarding the financial sustainability of the sector, other donors engaged in the sector may be able to provide further details on where the key financial gaps are. | Where existing tariff regulations are not fit for purpose and undermine financial sustainability, technical assistance could be provided to put in place appropriate regulations and to build capacity in the regulator. Where the sector is not financially sustainable but the underlying causes are not well understood, assistance could be provided to analyse the cost of service in the sector. As noted previously, assistance could also be provided to diagnose and recommend opportunities for efficiency and performance improvement, which could also help to improve the financial sustainability of the sector.
4.9. Centralised heating and cooling

## Slide 122: 4.9. Centralised heating and cooling (4 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are centralised heating services a major source of carbon and other greenhouse gas emissions? |  | 
Do heat plants rely on the combustion of fossil fuels? How efficient are these existing plants? Where biomass is used to generate heat is this biomass truly sustainable? Where gas is transmitted through centralised network infrastructure is there evidence of leaks contributing to greenhouse gas emissions? Do any emissions reduction policies cover the heat sector or suggest measures for reducing emissions from heat? | If the country has an inventory of greenhouse gas emissions this should help to identify how significant the heat sector is in terms of contributing to emissions. The country’s NDC should indicate whether it is expected that the heat sector is expected to contribute towards any reductions in greenhouse gas emissions committed to under the Paris climate change agreement. Government departments responsible for emissions reduction and/or departments responsible for energy should be able to provide an overview of the sector’s emissions and any relevant emissions reduction policy. Any other donors engaged in the sector may also be able to provide details on strategies and initiatives that have been proposed to reduce emissions. | The heating sector can account for a significant share of emissions. Where this is the case and there is no existing emissions reduction policy, technical assistance could be provided to identify opportunities for emissions reduction. Where the existing heat infrastructure is inefficient, technical assistance could be provided to identify opportunities for improving the efficiency of that infrastructure with the objective of reducing emissions. Technical assistance could also be provided to identify alternative technologies to replace existing high emissions technologies. This might include more efficient technologies such as gas-fired CHP or carbon-free alternatives such as sustainably grown biomass. Where biomass is being introduced as a fuel, technical assistance might be required to advise on and implement biomass sustainability standards to ensure that the fuel being used is truly carbon neutral.
Are centralised heating services a major source of other pollution, for example impacting urban air quality? |  | 
Do solid fuels (which tend to result in greater air pollution issues) have an important role in the heat sector? Is the heat sector responsible for high NOx concentrations of high ozone levels in urban areas? Is there a national (or more localised, e.g. municipal) strategy for tackling air pollution? | Air pollution issues may be immediately apparent in urban areas. Relevant government departments and/or donors working in the sector may be aware of surveys or data that is available to evaluate the levels of major air pollutants. Ideally this analysis might also attempt to analyse the source of these emissions so that the role of the heat sector can be estimated. Health care professions (e.g. respiratory illness specialists) may be able to provide anecdotal evidence on whether there are any major healthcare issues resulting from air pollution. | If the heating sector does have a role in contributing towards urban air pollution issues, technical assistance could be provided to prepare a strategy and identify investments that might help to reduce emissions of relevant pollutants. This might, for example, include using flue gas desulphurisation (FGD) and/or selective catalytic reduction (SCR) technologies. Technical assistance might also be provided to policy makers to introduce new standards to accelerate the deployment of such technologies. Examples include the EU’s Industrial Emissions Directive (IED).
4.9. Centralised heating and cooling

## Slide 123: 4.10. Extraction of fossil fuels (1 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are fossil fuels extracted domestically or are they imported? |  | 
Does the country have domestic reserves of fossil fuels? Are domestic sources of fuel processed and used within the country? For example, if the country has oil reserves, does it also have refining capacity, or does it import oil products from other countries? Where domestics fossil fuel resources are available and are being extracted are any resulting value creation opportunities recognised in the country’s industrial development strategy? What impact do fossil fuel imports and/or exports have on the country’s current account? | The IEA energy balance data provides information on the imports, exports, and domestic production of each fuel. This data also differentiates between crude oil and oil products, which might help with understanding the potential for domestic oil refining. However, where there are multiple sources of some fuels it may be unclear which sources are used in the power sector without speaking to power generation companies to understand where they source their fuel. Note that coal in particular will often be sourced domestically, with many generators using brown coal being located at the coal mine mouth. Companies involved in the extraction of fossil fuels might be able to indicate where there are barriers to more effective industrial development. For example, companies might identify barriers to developing refining capacity that would keep more value and jobs in country, or barriers to distributing natural gas resources for use in industrial applications. Analysis of the country’s current account might be available from donor reports e.g. prepared by the WB or IMF. The Central Bank or Ministry of Finance should also have analysis available. | Where domestic resources are available but are not being efficiently exploited, assistance could be provided to help identify opportunities that could be included in the country’s industrial development strategy. For example, natural gas or oil products might also be used in supporting a wide range of industrial processes. If fossil fuel imports make a significant contribution to a country’s current account deficit this might add to the business case for shifting to alternative energy sources, such as renewable energy.
Are there opportunities for the extraction of fossil fuels that are not currently being exploited? |  | 
Are there any oil and gas reserves in the country? Are there coal reserves? If so, what are the quality characteristics of the coal? | The ministry responsible for mineral resources (may be the energy ministry a different ministry) should have information on any domestic resources. Surveys may have been commissioned and may estimate the quantity of reserves that could be extracted. Studies might also be available analysing potential uses for domestic fuels (e.g. is fuel quality appropriate for power generation) and evaluating export markets. | Where exploration activities uncover significant fuel reserves, technical assistance could help the country to develop a strategy for extraction of the fuel. The strategy should evaluate environmental consequences of the extraction activities and should ensure that the resulting economic activity is inclusive. The strategy could consider where resources can be used locally (e.g. to gain competitive advantage in a given industry).
4.10. Extraction of fossil fuels

## Slide 124: 4.10. Extraction of fossil fuels (2 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
To what extent are fossil fuels used in power generation? |  | 
How much of the country’s power generation capacity is fired by coal, gas, or oil products? Are liquid fuels widely used in self-generation, for example using diesel generators? What carbon emissions result from the combustion of fossil fuels for power generation? Are there plans to reduce reliance on fossil fuels for power generation in the future? Are plans for future power sector capacity consistent with the country’s emissions reduction policy and NDCs agreed under the Paris Climate Change Agreement? | The IEA’s country-level energy balance data is a good starting point for most countries (http://www.iea.org/statistics/statisticssearch/report/?country=WORLD&product=electricityandheat&year=2015). The electricity and heat balance will indicate how much electricity is generated by each fuel. The energy balance for each individual fuel will also indicate how much fuel is used in power generation. The use of oil products outside of the electricity generation sector can be a good indicator of the prevalence of the use of generators for self-supply. The carbon emissions from the combustion of fossil fuels can be calculated using specific carbon dioxide emission factors for each fuel. For natural gas and oil these do not vary significantly, but for brown coal / lignite the carbon content can vary between sources / mines. Carbon reduction plans for the power sector might be found in system planning and forecasting documents and in any emissions reduction policy in place. | If the country relies on fossil fuels for a large proportion of its power generation, then building support for developing an emissions reduction policy, where this does not already exist, might be a priority. If such a policy already exists, but the actual use of fossil fuels in the sector is inconsistent with that policy, support could be provided to improve planning and forecasting in the sector to address this inconsistency. If analysis indicates that there is widespread use of diesel generators this can be used to estimate the resulting hidden demand (often referred to as ‘masked load’), which should be considered in planning and forecasting. Widespread use of generators may also indicate that electricity quality is poor, and this may indicate bottlenecks relating to network infrastructure and/or system operations.
Are fossil fuels used to meet distributed energy needs in homes and businesses? |  | 
Are fossil fuels used for lighting (e.g. using kerosene lanterns) in homes and businesses that do not have access to electricity? Are fossil fuels such as charcoal, coal, and LPG used for decentralised heating and cooking? | The IEA’s energy balance data is again a good source, although data on the use of distributed energy resources is likely to be incomplete at best. The IEA data includes data on biomass and shows demand by fuel, including for residential energy demand. National statistics agencies may publish a living standards survey or equivalent, which may include data on the fuels being used at a household level for lighting and for cooking. Other donors may have performed surveys to better understand the resources being used by households to meet their energy needs. | If there is significant use of fossil fuels for lighting, heating, and cooking, support could be provided to the ministry responsible for energy to develop their energy access policy with the aim of extending access to more sustainable energy resources. Consideration could be given as to whether there are specific measures that would support the deployment of decentralised mini-grids or stand-alone solar systems. Barriers that impede the deployment of more sustainable heating and cooking solutions could also be analysed and addressed.
4.10. Extraction of fossil fuels

## Slide 125: 4.10. Extraction of fossil fuels (3 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there any fuel quality issues with domestically extracted fossil fuels? |  | 
Are there any known issues with fuel quality, in particular from domestically-sourced fuels? For example, there can often be impurities in natural gas supplies, that can be expensive to filter out. Do issues with fossil fuel quality have an impact on system operation for the power sector, for example by reducing the reliability of the power generation fleet? | There is unlikely to be a single source of data for this information, but speaking to generation companies is likely to provide a good indication of any persistent issues regarding fuel quality. Speaking to the system operator might also indicate where there are fuel quality and reliability issues that impact system operation. | Where there are known issues with fuel quality this should be considered in planning and forecasting. Any reduced reliability of the power generation capacity reliant on these fuels should be taken into account when comparing the cost effectiveness of different technologies.
How are fossil fuels transported to demand centres and what additional greenhouse gas emissions result? |  | 
Is natural gas used in the country transported over large distances by pipeline? If so is any data available on the leakage of natural gas (which itself is a powerful greenhouse gas) from pipelines? Are solid fossil fuels transported over large distances by road or rail? | There is unlikely to be good data on carbon and other greenhouse gas emissions in the transportation of fuels, but gas pipeline leaks can be a major issue, for example. Power generators might be able to provide some indication of whether additional emissions in transportation are likely to be significant. | Where little or no data is available assistance might be provided to improve reporting and monitoring of greenhouse gas emissions. To assist in monitoring progress against the country’s emissions reduction policy an emissions inventory might be maintained, for example. If pipeline or transportation emissions are likely to be significant, they should be fully taken into account in the country’s emissions reduction policy and in planning and forecasting for the power sector. For example, significant pipeline emissions might result in the full lifecycle emissions of the gas-fired power plant being higher than for a coal-fired plant.
4.10. Extraction of fossil fuels

## Slide 126: 4.10. Extraction of fossil fuels (4 of 4)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
How are fossil fuels priced? |  | 
Do power generators and other consumers pay a cost-reflective price for the fossil fuels that they consume? Are there any upstream subsidies or tax breaks for extraction of domestically-sourced fossil fuels? Are there any midstream fossil fuel subsidies? For example, below-market prices for fuels purchased by power generation companies? What is the cost of any subsidies used to lower the cost of fossil fuels? Are there any taxes or carbon pricing mechanisms that reflect the externality of greenhouse gas emissions? | There is an increasing amount of data and analysis on the scale of fossil fuel subsidies. The IEA maintains a database (https://www.iea.org/statistics/resources/energysubsidies,but this only covers some countries. Analysis has been performed by a wide range of organisations on this subject, including Overseas Development Institute (ODI) (see, for example, https://www.odi.org/publications/9612-fossil-fuel-subsidy-reform-sub-saharan-africa-rhetoric-reality) and International Institute for Sustainable Development (IISD). Stakeholders in the power sector, such as the regulator, or maybe generation companies, might also be able to provide further information on some fossil fuel subsidies. Remember in this analysis to include the impact of taxes that are reduced or waived as well as any direct subsidies. | Fossil fuel subsidies and price regulation should be considered alongside other incentives, subsidies, and cross-subsidies, but generally it is likely to be beneficial to reduce and remove fossil fuel subsidies, to avoid costly distortion of the market towards fossil fuels. Fossil fuel subsidies will normally mostly benefit the middle class and well off, who use more fuel. However, where there is a genuine concern that the removal of subsidies might have an adverse impact on the very poor, it might be possible to target the subsidies more efficiently through the use of vouchers, or through replacing fossil fuel subsidies with direct cash transfers. Impact analysis of proposed changes to subsidy schemes could be performed to build support for change, for example with Ministry of Finance. It might also be worth considering carbon pricing schemes or a carbon tax. The use of carbon pricing to support emissions reduction policy can establish a market signal to help select emissions reductions that are most cost effective.
4.10. Extraction of fossil fuels

## Slide 127: 4.11. Fuel processing (1 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Where natural gas is part of the energy mix are there gas processing facilities? |  | 
Is natural gas extracted in the country? What infrastructure exists to ensure that the natural gas delivered to consumers is of an appropriate quality standard? Are there any quality issues with the natural gas delivered to end consumers? | The owners of upstream gas infrastructure are likely to own processing plants as well. They should be best placed to provide an overview of the processing infrastructure in place. Customers and end users of natural gas should be able to confirm whether there have been any issues with quality of supply. Larger industrial users of gas may take measurements and sample the gas (e.g. for impurities) to check its quality. | If there have been issues with gas quality, technical advisors could be brought in to diagnose the cause of the problem and to recommend any required changes to gas processing. If upstream gas activities are dominated by a state-owned enterprise, where investments in gas processing are required, a role for the private sector in financing these investments could be considered. Technical assistance could help with structuring and facilitating such a transaction.
Is there a need or opportunity for refining oil to produce liquids that can be used domestically? |  | 
Is there domestic oil production that could provide feedstock for a refinery? What domestic and regional demand exists for which oil products? In what sector is this demand in; for example, in industry, or road transport? Is there a risk of domestic resource being stranded in the absence of mid-stream / downstream processing facilities? Where oil products are imported to meet domestic demand, how are these fuels priced? Are there any oil refineries in the country today? Has there been any interest (for example, from IOCs) in building refining capacity in the country? Are there any further downstream activities to any domestic refining capacity, such as the manufacture of plastics? | IEA energy balance data provides high level information on the overall supply-demand balance for crude oil and for oil products. Oil companies, and in particular traders, operating in the country are likely to be best placed to provide a more detailed overview of supply and demand of different oil products. Industry and large investors active in the country may be able to identify bottlenecks where better local supply of oil products might unlock potential for economic growth. Industries that are heavy users of oil products and owners of fuel station networks should be able to provide insight on pricing of oil products. | Where there is potential for developing refining capacity in the country, technical assistance could be provided to analyse and evaluate the business case. Where poor data on the cost stack and pricing of oil products is a barrier to evaluating the business case for refining capacity, further analysis and data gathering may be required. Business case analysis should consider the broader economic impact of proposed refining capacity, for example in improving the country’s trade balance. If there is a clear business case for refining capacity, assistance could be provided in engaging with investors and oil companies to identify where there are important barriers to investment that could then be addressed. Where refining capacity is proposed and or already operational, support might be provided to analyse the environmental footprint of these facilities. This might include ensuring such facilities are considered in emissions reduction policy, but also waste management, pollution of waterways, etc.
4.11. Fuel processing

## Slide 128: 4.11. Fuel processing (2 of 2)
Data to collect and questions to ask | Sources and stakeholders | Interventions to consider
Are there domestic fuel storage facilities for natural gas and/or liquids? |  | 
Where natural gas is part of the energy mix, what gas storage facilities exist in the country? Have there been any issues with security of supply? Are reserves of liquid fuels stored, and what storage facilities are available for these reserves? Have there been security of supply challenges with liquid fuels? Are there any laws of regulations that require fuel reserves to be maintained? Are the storage facilities in place sized appropriately for the needs of the country; for example, a blend of longer-term / seasonal and short-term storage facilities that reflects the nature of demand in the country. How are storage facilities in the country monetised? Are storage facilities simple integrated with other activities in the value chain, or is there a local wholesale market (e.g. for gas) that is liquid and allows for price arbitrage? | Oil and gas companies operating in the country should be able to provide details of the infrastructure in place. They may also be able to provide data on the utilisation and the level of reserves held in storage facilities over time. If this data is available it will help with understanding how storage facilities have been used in the past. The ministry responsible for energy and/or the regulator should be able to provide details of any laws or regulations that mandate the maintenance of fuel reserves for security of supply purposes. | If there have been security of supply issues that could be addressed with appropriate storage mandates, technical assistance could be provided to advise on the potential role of regulation in improving security of supply. Where the absence of a liquid whole market (e.g. for natural gas) is a barrier to investment in needed storage facilities, technical assistance could be provided to design and implement market reforms that could establish the price signals required to stimulate new investment. Assistance could be provided to analyse and evaluate the business case for fuel storage, which should also help to identify any further barriers that need to be addressed to encourage investment.
4.11. Fuel processing

## Slide 129: ANNEXES

## Slide 130: Annex 1: Glossary (1 of 2)
Term | Definition
Ancillary Services | Services other than bulk power that support the balancing of supply with demand and maintaining the quality of electricity delivered to end consumers. May include [existing list], or frequency regulation.
Baseload power | The same level of power output delivered, regardless of time of day. Baseload power is often delivered by generators that lack the technical flexibility to increase or decrease output with demand.
Biomass | Biomass is an industry term for getting energy by burning wood, and other organic matter. Burning biomass releases carbon emissions, but has been classed as a renewable energy source in the EU and UN legal frameworks, because plant stocks can be replaced with new growth.
Carbon tax | A tax on fossil fuels, intended to reduce the emission of carbon dioxide.
Combustion of fossil fuels | Burning of coal, oil (including gasoline), or natural gas. This burning, usually to generate energy, releases carbon dioxide, as well as combustion by products that can include unburned hydrocarbons, methane, and carbon monoxide.
Non-renewable power generators | A power station which burns a fossil fuel such as coal, natural gas, or petroleum to produce electricity.
Cost reflective | A cost reflective tariff is one which reflects the true cost of supplying electricity and removes the reliance on State Government subsidies to cover the variance between the current tariff and the true cost of supply of electricity.
Distribution | The final stage of delivering electricity to consumers: electricity flows from substations into a network of low voltage lines (the distribution network)
Flexible generation | Power plants that can ramp up and down quickly and run at low output levels
Flue gas desulphurisation | Flue-gas desulfurization (FGD) is a set of technologies used to remove sulfur dioxide (SO2) from exhaust flue gases of fossil-fuel power plants, and from the emissions of other sulfur oxide emitting processes
Generation | The process of producing electricity, from sources of primary energy such as steam, gas, water and wind.
Generation mix | Generation mix is the percentage of different energy sources (fossil fuels, nuclear, hydro and other renewable energies) used to generate electricity.
Geothermal | Makes use of thermal energy that is stored underground in the Earth.
Grid-connected | A grid-connected photovoltaic power system is an electricity generating solar PV power system that is connected to the utility grid.
Incumbent utility | The utility company (probably state-owned and vertically integrated) that existed prior to any liberalisation and/or unbundling process
Interconnectors | An interconnector is a transmission link which enables energy to flow between networks. The term is used more specifically to refer to international connections between electricity networks.
Intermittent | A source of energy of which the availability varies over time (e.g. solar, wind) and which cannot therefore be dispatched to meet demand.
Glossary

## Slide 131: Glossary (2 of 2)
Term | Definition
Legacy generators | Existing generators owned by the incumbent utility.
Liberalisation | Opening up the energy market to competition (from state owned and operated)
Mid merit power | A load following power plant, regarded as producing mid-merit or mid-priced electricity, is a power plant that adjusts its power output as demand for electricity fluctuates throughout the day.
Mine-mouth lignite plants | A mine mouth electric plant is a lignite (or brown coal) burning electricity generating plant that is built close to a coal mine.
Mini-grid | A mini grid is a set of electricity generators and possibly energy storage systems interconnected to a distribution network that supplies electricity to a localised group of customers.
Offtaker | An agreement entered between a producer and a buyer to buy/sell a certain amount of the future production.
Paris Climate Change Agreement | Is an agreement within the United Nations Framework Convention on Climate Change (UNFCCC), dealing with greenhouse-gas-emissions mitigation, adaptation, and finance, starting in the year 2020.
Peaking power | Peaking power plants, also known as peaker plants, and occasionally just "peakers", are power plants that generally run only when there is a high demand, known as peak demand, for electricity.
Regulator | A body that supervises activities of the sector
SE4ALL Initiative | Sustainable Energy for All (SEforALL) is a nonprofit organization working with leaders in government, the private sector and civil society to drive further, faster action toward achievement of Sustainable Development Goal 7, which calls for universal access to sustainable energy by 2030, and the Paris Climate Agreement, which calls for reducing greenhouse gas emissions to limit climate warming to below 2 degrees Celsius.
Selective catalytic reduction | Selective Catalytic Reduction (SCR) is an advanced active emissions control technology system that injects a liquid-reductant agent through a special catalyst into the exhaust stream of a diesel engine.
Standard emissions factors | An emissions factor is a representative value that attempts to relate the quantity of a pollutant released to the atmosphere with an activity associated with the release of that pollutant. Such factors facilitate estimation of emissions from various sources of air pollution.
Sustainable Development Goal 7 (SDG7) | The global indicator framework. SDG 7 aims to ensure access to affordable, reliable, sustainable and modern energy for all
Thermal efficiency | The efficiency of a generator measured by the ratio of the work done by it to the heat supplied to it.
Transaction advisory | Transactions services are third party services provided by a professional services firm or an investment bank when a business transaction takes place.
Transmission | The transporting of bulk electricity from a generating site to a substation, via a network of high-voltage lines called the transmission network.
Unbundling | Separation of the different parts of the electricity value chain: generation, transmission, distribution, supply. Unbundling may affect all or just some parts of this value chain. Unbundling might involve splitting an incumbent utility into multiple new organisations, or might only involve defining clear and transparent commercial arrangements between the component parts of an incumbent utility.
Upstream exploration and production (E&P) | Activities to find and extract fossil fuel resources such as oil and natural gas
Vertical integration | The ownership of multiple (or all) parts of the value chain (e.g. generation, transmission, distribution, supply) by the same utility company.
Glossary

## Slide 132: Annex 2: Useful resources
Relevant resources | Link
DFID Energy Policy: approach and future direction of DFID’s energy policy | http://icedfacility.org/wp-content/uploads/2018/01/ICED-QLL-session-on-WSA-and-KEF-Web.pdf
Disability inclusion: infrastructure (including energy) entry points | http://icedfacility.org/resource/disability-inclusion-infrastructure-sector-entry-points/
Frontier technology solutions: for improved energy services | http://icedfacility.org/resource/frontier-technology-solutions-improved-energy-services/
Increasing access to clean, affordable energy in underserved communities: the case of Zambia | http://icedfacility.org/resource/increasing-access-clean-affordable-energy-underserved-communities-case-zambia/
Mini-grid electrification: the case in Sierra Leone | http://icedfacility.org/resource/energy-mini-grid-electrification-sierra-leone/
Opportunities in renewable Energy in South Asia | http://icedfacility.org/resource/opportunities-renewable-energy-south-asia/
Promoting women’s empowerment through energy | http://icedfacility.org/resource/promoting-womens-empowerment-energy/
Building political commitment for energy reform | http://icedfacility.org/resource/document-title/

## Slide 133
Disclaimer
Infrastructure and Cities for Economic Development (“ICED”) is a project funded by the UK’s Department for International Development (“DFID”) and is led and administered by PricewaterhouseCoopers LLP, working with organisations including Adam Smith International, Arup, Engineers Against Poverty, International Institute for Environment and Development, MDY Legal and Social Development Direct.
This document has been prepared only for DFID in accordance with the terms agreed with DFID and for no other purpose. PricewaterhouseCoopers LLP and the other entities delivering ICED (as listed above) accept no liability to anyone else in connection with this document.
180813-143339-SS-UK